ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Teso |
| Name of Local Government | KAPELEBYONG |
| VERIFIER PARTICULARS |  |
| Full name | Olobo felix |
| Contact/ email and Telephone | olobofelix@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Denis budali |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Aeket health center III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | He is a new in charge |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Primary health care

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Infrastructure

- New staff

- Provided medical equipment

CHALLENGES

- In adequate staffing

- Inadequate accommodation

- Insecurity due to lack of a fence

- Not enough transportation means

RECOMMENDATION

- Provide transport

- Get us more staff

- Build more accommodations

- Build a security fence

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………KAPELEBYONG………………… NAME OF HEALTH FACILITY…………AEKET HC III…………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | Digital machine |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Not in use | They are spoiled |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Not in use | In storage |
| Autoclave 20 Liters.,Duo Operated 2 | Health |  | Wingnut type |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | 1 in use | 1 In storage |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Bowl Stand 1 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Counting chamber Neubauer- Improved 2 | Health |  | CAT No. 1103 |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Cupboard Steel, Lockable 6 | Health |  | 6 Metallic |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | In use | Good status |
| Drip Stand 15 | Health |  | Metallic & blue |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | In use | Good status |
| ESR Stand 1 | Health |  | Metallic |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Functional | Good |
| Examination Couch 4 | Health |  | Black with cushion |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | All in use | Good status |
| Examination light,LED 3 | Health |  | Lights |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Functional | Good status |
| Glucometer 2 | Health |  | On call plus |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Functional | Good status |
| Haemoglobin Meter, Digital 1 | Health |  | Plus med |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Not in use | Has no strips |
| Height Meter 1 | Health |  | Metallic |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Functional | Good status |
| Instrument Trolley 2 | Health |  | Metallic |  | Not Engraved |  |  | JAN,2025 |  |  |  |  | Functional | Good status |
| Microscope Binocular 1 | Health |  | Metallic and glass |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Otoscope 1 | Health |  | Black small box |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good state |
| Patient Screen 5 | Health |  | Polyester |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | 3 in use & others in store | Good state |
| Patient Trolley 2 | Health |  | Metallic with cushion |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good state |
| Refrigerator, Basic 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Stethoscope 7 | Health |  | Plastic & rubber |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Stop Watch 1 | Health |  | Digital |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Stretcher 2 | Health |  | Metallic with leather |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Stove, Gas 2 | Health |  | 12kg gas cylinder with cooking plate(mogas) |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Weighing Scale, Infant 2 | Health |  | metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | 1 in use and the | 1 other in store and in Good |
| Weighing Scale, Toddler | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Wheel Chair 4 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Audio Visual Equipment | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 17 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good status |
| Wall Clock 4 | Health |  | Analog |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Not in use | No batteries |
| Diagnostic Equipment Set for MCH | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Diagnostic Equipment Set for OPD 2 | Health |  | Varieties |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Glassware Set, Laboratory, Basic | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Hollow Ware Set, Treatment 2 | Health |  | Variety |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Instrument Set, Dressing 3 | Health |  | Variety |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Instrument Set, Basic ENT 1 | Health |  | Variety |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good shape |
| Instrument Set, Suture 2 | Health |  | Variety |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Pulse Oximeter, Hand held | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Bed, Adult Patient with Mattress 30 | Health |  | Metallic with mattress |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use but in poor condition | Matresses not in good shape |
| Bed, Pediatric Patient, With Mattress 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Bedside Locker 8 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use but in poor shape | Poor condition |
| Cupboard, Instrument 1 | Health |  | Steel and glass |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Delivery Bed, Hydraulic Manual 2 | Health |  | pink in color |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | 1 in use | 1 Redistributed to achowa |
| Resuscitator Manual, Infant, with all Mask sizes 1 | Health |  | Arm bag plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Resuscitator Manual, Adult, with all mask sizes 1 | Health |  | Plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Suction Apparatus, (Electric)1 | Health |  | Metallic and rubber |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Nebulizer, Ultrasonic 1 | Health |  | Electric |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Bench 6 | Health |  | Wooden |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good shape |
| Disinfection Buckets 9 | Health |  | plastics |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | 4 in use & others spoiled | 5 spoiled |
| Baby Cot 2 | Health |  | Leather |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good status |
| Diagnostic Equipment Set for Ward 2 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good status |
| Hollow Ware Set, Ward | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Delivery | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Stitch Removing 3 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| MVA Kit 3 | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Stool, Laboratory 3 | Health |  | Metallic with cushion |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Penguin Sucker 2 | Health |  | Plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Fetoscope, Dopplar 2 | Health |  | Plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Bubble CPAP | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | Metallic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Non functional | Still In store |
| Kangaroo Mother Care Chair 1 | Health |  | Blue roller |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Radiant Infant Warmer | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli 1 | Health |  | Rubber & plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Not in use | It is Outdated |
| Delivery Bed 1 | Health |  | Black leather |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | good status |
| Examination light 3 | Health |  | GPC |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | In use | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | Plastic and rubber |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Bag Valve mask (Ambu Bag), Neonatal 1 | Health |  | Plastic |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | Functional | Good status |
| Incubator | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Wooden |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good status |
| Desk | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Filing Cabinet 6 | Health |  | wooden |  | Not Engraved |  | JAN,2025 |  |  |  |  |  | All in use | Good status |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lab extension 1 |  |  | 1 block |  |  |  |  |  |  |  |  |  | In use | Good status |
| Maternity ward 1 |  |  | 1 block |  |  |  |  |  |  |  |  |  | In use | Good status |
| Tanks 5 |  |  | 2 1000L 1 3000L 2 1000L |  |  |  |  |  |  |  |  |  | In use | Good status |
| Toilets 1 |  |  | 4 stances |  |  |  |  |  |  |  |  |  | In use | Good status |
| Placenta pit |  |  | 1 pit |  |  |  |  |  |  |  |  |  | In use | Good status |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters 1 |  |  | 1 block 2 units |  |  |  |  |  |  |  |  |  | In use | Good status |
| Staff toilets 1 |  |  | 2 stances |  |  |  |  |  |  |  |  |  | In use | Good status |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |