ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | KAPELEBYONG |
| VERIFIER PARTICULARS |  |
| Full name | OLOBO FELIX |
| Contact/ email and Telephone | 0704389970 |
|  | olobofelix@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Alito HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Funded by PHC

- Funded by result based financing

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICES

- It has eased accessibility to health services for the community

- Provided accommodation for staff

- Provided medical equipment

- Provided maternity block that has improved maternity services

CHALLENGES

- Inefficiency in power source to run machines i.e. solar

- Unreliable water source

- Inefficiency in transportation

- Poor communication due to poor network

RECOMMENDATIONS

- Need for a better solar system or electricity

- Need for a borehole or piped water

- Need for at least 3 motorcycles or vehicle to facilitate transportation

- Requesting for a network mast to boost communication in the area

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KAPELEBYONG

NAME OF HEALTH FACILITY: ALITO HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 3 | Health |  | Digital |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Metal |  | Not Engraved |  | 2025 |  |  |  |  |  |  | Not seen |
| Autoclave 20 Liters.,Duo Operated 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bowl Stand 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Counting chamber Neubauer- Improved | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Cupboard Steel, Lockable 6 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Drip Stand | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| ESR Stand | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Examination Couch 6 | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Examination light,LED | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Glucometer 3 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Haemoglobin Meter, Digital 1 | Health |  | Digital |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Height Meter 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Instrument Trolley 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Microscope Binocular 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Otoscope 1 | Health |  | Metallic and rubber |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Patient Screen 4 | Health |  | Polyester |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Poor quality |
| Patient Trolley | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Refrigerator, Basic 1 | Health |  | Hisense |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Stethoscope 9 | Health |  | Metal and rubber |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Stop Watch | Health |  |  |  |  |  | 2025 |  |  |  |  |  | Not in use | Not delivered |
| Stretcher | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Stove, Gas 1 | Health |  | Stabex |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Weighing Scale with Height Meter, Adult 4 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | 3 functionals | 1 broken |
| Weighing Scale, Infant 4 | Health |  | Metal |  | Not Engraved |  | 2025 |  |  |  |  |  | 3 functionals | I spoilt |
| Weighing Scale, Toddler 2 | Health |  | Hanging type |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Wheel Chair 3 | Health |  | Manual |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Audio Visual Equipment | Health |  |  |  | Not Engraved |  | 2025 |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Wall Clock 3 | Health |  | Analog |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Diagnostic Equipment Set for MCH | Health |  | variety |  |  |  | 2025 |  |  |  |  |  |  | Not delivered |
| Diagnostic Equipment Set for OPD | Health |  | variety |  |  |  | 2025 |  |  |  |  |  | Not in use | Not delivered |
| Glassware Set, Laboratory, Basic | Health |  | variety |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Hollow Ware Set, Treatment | Health |  | variety |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Dressing | Health |  | variety |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Basic ENT | Health |  | variety |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Suture | Health |  | variety |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Pulse Oximeter, Hand held 4 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bed, Adult Patient with Mattress 20 | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bed, Pediatric Patient, With Mattress 5 | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bedside Locker | Health |  | metallic |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Cupboard, Instrument 1 | Health |  | Metallic and glass |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | metallic |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Resuscitator Manual, Infant, with all Mask sizes 18 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Resuscitator Manual, Adult, with all mask sizes 17 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Suction Apparatus, (Electric) 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Nebulizer, Ultrasonic 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Oxygen Concentrator, Duo Flow 4 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | functional | Good status |
| Bench 4 | Health |  | Wooden |  | GOU/MOH-UGIFT PROJECT.FY/2023/2024 |  | 2025 |  |  |  |  |  | Functional | Good status |
| Disinfection Buckets 2 | Health |  | Plastic |  | Not Engraved |  | 2025 |  |  |  |  |  | 1 functional | 1 broken |
| Baby Cot 2 | Health |  | Leather and metal |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for Ward 1 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Hollow Ware Set, Ward | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Delivery 3 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Instrument Set, Stitch Removing | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| MVA Kit 4 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Stool, Laboratory | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Penguin Sucker | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Fetoscope, Dopplar 1 | Health |  | Plastic |  |  |  | 2025 |  |  |  |  |  | Functional | Good status |
| Bubble CPAP | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Kangaroo Mother Care Chair 1 | Health |  | Metallic and leather |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Radiant Infant Warmer 1 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Haemoglobin Meter, Sahli | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Delivery Bed 2 | Health |  | Leather and metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Examination light 4 | Health |  | Adjustable |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | Variety |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 6 | Health |  | Leather |  |  |  | 2025 |  |  |  |  |  | Functional | Good status |
| Desk | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Filing Cabinet 2 | Health |  | Metallic |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward 1 |  |  | 1 block |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Placenta pit 1 |  |  | 1 block |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Tanks 8 |  |  | Gentex 10000L (2) 5000L (3) 500L (1) 20000L (2) |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Fence 1 |  |  | Chain link |  | Not Engraved |  | 2025 |  |  |  |  |  | Functional | Good status |
| Residential Buildings | Health |  |  |  |  |  | 2025 |  |  |  |  |  | Functional | Good status |
| Staff quarters 1 |  |  | 1 block 2 units |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |