ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | KATAKWI |
| VERIFIER PARTICULARS |  |
| Full name | OLOBO FELIX |
| Contact/ email and Telephone | 0704389970 |
|  | olobofelix@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AKOBOI HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Funded by PHC

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | no |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICE

- Provided equipment hence better service delivery

- Employment opportunities for staff

CHALLENGES

- Inadequate accommodation for staff

- Insecurity

- Staff and patient gap

RECOMMENDATIONS

- Build more staff houses

- Construct a wall fence to secure the facility

- Bring in more staff

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KATAKWI

NAME OF HEALTH FACILITY: AKOBOI HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | Digital |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All still store |
| Autoclave 20 Liters., Duo Operated 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Bowl, Kick 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Bowl Stand | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Counting chamber Neubauer- Improved 2 | Health |  | Metal and plastic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Cupboard Steel, Lockable 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Drip Stand 8 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| ESR Stand 2 | Health |  | Metallic and glass |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Examination Couch 2 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Examination light, LED 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Glucometer 2 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Hemoglobin Meter, Digital 2 | Health |  | Digital |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Height Meter 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Instrument Trolley 2 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Microscope Binocular | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Otoscope 1 | Health |  | Metal and plastic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Patient Screen 4 | Health |  | Polyester |  | Not Engraved |  |  |  |  |  |  |  | All functional | Good status |
| Patient Trolley 1 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Refrigerator, Basic 1 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Stethoscope 4 | Health |  | Metal and rubber |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Stop Watch 2 | Health |  | Digital |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Stretcher 1 | Health |  | Roller |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Stove, Gas 2 | Health |  | Starbex 6kg |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Weighing Scale, Infant 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Weighing Scale, Toddler 2 | Health |  | Hanging type |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Wheel Chair 2 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 3 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Wall Clock 4 | Health |  | Analog |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Diagnostic Equipment Set for MCH | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Diagnostic Equipment Set for OPD 2 | Health |  | sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Glassware Set, Laboratory, Basic 2 | Health |  | In Sets |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Hollow Ware Set, Treatment 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | Not In use | All still store |
| Instrument Set, Dressing 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Instrument Set, Basic ENT 3 | Health |  | sets |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 2 still in store |
| Instrument Set, Suture | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Pulse Oximeter, Hand held 2 | Health |  | Rubber |  | Not Engraved |  |  |  |  |  |  |  | All functional | Good status |
| Bed, Adult Patient with Mattress 10 | Health |  | Leather and metal |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Bed, Pediatric Patient, With Mattress 5 | Health |  | Leather and metal |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Bedside Locker 5 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Cupboard, Instrument 1 | Health |  | Metal and glass |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather and metal |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Oxygen Therapy Apparatus, Minimum 45L cylinder 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Suction Apparatus, (Electric) 2 | Health |  | Metal and plastic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Nebulizer, Ultrasonic 2 | Health |  | Metal and rubber |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All in store |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metal and rubber |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Bench 4 | Health |  | Wooden with cushion |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good |
| Disinfection Buckets | Health |  | Plastic 6 |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Baby Cot 5 | Health |  | Metallic with cushion |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Diagnostic Equipment Set for Ward 5 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 4 still in store |
| Hollow Ware Set, Ward 3 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 2 are still in store |
| Instrument Set, Delivery 3 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Instrument Set, Stitch Removing 3 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | 2 in use | 1 is still in store |
| MVA Kit 4 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | 2 in use | 2 are still in store |
| Stool, Laboratory 1 | Health |  | Metal and cushion on top |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Penguin Sucker 3 | Health |  | Rubber |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Fetoscope, Doppler 2 | Health |  | Rubber 2 |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Bubble CPAP | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Kangaroo Mother Care Chair 1 | Health |  | Leather and wood |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Radiant Infant Warmer | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Hemoglobin Meter, Sahli 2 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 is still in store |
| Delivery Bed | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Examination light 2 | Health |  | Metal |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Instrument set, ENT Basic for HCIII | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Bag Valve mask (Ambu Bag), Neonatal 1 | Health |  | set |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Leather and wood |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Desk | Health |  | Wooden4 4 |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Filing Cabinet 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Non-Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward | Health |  | 1 block |  |  |  |  |  |  |  |  |  | Functional | Good status |
| Lab extension |  |  | 1 unit |  |  |  |  |  |  |  |  |  | Functional | Good status |
| Pit latrines |  |  | 1 block 4 stance |  |  |  |  |  |  |  |  |  | Functional | Good status |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff house | Health |  | 1 block 2units |  |  |  |  |  |  |  |  |  |  |  |
| tanks | Health |  | Gentex 10000L (2) 5000L (3) 2000L (2) |  |  |  |  |  |  |  |  |  | Functional | Good status |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |