ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Teso |
| Name of Local Government | KATAKWI |
| VERIFIER PARTICULARS |  |
| Full name | Olobo felix |
| Contact/ email and Telephone | olobofelix@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Denis budali |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Aliakamer health center III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- By taking good care of them

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Upgrade from HC 11 to HC 111

- Provided accommodation for staff

- Fast response to service delivery

CHALLENGES

- Poor floor/completion, tiles are dirty

- Insecurity dure to lack of fence

- No electricity for provided equipment

RECOMMENDATIONS

- Fencing of the facility

- Provision of the electricity

- Remake the floors

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………KATAKWI

NAME OF HEALTH FACILITY…………ALIAKAMER HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  |  |  |  |  |  |  | 1 in use | 1 still in store |
| Autoclave 20 Liters.,Duo Operated | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Bowl, Kick 1 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Bowl Stand 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Counting chamber Neubauer- Improved 2 | Health |  | Glass |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Cupboard Steel, Lockable 2 | Health |  | metal |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Drip Stand 8 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| ESR Stand 1 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Examination Couch 2 | Health |  | metallic with cushion |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Examination light, LED 3 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | All 3 are in the store |
| Glucometer 2 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Haemoglobin Meter, Digital 2 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Height Meter 1 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Instrument Trolley 2 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Microscope Binocular 1 | Health |  | Metallic & glass |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Otoscope 1 | Health |  | black metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Patient Screen 8 | Health |  | Polyester |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Patient Trolley 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Refrigerator, Basic 1 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Still in store |
| Stethoscope | Health |  | Metal and rubber 4 |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Stop Watch 1 | Health |  | Digital |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Stretcher 1 | Health |  | Metallic with cushion |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Stove, Gas 1 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Infant 2 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Weighing Scale, Toddler 2 | Health |  | hanging type |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Wheel Chair | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Medical Waste Bin 6 | Health |  | metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Wall Clock 4 | Health |  | analogs |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for MCH 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Diagnostic Equipment Set for OPD 2 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Glassware Set, Laboratory, Basic 2 | Health |  | Glass |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Instrument Set, Dressing 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Function | Good status |
| Instrument Set, Basic ENT 3 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Function | Good status |
| Instrument Set, Suture 2 | Health |  | In sets |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Pulse Oximeter, Hand held 2 | Health |  | rubber & cloth |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Bed, Adult Patient with Mattress 10 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Bed, Pediatric Patient, With Mattress 5 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Bedside Locker 6 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | All functional | Good status |
| Cupboard, Instrument 1 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Metallic with cushion & manual |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Oxygen Therapy Apparatus, Minimum 45L cylinder 2 | Health |  | metallic |  |  |  |  |  |  |  |  |  | Not In use | All still in store |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | Plastic & rubber |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | Plastic & rubber |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Suction Apparatus, (Electric) 2 | Health |  | Metallic and rubber |  |  |  |  |  |  |  |  |  | Not in use | All are still in store |
| Nebulizer, Ultrasonic 1 | Health |  | Metal and plastic |  |  |  |  |  |  |  |  |  | Not in use | It’s still in the store |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Metallic |  |  |  |  |  |  |  |  |  | Non functional | Still In store |
| Bench 4 | Health |  | Wooden with cushion |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Disinfection Buckets 6 | Health |  | Plastic |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Baby Cot 5 | Health |  | Leather and metal |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Diagnostic Equipment Set for Ward 3 | Health |  | sets |  |  |  |  |  |  |  |  |  | Non functional | Still in the store |
| Hollow Ware Set, Ward 3 | Health |  | Variety |  |  |  |  |  |  |  |  |  | Non functional | Still in storage |
| Instrument Set, Delivery 3 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Instrument Set, Stitch Removing 3 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| MVA Kit 4 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Stool, Laboratory 1 | Health |  | Leather & metallic |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Penguin Sucker 3 | Health |  | Rubber |  | Not Engraved |  |  |  |  |  |  |  | All in use | Good status |
| Fetoscope, Doppler 2 | Health |  | Metallic and rubber |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Bubble CPAP 2 | Health |  | Plastic and rubber |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Centrifuge (Electric) 2 | Health |  | Metallic |  |  |  |  |  |  |  |  |  | Not in use | Still in storage |
| Kangaroo Mother Care Chair 1 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | Functional | Good status |
| Radiant Infant Warmer | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Delivery Bed 1 | Health |  | Metallic & cushion |  |  |  |  |  |  |  |  |  | In use | Good status |
| Examination light 2 | Health |  | Glass |  |  |  |  |  |  |  |  |  | Not in use | Still in storage |
| Instrument set, ENT Basic for HCIII 3 | Health |  | Variety |  | Not Engraved |  |  |  |  |  |  |  | All In use | Good status |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | Leather with cushion |  | Not Engraved |  |  |  |  |  |  |  | All Functional | Good status |
| Desk | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not deliverd |
| Filing Cabinet 2 | Health |  | Metallic |  | Not Engraved |  |  |  |  |  |  |  | In use | Good status |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Placenta pit | Health |  | 1 block |  |  |  |  |  |  |  |  |  | In use | Good shape |
| maternity ward | Health |  | 1 block |  |  |  |  |  |  |  |  |  | In use | Good shape |
| Latrine | Health |  | Pit latrine 1 block |  |  |  |  |  |  |  |  |  | Functional | Good status |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters | Health |  | 1 block 2 units |  |  |  |  |  |  |  |  |  | In use | Good status |
| Tanks | Health |  | 2 of 5000 ltrs |  |  |  |  |  |  |  |  |  | In use | Good status |
| Lab extension | Health |  | 1 unit |  |  |  |  |  |  |  |  |  | In use | Good status |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: TOROMA SEED SS

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- USE Grants

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Built infrastructures i.e. laboratories

- Provided equipment’s for the facility

CHALLENGES

- No electricity

- No security fence

- No water source (faulty borehole)

- Lack of school materials ie chalks, tables

RECOMMENDATIONS

- Provision of electricity

- Perimeter wall construction

- Alternative source of water

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks 104 | Education |  | 3 seaters wooden |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Chairs 124 | Education |  | Metallic & wood |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Lab stools 116 | Education |  | Metallic & wood |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Tables with drawers 10 | Education |  | Tables with drawers |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Tables without drawers 23 |  |  | Tables without drawers |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Cupboard 6 | Education |  | Grey metallics |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
| Shelves for books 2 in each class | Education |  | shelves in each class |  | Not Engraved | May,2025 |  |  |  |  |  |  | Functional | Good state |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO ENGRAVEMENT ON ALL THE ABOVE |

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……KATAKWI

Name of SCHOOL……TOROMA SEED SCHOOL

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………KATAKWI…………………… Name of SCHOOL……TOROMA SEED SCHOOL………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESKTOP 22 | Education |  | Hp |  | CNK 450063V |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006CB |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 450070H |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007CM |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006Q7 |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006DF |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 4500713 |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 450078J |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007BM |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007CQ |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006BV |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006D6 |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 4500DLK |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 4500DJV |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007CL |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 4500DKB |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006PM |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007CL |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006B2 |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45006BG |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 45007IC |  | May/25 |  |  |  |  |  | Functional | Good condition |
|  | Education |  | Hp |  | CNK 4450Y8H |  | May/25 |  |  |  |  |  | Functional | Good condition |
| Projector 2 | Education |  | Acer |  |  |  | May/25 |  |  |  |  |  | Functional | Good condition |
| Printer 1 | Education |  |  |  |  |  | May/25 |  |  |  |  |  | Functional | Good condition |
| PAS 1 | Education |  |  |  |  |  | May/25 |  |  |  |  |  | Functional | Good condition |
| AIC 1 | Education |  |  |  |  |  | May/25 |  |  |  |  |  | Functional | Good condition |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG………KATAKWI………………………… Name of SCHOOL……TOROMA SEED SCHOOL….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Class rooms | Education |  | 1 block |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Library & ICT | Education |  | 1 block (2 units) |  |  |  |  |  |  |  |  |  | Functional | Good condition |
|  | Education |  | 1 block |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Sci & lab | Education |  | 1 block (2 units) |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Toilets | Education |  | 2 blocks (boys- 5) (girls-5) |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Staff toilets | Education |  | 1 block (2 stances) |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Staff houses | Education |  | 1 block (6 units) |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Kitchen | Education |  | 6 units |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| Residential staff toilets | Education |  | 6 units |  |  |  |  |  |  |  |  |  | Functional | Good condition |

| Water tanks | Education |  | 2 -10000 liters black |  |  |  |  |  |  |  |  |  | Functional | Good condition |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Education |  | 1 -5000 liters |  |  |  |  |  |  |  |  |  | Functional | Good condition |