ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | KATAKWI |
| VERIFIER PARTICULARS |  |
| Full name | JESCA ATIM |
| Contact/ email and Telephone | atmjesca@gmail.com 0784043261 / 0770328790 |
| Supervisor/ Sub team leader |  |
| Name | MR DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  KORITOK HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

PHC grant

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes; they do it quarterly |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Improved service delivery especially maternal & child health.
- Introduction of diagnostic service
- Inpatient services
- Minor surgical surgeries are being done.
- Can facilitate outreach from Hospital.
- Provided security by building fence.
- Better Road and Water system.

- Health seeking behavior have improved

Challenges:
- Poor Staff house plumbing system, No lights.

-No electricity/ solar
- Batteries last 4 hours.

-louvers on the downside of windows brings coldness

Recommendations:
- Solar electricity plan
- Completion of NICU
- Need for more VIP 
- Kitchen

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG ……..   KATAKWI…….  NAME OF HEALTH FACILITY…………………KORITOK HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | jibined |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | in use | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Wall mounted |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | not in use | Spoiled and need repair |
| Autoclave 20 Liters.,Duo Operated | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Not in use | Not delivered |
| Bowl, Kick 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | in use | Good condition |
| Bowl Stand 3 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good form |
| Counting chamber Neubauer- Improved 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not functional | they don’t have cover slips |
| Cupboard Steel, Lockable 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 in use | Good status |
| Drip Stand 9 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 8 out of 9 are in use | 1 is spoiled |
| ESR Stand | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Examination Couch 4 | Health |  | leather |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 functional | 2 need cushion replacement |
| Examination light,LED 3 | Health |  | N2M |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good condition |
| Glucometer 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are functional | Good status |
| Haemoglobin Meter, Digital | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Height Meter 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are functional | Good status |
| Instrument Trolley 4 | Health |  | Metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 are functional | Good form |
| Microscope Binocular 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | One and functional | Good condition |
| Otoscope 1 | Health |  | Rubber and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | in use | Good condition |
| Patient Screen 5 | Health |  | polyester |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good condition |
| Patient Trolley 2 | Health |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | all functional | Good condition |
| Refrigerator, Basic 2 | Health |  | electric |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | in use | Good condition |
| Stethoscope 8 | Health |  | Metal and rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 3 out of 8 in use | 5 in storage |
| Stop Watch 1 | Health |  | digital |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Stretcher | Health |  | Metal and leather |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Stove, Gas 2 | Health |  | 6 kg stabex |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 functional | Good coition |
| Weighing Scale with Height Meter, Adult 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 non-functional | They are spoiled |
| Weighing Scale, Infant 2 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 not in use | Still in storage and good status |
| Weighing Scale, Toddler | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Wheel Chair 3 | Health |  | rollers |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good condition |
| Audio Visual Equipment 1 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Medical Waste Bin 20 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 20 in use | Good status |
| Wall Clock 4 | Health |  | analog |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 in use | Good condition |
| Diagnostic Equipment Set for MCH 3 | Health |  | 3 sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good condition |
| Diagnostic Equipment Set for OPD 1 | Health |  | set |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | One and functional | Good condition |
| Glassware Set, Laboratory, Basic 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 functional | Good conditions |
| Hollow Ware Set, Treatment 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good condition |
| Instrument Set, Dressing 1 | Health |  | set |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Only 1 and in use | Good condition |
| Instrument Set, Basic ENT 3 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 out of 3 in use | 1 still in store |
| Instrument Set, Suture 3 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 out of 3 in use | 1 still in store |
| Pulse Oximeter, Hand held 3 | Health |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 2 out of 3 in use | 1 is spoilt |
| Bed, Adult Patient with Mattress 22 | Health |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 22 beds and 17 matrasses in use | 5 beds don’t have mattresses |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 are functional | Good status |
| Bedside Locker 10 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 4 out of 10 in use | 6 in the store |
| Cupboard, Instrument 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Oxygen Therapy Apparatus, Minimum 45L cylinder 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good status |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 in use | Good status |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | non-functional | All in store |
| Suction Apparatas, (Electric) 1 | Health |  | electric |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | non functional | No power to run it |
| Nebulizer, Ultrasonic 1 | Health |  | Plastic and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | functional | Good condition |
| Oxygen Concentrator, Duo Flow 1 | Health |  | Plastic and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | functional | Good condition |
| Bench 4 | Health |  | wooden |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 4 functional | Good condition |
| Disinfection Buckets 6 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 6 functional | Good status |
| Baby Cot 2 | Health H |  | Leather and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Diagnostic Equipment Set for Ward 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Hollow Ware Set, Ward 2 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 are in use | Good status |
| Instrument Set, Delivery 5 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good status |
| Instrument Set, Stitch Removing 5 | Health |  | sets |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 5 in use | Good status |
| MVA Kit 2 | Health |  | variety |  |  |  | 30/02/2024 |  |  |  |  |  | Non functional | They are finished |
| Stool, Laboratory 3 | Health |  | Cushion and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good status |
| Penguin Sucker 3 |  |  | rubber |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good status |
| Fetoscope, Dopplar 2 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 out of 2 in use | 1 in storage |
| Bubble CPAP | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Centrifuge (Electric) 1 | Health |  | metallic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | No electricity |
| Kangaroo Mother Care Chair 1 | Health |  | Wood and cushion |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and functional | Good condition |
| Radiant Infant Warmer | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Haemoglobin Meter, Sahli 3 | Health |  | plastic |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good condition |
| Delivery Bed 1 | Health |  | Leather cushion and metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 1 and in use | Good status |
| Examination light 3 | Health |  | metal |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 3 in use | Good status |
| Instrument set, ENT Basic for HCIII 1 | Health |  | set |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Only one non functional | It got spoiled |
| Bag Valve mask (Ambu Bag), Neonatal 14 | Health |  | variety |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | 3 out of 14 are functional | 11 are in storage |
| Incubator | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Office Chair 7 | Health |  | leather |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 7 in use | Good status |
| Desk | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | Not in use | Not delivered |
| Filing Cabinet 2 | Health |  |  |  | Not Engraved |  | 30/02/2024 |  |  |  |  |  | All 2 functional | Good status |
| Non-Residential Buildings | Health |  |  |  | Not Engraved |  | 30/02/202. |  |  |  |  |  | functional | Good but post-natal bottom designed poorly |
| Maternity ward 1 |  |  | 1 block |  |  |  |  |  |  |  |  |  | functional | good |
| Pit latrine and placenta pit 1 |  |  | 1 each |  |  |  |  |  |  |  |  |  | functional | good |
| Residential Buildings | Health |  |  |  |  |  | 30/02/2024 |  |  |  |  |  | functional | Good |
| Tanks 6 |  |  | 2 tanks, 2000liters |  |  |  |  |  |  |  |  |  | functional | Low water levels in rainy season |
|  |  |  | 2 tanks 1000liters |  |  |  |  |  |  |  |  |  | functional | Low water levels in rainy season |
|  |  |  | 1 tank, 5000 liters |  |  |  |  |  |  |  |  |  | functional | Low water levels in rainy season |
|  |  |  | 1 tank 500 liters |  |  |  |  |  |  |  |  |  |  | Low water levels in rainy season |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………palam seed school………………………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

parent’s contribution

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- provided learning equipment

- Built a school

- Accommodation for staff.

- employment opportunities

Challenges:

- No electricity

- Insecurity (Karamojong)

- few teachers

- Limited staff accommodation.

Recommendations:

- Boarding section due to insecurity

- more teaching staff

- more houses for teachers

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……………………Katakwi……………………… Name of SCHOOL……Palam seed s.s…………………………

| Equipment/ Item |  |  | Department |  | Asset Number |  | Item Description |  | Life in Months |  | Tag Number ( engrave no.) |  | Date Of Pur |  | Date Placed In Service |  | Recoverable cost |  | Cost |  | Acc Dep Cost |  | Net Book Value |  | Ytd Deprn |  | Equipment status |  | Remarks |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tables 106 |  |  | Educational |  |  |  | Metallic & wood |  |  |  | Not Engraved |  |  |  | 02-05-2021 |  |  |  |  |  |  |  |  |  |  |  | 106 functional |  | All in good state No engravement |  |
| Tables 318 |  |  | Educational |  |  |  | Metallic & wood |  |  |  | Not Engraved |  |  |  | 02-05-2021 |  |  |  |  |  |  |  |  |  |  |  | Functional |  | All in good state |  |
| Tables 176 | Educational |  |  |  | Metallic & wood |  |  |  | Not Engraved |  |  |  | 02-05-2021 |  |  |  |  |  |  |  |  |  |  |  | 133 functional 43 non-functional |  | All in good state 43 are broken |  |
| Tables |  |  | Educational |  |  |  | 3 seater |  |  |  | Not Engraved |  |  |  | 02-05-2021 |  |  |  |  |  |  |  |  |  |  |  | All functional |  | All in good state |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………Katakwi………………………… Name of SCHOOL…………Palam………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monitors 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CPU’s 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Projector 1 | Education |  | Acer |  | MRJ51100251100851590 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCNOY |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH5YC |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Monitor | Education |  | Lenovo |  | U1HCCMZY |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH61D |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | U1HCCN0C |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WHSYP |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCN1F |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH60C |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCNIF |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1W60G |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCN26 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH14 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HLCNOB |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH52M |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | U1HCCN07 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WHSZ6 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | V9-05LDLN |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH609 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCNIK |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | PC1WH5YZ |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Monitor | Educational |  | Lenovo |  |  |  |  |  |  |  |  |  |  | Good |
|  |  | U1HCCN1W |  | 02-05-2021 |  |  |  |  |  | Functional |  |  |  | Good |
| CPU | Educational |  | Lenovo |  | PC1WH6OW |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Printer 1 | Education |  | HP |  | CNDRN9J4N7 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | vq-o5LDM3 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | pc1kH529 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  | Lenovo |  | u1HCCN2P |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  | Lenovo |  | pc1WH613 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Monitor | Educational |  | Lenovo |  | U1HCCN09 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Educational |  |  |  | PC1WH5YY |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  |  |  | U1HCCN1Y |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  |  |  | PC1WH607 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  |  |  | U1HCCN05 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  |  |  | PC1WH61E |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  |  |  | U1HCCN28 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  |  |  | PC1WHSYT |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| monitor | Education |  |  |  | U1HCCNON |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| cpu | Education |  |  |  | PC1WH617 |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Monitor | Educational |  |  |  | V9-05LDMY |  | 02-05-2021 |  |  |  |  |  | Functional | Good |
| Cpu | Educational | 9 pcs |  |  | Not in use |  | 02-05-2021 |  |  |  |  |  | Functional | Have no serial numbers |
| Monitor | Educational | 8 pcs |  |  | Not in use |  | 02-05-2021 |  |  |  |  |  | Functional | Have no serial numbers |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………Katakwi ………………………………… Name of SCHOOL…………Palam seed s.s………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| class Room | Education |  | 06 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| Laboratories | Education |  | 02-science |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| library building | Education |  | 01 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| staff houses | Education |  | 3 blocks (6 units) |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| Hall | Education |  | 01 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| kitchen | Education |  | 03 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| administration | Education |  | 1 block |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| water tanks | Education |  | 3-110,000L, 2-5,000L |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| toilets | Education |  | 03 blocks (staff, girls, boys) |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| class Room | Education |  | 06 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| Laboratories | Education |  | 02-science |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| library building | Education |  | 01 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| staff houses | Education |  | 3 blocks (6 units) |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| Hall | Education |  | 01 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| kitchen | Education |  | 03 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| administration | Education |  | 1 block |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| water tanks 5 | Education |  | 3-110,000L, 2-5,000L |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| toilets | Education |  | 03 blocks (staff, girls, boys) |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| class Room | Education |  | 06 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| Laboratories | Education |  | 02-science |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good state |
| library building | Education |  | 01 blocks |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |
| staff houses | Education |  | 3 blocks (6 units) |  | Not Engraved |  | 02-05-2021 |  |  |  |  |  | Functional | good shape |