ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | SERERE |
| VERIFIER PARTICULARS |  |
| Full name | OLOBO FELIX |
| Contact/ email and Telephone | 0704389970 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KAGWAARA HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The regional hospital is responsible

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

SERVICES

- Improved service delivery

- More medical equipment thus efficient procedures

- Reduced referral cases to regionals

CHALLENGES

- Routine maintenance of the assets is not done

- Engravement not done

- Equipment knowledge gap among amongst staff

- Inadequate accommodation for staff

- Insecurity

- Solar system is done

RECOMMENDATIONS

- Need for routine movement by ugift

- Need for more storage space for equipment

- Need for additional accommodation for staff

- Mentorship for usage of ugift assets

- Provide pit latrines for staff

- Need for a fence and security surveillance cameras

- Replacement of solar batteries.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG SERERE

NAME OF HEALTH FACILITY: KAGWARA HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | Non functional | All in store |
| Autoclave20 Liters., Duo Operated | Health |  |  |  |  |  |  |  |  |  |  |  | Not in use | Not delivered |
| Bowl, Kick 1 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Bowl Stand 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Counting chamber Neubauer- Improved 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | Non functional | All in store |
| Cupboard Steel, Lockable 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Drip Stand 8 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| ESR Stand 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Examination Couch 2 | Health |  | Leather |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Examination light, LED 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Glucometer 2 | Health |  | Plastic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Haemoglobin Meter, Digital 2 | Health |  | Haemoqu |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in the store |
| Height Meter 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Instrument Trolley 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Microscope Binocular 1 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Otoscope 1 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | Non functional | In store |
| Patient Screen 4 | Health |  | Polyster |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 3 functional | 1 in store |
| Patient Trolley 1 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Refrigerator, Basic 1 | Health |  | Electric |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Stethoscope 1 | Health |  | Metallic |  | Not Engraved |  | 9,2025 |  |  |  |  |  | functional | Good status |
| Stop Watch 2 | Health |  | Digital |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Stretcher 1 | Health |  | Leather |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Stove, Gas 1 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Weighing Scale with Height Meter, Adult 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 is spoilt |
| Weighing Scale, Infant 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Weighing Scale, Toddler 2 | Health |  | Hanging type |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Wheel Chair | Health |  |  |  |  |  | 09,2025 |  |  |  |  |  | Non functional | Not delivered |
| Audio Visual Equipment | Health |  |  |  | Not Engraved |  | 9,2025 |  |  |  |  |  | Non functional | Not delivered |
| Medical Waste Bin 6 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Wall Clock 4 | Health |  | Analog |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Diagnostic Equipment Set for MCH | Health |  | Variety 2 |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Diagnostic Equipment Set for OPD 2 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Glassware Set, Laboratory, Basic 2 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Hollow Ware Set, Treatment 3 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Instrument Set, Dressing 2 | Health |  | Variety |  | Not Engraved |  | 9,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Instrument Set, Basic ENT 2 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Instrument Set, Suture | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Non functional | Not delivered |
| Pulse Oximeter, Hand held 2 | Health |  | Rubber |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Bed, Adult Patient with Mattress 10 | Health |  | Leather |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Bed, Pediatric Patient, With Mattress 5 | Health |  | Leather |  | Not Engraved |  | 9,2025 |  |  |  |  |  | All functional | Good status |
| Bedside Locker | Health |  |  |  |  |  |  |  |  |  |  |  | Non functional | Not delivered |
| Cupboard, Instrument 1 | Health |  | Metal and glass |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Delivery Bed, Hydraulic Manual | Health |  | Leather 1 |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Metal 45 L |  | Not Engraved |  | 09,2025 |  |  |  |  |  | Non functional | All in the store |
| Resuscitator Manual, Infant, with all Mask sizes 2 | Health |  | Rubber tubes |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Resuscitator Manual, Adult, with all mask sizes 2 | Health |  | Rubber tubes |  | Not Engraved |  | 9,2025 |  |  |  |  |  | Non functional | All in store |
| Suction Apparatus, (Electric) 2 | Health |  | Yuwell |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Nebulizer, Ultrasonic 1 | Health |  | Plastic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | Non functional | In store |
| Oxygen Concentrator, Duo Flow 4 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 4 in store |
| Bench 4 | Health |  | Wooden |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Disinfection Buckets 6 | Health |  | Plastic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Baby Cot 5 | Health |  | Leather |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Diagnostic Equipment Set for Ward 3 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All Non functional | In store |
| Hollow Ware Set, Ward 3 | Health |  | Variety |  | Not Engraved |  | 9,2025 |  |  |  |  |  | All Non functional | In store and in good status |
| Instrument Set, Delivery 3 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 2 functionals | 1 in store |
| Instrument Set, Stitch Removing 3 | Health |  | Variety |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All Non functional | In store |
| MVA Kit | Health |  |  |  |  |  |  |  |  |  |  |  | Non functional | Not delivered |
| Stool, Laboratory 1 | Health |  | Leather |  | Not Engraved |  |  |  |  |  |  |  | functional | Good status |
| Penguin Sucker 2 | Health |  | Rubber |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Fetoscope, Dopplar 2 | Health |  | Rubber |  |  |  | 9,2025 |  |  |  |  |  | All functional | Good status |
| Bubble CPAP 1 | Health |  | Plastic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Centrifuge (Electric) 2 | Health |  | Lc-045 |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Kangaroo Mother Care Chair | Health |  | Leather 1 |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Radiant Infant Warmer | Health |  |  |  |  |  |  |  |  |  |  |  | Non functional | Not delivered |
| Haemoglobin Meter, Sahli 2 | Health |  | Plastic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 1 functional | 1 in store |
| Delivery Bed | Health |  |  |  |  |  | 09,2025 |  |  |  |  |  | Non functional | Not delivered |
| Examination light 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | Good status |
| Instrument set, ENT Basic for HCIII 3 | Health |  | Variety |  | Not Engraved |  | 9,2025 |  |  |  |  |  | All functional | Good status |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  | Not Engraved |  |  |  |  |  |  |  | Non functional | Not delivered |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | Non functional | Not delivered |
| Office Chair 7 | Health |  | Leather |  | Not Engraved |  | 09,2025 |  |  |  |  |  | All functional | 2 not in good status |
| Desk 4 | Health |  | Wooden |  | Not Engraved |  | 09,2025 |  |  |  |  |  | 3 functionals | 1 partially assembled |
| Filing Cabinet 2 | Health |  | Metallic |  | Not Engraved |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward 1 | Health |  | 1 block |  |  |  | 09,2025 |  |  |  |  |  | functional | Good status |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  | Non functional. | Not constructed |

ALL THE ITEMS WERE NOT ENGRAVED

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………KAGWARA SEED S.S………………………………………….

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, in soft copy |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They budget annually for repairs under USE grants.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

- Some assets were stolen like computers.

- Some assets not installed like A/C, fan.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

services

Proper equipment of infrastructure hence easy access of education

Received fully fledged school.

Challenges:

- Delayed completion of projects by contractors.

- Compromised quality of assets like door locks.

Recommendations:

- Furniture is due for replacement.

- Expansion of classroom & staff houses.

- More teachers especially Eng, Chem, Bios, ICT.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……SERERE……………………………… Name of SCHOOL………………KAGRWARA SEED S.S…………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| office chair 20 | Education |  | metallic red cushion |  |  | 2021 | 2021 |  |  |  |  |  | 17 Functional | Good shape except 3 broken. |
| office tables 5 | Education |  | Lockable, Wood table |  | UGIFT/KAGWARA SEED SS 01-05 | 2021 | 2021 |  |  |  |  |  | Functional | Good Condition |
| Chairs 305 | Education |  | metallic & Hard wood |  | UGIFT/KAGWARA ARX SEED SS 001-305 | 2021 | 2021 |  |  |  |  |  | 301 Functional | Good shape except 4 broken. |
| Tables 100 | Education |  | metallic & wood |  | UGIFT KAHASA SEED SS | 2021 | 2021 |  |  |  |  |  | Functional | All in good Condition. |
| school desks 120 | Education |  | 3 Seater |  | UGIFT/Kagwara Seed SS 001-120 | 2021 | 2021 |  |  |  |  |  | 118 functional | 2 are broken |
| Stools 192 | Education |  | metallic wooden top |  | UGIFT Kagwara Seed SS 001-192 | 2021 | 2021 |  |  |  |  |  | 190 functional | 2 don't have wooden tops. |
| Book shelves 10 | Education |  | metallic & wood |  |  | 2021 | 2021 |  |  |  |  |  | Functional | Good shape, no engraving. |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………SERERE…………………………………… Name of SCHOOL…………KAGWARA SEED SS………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monitors 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cpus 09 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| monitor | Education |  | Dell |  | 41J964 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 51LFX34 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | DK 85973 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | HALR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | BDKQY13 |  | 20262026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | BVKR854 |  |  |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | H8CR913 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | CPLR 854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 4NLR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 46JF964 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 7DKR354 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 47JX14 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 77J7X14 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 4X85873 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 4K85973 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | HVKR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 7Q85973 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 2L1J1X14 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 123S913 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 4LLR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 8VKR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 43DF 964 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 4VKR854 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 5FFSP13 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | 4R30Y14 |  | 2026 |  |  |  |  |  | Functional | Good status |
| monitor | Education |  | Dell |  | 8095913 |  | 2026 |  |  |  |  |  | Functional | Good status |
| cpu | Education |  | Dell |  | DKLR35 |  | 2026 |  |  |  |  |  | Functional | Good status |
| UPS for Stolen Old Monitors & CPUs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CPUs 09 | Education |  | APC |  | 961910104021 | 2021 | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 981949403021 | 2021 | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 981949402675 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 93217461258 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | FTB1949403024 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 981943415430 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 981943415681 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 981949402673 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
|  | Education |  | APC |  | 983017461260 |  | 2023 |  |  |  |  |  | Not in Use | Due to theft |
| Keyboards, Mice & Printers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Keyboards 28 | Education |  | Dell |  | 574 KAG1K1KB |  |  |  |  |  |  |  | 4 in use |  |
| Mouse 28 | Education |  | Dell |  | 001-028 |  |  |  |  |  |  |  | 24 not used | Due to theft of main units |
| Printer 01 | Education |  | HP |  | CNBRN6L72C (46141454) | 2021 | 2023 |  |  |  |  |  | 001 |  |
| New Batch of Desktops |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitors 08 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CPUs 08 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| monitor | Education |  | Dell |  | 32D9QY3 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| CPU | Educational |  | DELL |  | 85LR854 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| monitor | Education |  | Dell |  | FDBS913 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| CPU | Education |  | Dell |  | 95LR854 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| monitor | Education |  | Dell |  | 6995QY3 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| cpu | Educational |  | Dell |  | 23LR854 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| monitor | Education |  | Dell |  | 6995673 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| cpu | Education |  | Dell |  | 23LR854 |  | 2026 |  |  |  |  |  | Functional | Good Shape |
| Desktop | Education |  | Dell |  | 596/KAGSS/monitor 016 | 2021 | 2023 |  |  |  |  |  | Functional | Good Shape |
| cpu | Education |  | Dell |  | 9R93F93Dell | 2021 | 2023 |  |  |  |  |  | Functional | Good Shape |
| monitor | Education |  | Dell |  | 7DMT0D73 | 2021 | 2023 |  |  |  |  |  | Functional | Good Shape |
| cpu | Education |  | Dell |  | 79WVD73 |  | 2023 |  |  |  |  |  | Functional | Good Shape |
| Monitor | Education |  | Dell |  | 7R93F93 |  | 2023 |  |  |  |  |  | Functional | Good Shape |
| cpu | Education |  | Dell |  | 6Q93F93 | 2021 |  |  |  |  |  |  | Functional | Good Shape |
| Monitor | Education |  | Dell |  | 10PG043 | 11 |  |  |  |  |  |  | Functional | Good Shape |
| cpu | Education |  | Dell |  | FQ93F93 | 11 | 2023 |  |  |  |  |  | Functional | Good Shape |
| Remaining monitors after theft dec 2023 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitors 09 | education |  | Dell |  | 7K4VD73 |  | Dec-2023 |  |  |  |  |  | Non functional | Non functional Cpu stolen |
|  | Education |  | Dell |  | 7DQTD73 |  |  |  |  |  |  |  | Non functional | Nonfunctional, cpu stolen |
|  | education |  | Dell |  | 7QTDWD73 | 11 |  |  |  |  |  |  | Non functional | Non functional |
|  |  |  | Dell |  | 789VA73 |  | 2023 |  |  |  |  |  | Non functional | Non functional |
|  | education |  | Dell |  | 31PP043 | 2021 | 2023 |  |  |  |  |  | Non functional | Non functional |
|  | Education |  | Dell |  | 7C5WD 73 | 2021 | 2023 |  |  |  |  |  | Non functional | Non functional |
|  | education |  | Dell |  | 9ZNQ043 | 2021 | 2023 |  |  |  |  |  | Non functional | Non functional |
|  | education |  | Dell |  | 75CVD 73 | 2021 | 2023 |  |  |  |  |  | Non functional | Non functional |
|  | Education |  | Dell |  | 7JV1D 73 | 2021 | 2023 |  |  |  |  |  | Non functional | Non functional |
| Server processor 01 | Education |  | Dell |  | FW5SP63 | 2021 | 2023 |  |  |  |  |  | Functional | Good shape |
| Cpu for server 01 | Education |  | Dell |  | JLFG F73 | 2021 | 2023 |  |  |  |  |  | Functional | Good shape |
| UPS server 01 | Education |  | APC |  |  | 2021 | 2023 |  |  |  |  |  | Non-functional | Spoilt |
| Air conditioner 01 | Education |  | Hisense |  | Batch No: K-D3D8 | 2021 | 2023 |  |  |  |  |  | Not in use | Installation incomplete |
| Fan 01 | Education |  | Hisense |  | AS-24HR4SXBTG901 | 2021 | 2023 |  |  |  |  |  | Not in use | Not installed |
| Projector 01 | Education |  | Acer |  | MRJ711005107004185710 | 2021 | 2023 |  |  |  |  |  | Functional | Good condition |
| Network Switch 24 Port | Education |  | D-Link |  |  | 2021 | 2023 |  |  |  |  |  | Functional | Asset tags missing/unable to see s/n |
| CCTV Camera 01 set | Education |  | Hikvision16 |  | Sample OF S/N F12430306 596/KAGSS/CAM 1 | 2021 | 2023 |  |  |  |  |  | Functional | All the 16 good shape state Good state, couldn’t pick the s/n since its inside |
| REMAINING UPS AFTER THEFT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UPS 14 | Education |  | APC |  | 9B1947A04030 |  | 2023 |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1949A02670 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1943A15682 |  |  |  |  |  |  |  |  | All are non-functional due to lack of monitors |
|  | Education |  | APC |  | 9B1949A03046 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1943A16637 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1949A03045 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1949A02674 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1949A04031 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1938A06910 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1943A15679 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1949A03047 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 9B1943A16638 |  |  |  |  |  |  |  |  |  |
|  | Education |  | APC |  | 982017A61261 |  |  |  |  |  |  |  |  | All are non-functional due to lack of monitors |
|  | Education |  | APC |  | 9B1943A16621 |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……………SERERE…………………… Name of SCHOOL………KAGWARA SEED S.S………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Admin block | Education |  | 1 block 2 unit |  |  |  | 2021 |  |  |  |  |  | Functional | good state |
| Hall multipurpose | Education |  | 1 block |  |  |  | 2021 |  |  |  |  |  | Functional | Good state |
| Ict Lib | Education |  | 1 block 2 unit |  |  |  | 2021 |  |  |  |  |  | Functional | Good state |
| SCI- Lib | Education |  | 1 block 2 unit |  |  |  | 2021 |  |  |  |  |  | Functional | Good state |
| classroom | Education |  | 3 blocks each having 2 units |  |  |  | 2021 |  |  |  |  |  | Functional | good state |
| staff houses | Education |  | 3 blocks 6 units |  |  |  | 2021 |  |  |  |  |  | Functional | Good state |
| pit latrines | Education |  | 2 blocks, 4 stands + 2 bathrooms |  |  |  | 2021 |  |  |  |  |  | functional | inside door locks became faulty after one month |
| staff VIP | Education |  | 1 stand for PWDs for each |  |  |  | 2021 |  |  |  |  |  | Functional | good shape |
| students VIP | Education |  | 4 blocks, 4 stands each |  |  |  | 2021 |  |  |  |  |  | Functional | good shape |
| Residential staff VIP | Education |  | 2 blocks, 4 stands + 2 baths each |  |  |  | 2021 |  |  |  |  |  | Functional | good state |
| Learners VIP | Education |  | 2 blocks, 4 stands each, 1 PWDs each |  |  |  | 2021 |  |  |  |  |  | Functional | Good condition |
| water tanks | Education |  | 2 big & 1 mediums | 2695 |  |  | 2021 |  |  |  |  |  | Functional | Good condition, but needs painting. spoiled taps |
| Fence | Education |  | wall fenced |  |  |  | 2024-2026 |  |  |  |  |  | Functional | Perfect condition |
| Kitchen | Education |  | 2 blocks 4 units |  |  |  |  |  |  |  |  |  | Functional | Perfect condition |