ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Biyinzika Shadrack, Alyabo Mary Topista |
| Contact/ email and Telephone | 0708280450, 0782955138, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Brim HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They have put safety measures and restriction on access to hospital equipment by locking all the equipment in a store and laboratory. The HC III has a biomedical engineer that helps in repairing some equipment in case of any break down. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | The Health facility does a physical count of equipment every financial year which helps them to find out the instruments that are still in good condition and the equipment that have broken down. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has helped in saving lives of the mothers and the children under five years and helped in employing the people in Brim Area. Challenge: Poor security due to lack of fences because thieves can easily enter the facility. Fencing and solar is needed in BRIM HC III to simplify the work and save the patients. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Brim HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | standard Omron |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Functional | in use |
| Fetoscope, Doppler | Health | 02 | Stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| B.P. Machine (Aneroid wall mounted) | Health | 01 | wall BP machine with metal case metal base |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Functional | in use |
| Autoclave 20 Liters, Duo Operated | Health | 01 | steel metallic round vehicle electronic |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Functional | in use |
| Bowl, Kick | Health | 01 | Three wheeler bowl |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Functional | in use |
| Bowl Stand | Health | 01 | stainless bowl stand on wheels |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer-improved |  | — |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health | 08 | Metal office storage cupboard |  | BRIM HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | in use |
| Drip Stand | Health | 06 | stainless steel drip stands with wheels |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| ESR Stand | Health | 01 | vertical metalic with base |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Examination Couch | Health | 02 | blue nappy leather with cover |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Examination light LED | Health | 03 | forehead light |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | not in use |
| Glucometer | Health | 01 | small machine |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Haemoglobin Meter, Digital | - | - | hand held electronic device |  |  |  |  |  |  |  |  |  | Good | in use |
| Height Meter | Health | 01 | Height ruler/ portable |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Instrument Trolley | Health | 04 | stainless steel trolley |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Microscope Binocular | Health | 01 |  |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Otoscope | Health | 01 | examining set |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | 0 |
| Patient Screen | Health | 0 | white attached to sightles metal moveable |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | Health | 05 | movable stand for patients |  | Brim HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Refrigerator, Basic | Health | 02 | Stainless Steel |  | BRIM HC III |  |  |  |  |  |  |  |  | Two remaining in store |
| Stethoscope | Health | 04 | Double side for both adults & kids |  | UGIFT/18/019 BRIM HC III |  |  |  |  |  |  |  |  |  |
| Stop Watch | Health | 01 | Laboratory chronometer |  | UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Stretcher | Health | 02 | wheeled |  | BRIM HC III UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Stove, Gas | Health | 02 | gas |  | UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | Health | 01 | Stainless steel digital weighing scale |  | BRIM HC III UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | Health | 01 | Infant weighing with digits |  | Not |  |  |  |  |  |  |  | Not | is not functional. |
| Weighing Scale, Toddler | Health | 01 | Weighing machine with a tray |  | BRIM HC III UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health | 01 | black with four wheels |  | BRIM HC III UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | Health | 01 | In the box |  | Not |  |  |  |  |  |  |  | Good | Not in use in the store |
| Medical Waste Bin | Health | 10 | Stainless bins |  | BRIM HC III UGIFT/18/019 |  |  |  |  |  |  |  |  |  |
| Wall Clock | Health | 03 | white round clocks |  | Not |  |  |  |  |  |  |  | Good | in use. |
| Diagnostic Equipment Set for MCH | Health | 03 | drum set |  | Not |  |  |  |  |  |  |  | Good | in use |
| Diagnostic Equipment Set for OPD | Health | 02 | aluminium drum with equipment |  | Not |  |  |  |  |  |  |  | Good | in use |
| Glassware Set, Laboratory, Basic | Health | 02 | assorted |  | Not |  |  |  |  |  |  |  | Good | in use |
| Hollow Ware Set, Treatment | Health | 02 | stainless steel drum |  | Not |  |  |  |  |  |  |  | Good | in use |
| Instrument Set, Dressing | Health | 03 | stainless steel drum |  | Not |  |  |  |  |  |  |  | Good | one in used |
| Instrument Set, Basic ENT | Health | 01 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | one in used |
| Instrument Set, Suture | Health | 03 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | one in used |
| Pulse Oximeter, Hand held | Health | 02 | Digital small machine |  | Not |  |  |  |  |  |  |  | Good | one in use |
| Bed, Adult Patient with Mattress | Health | 10-4 | steel blue coated with wire mesh & mattresses 4 items were transfered from the main hospital |  | BRIM HCIII UG/IFT/BKL/044 |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Health | 1 | Plastic white and blue |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | good | in used |
| Cupboard, Instrument | Health | 01 | Glassed metal |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | good |  |
| Delivery Bed, Hydraulic Manual | Health | 01 | Pink bed |  | UGIFT/BUK/DLG BRIM HC III |  |  |  |  |  |  |  | good |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 02 | Blue use circle |  | UGIFT/BUK/DLG BRIM HC III |  |  |  |  |  |  |  | good |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 01 | Rubber form |  | Nil |  |  |  |  |  |  |  | good |  |
| Resuscitator Manual, Adult, with all mask sizes | Health | 01 | For emergency breathing |  | Nil |  |  |  |  |  |  |  | good |  |
| Suction Apparatus, (Electric) | Health | 01 | For breathing |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | good |  |
| Nebulizer, Ultrasonic | Health | 01 | small refrigerator box like |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | good |  |
| Oxygen Concentrator, Duo Flow | Health | 01 | Humidifier bottle flowmeter nose and nasal |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | good |  |
| Bench | Health | 04 | woody with a lining space. |  | BRIM HC III UGIFT/BUK DLG |  |  |  |  |  |  |  | good |  |
| Disinfection Buckets | Health | 02 | plastic buckets |  | BRIM HC III UgIFT/BK/043 |  |  |  |  |  |  |  |  | They are all spoiled |
| Baby Cot | Health | 02 | stainless steel beds with small mattress |  | BRIM HC III UgIFT/BK/044 |  |  |  |  |  |  |  |  | They are not found in the facility |
| Diagnostic Equipment Set for Ward | Health | 02 | containing two bowls and one tray |  | BRIM HC III UgIFT/BK/045 |  |  |  |  |  |  |  |  | Not delivered |
| Hollow Ware Set, Ward | Health | 02 | stainless steel dish and boots and ward |  | BRIM HC III UgIFT/BK/046 |  |  |  |  |  |  |  |  | Not found in the facilities |
| Instrument Set, Delivery | Health | 03 | stainless drum for delivery |  | BRIM HC III UgIFT/BK/047 |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | Health | 03 | When used dissecting forceps and scissor |  | Not |  |  |  |  |  |  |  |  | Not received by the facility |
| MVA Kit | Health | 05 | in a white polythene bag. |  | Not |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  | 03 | movable stool |  | BRIM HC III UgIFT/BK/048 |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Health | 03 | Ovalled shaped apparatus |  | Not |  |  |  |  |  |  |  | Good | in use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 01 | silver with wooden cover |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Kangaroo Mother Care Chair |  | 01 |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  | Not |  |  |  |  |  |  |  | Good | in use |
| Haemoglobin Meter, Sahli | Health | 02 | Blood meter manual |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health | 01 | Pink adjustable bed |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Examination light | Health | 02 | movable light that can be turned |  | BRIM HC III UGIFT/BUK/DLG |  |  |  |  |  |  |  | Good | in use |
| Instrument set, ENT Basic for HCIII | Health | 01 | Stainless steel with silver polythene |  | Not |  |  |  |  |  |  |  | Good | in use |
| Bag Valve mask (Ambu Bag) Neonatal | Health | 18 Adult 16 pediatric 15 neonatal | Ambu bag |  | Not |  |  |  |  |  |  |  | Good | in use |
| Incubator |  | 10 |  |  |  |  |  |  |  |  |  |  | Good | in use |
| Office Chair | Health | 07 | black swinging moving round |  | BRIM HC III / UGIFT / BUK / LG |  |  |  |  |  |  |  | Good | in use. |
| Desk | Health | 06 | black coach with wood |  | BRIM HC III / UGIFT / BUK / LG |  |  |  |  |  |  |  | Good | in use. |
| Filing Cabinet |  | 04 |  |  | BRIM HC III UGIFT/BUK/044 |  |  |  |  |  |  |  | good | In use |
| Non Residential Buildings |  |  | 4 buildings - 1 maternity ward, medical, VIP latrines pit. |  | Maternity |  |  |  |  |  |  |  | good | in use. |
| Residential Buildings |  |  | 1 block - Three bedrooms house of each midwife. |  | Staff |  |  |  |  |  |  |  | good | in use. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Guide question 4: crossed-out opening text is partly illegible ("Challenges faced - Most of the things were not delivered & some of the").

- Rows 1–5 and 7 on the first checklist sheet all carry the same tag number BRIM HC III UGIFT/BUK/014 — confirm whether this is intentional.

- Counting chamber Neubauer-improved: only a dash in the asset number column; all other cells blank.

- Non Residential Buildings description: word after "maternity ward," may be "medical" or "med store".

- Patient Screen description: "sightles" is unclear (singles?).

- Bed, Adult Patient with Mattress: asset number written as "10-4"; tag suffix "044" appears in the life-in-months column on the page.

- Otoscope remarks cell contains "0" — meaning unclear.

- Weighing Scale, Infant: equipment status written as "Not".

- Duplicate line items on separate sheets: Delivery Bed (Hydraulic Manual and Delivery Bed); Examination light (LED and Examination light); Instrument Set, Basic ENT and Instrument set, ENT Basic for HCIII.

- Bubble CPAP: only asset number "0" written; all other cells blank.

- Kangaroo Mother Care Chair: only asset number "01" written.

- Radiant Infant Warmer: no asset number; tag "Not".

- Tag format varies across sheets (UGIFT/BUK/DLG, UGIFT/BUK/014, UgIFT/BK/043, UG/IFT/BKL/044, UGIFT/18/019).