ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Biyinzika Shadrack, Alyabo Mary Topista |
| Contact/ email and Telephone | 0708280450, 0782955138, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Mutushet HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, but some. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift That all the personals are still new in the health facility. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | That they are all still new but they will start. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Enhanced service delivery. Challenges: Under staffing; lack of knowledge on how to use most of the equip.; lack of technical personels. Recommendation: Refresher courses; more staff for the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Mutushet HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 2 | Digital both functional | 60 Months | Not yet | 2021-06-13 | 2021-07-01 |  |  |  |  |  | Function - Working well |  |
| Fetoscope, Doppler | Health | 2 | Doppler 120, Fetoscope functional | 120 months | Not yet | 2022-06-13 | Not in use |  |  |  |  |  | New | In the box |
| WATER TANKS | Health | 3 | Black in colour | 120 month | Not yet | 2021-06-13 | SINCE WINTER 2021 |  |  |  |  |  | Working well | Need for tap water since rain is not |
| B.P. Machine (Aneroid wall mounted) | Health | 2 | manual both in nature in working order | 60 Months | Not yet | 2021-06-13 | 2021-07-01 |  |  |  |  |  | Functioning |  |
| LATRINES | Health | 1 (4 STANCE) | fully finished | 120 months | labelled | 2021-06-13 |  |  |  |  |  |  |  |  |
| WASH ROOM | Health | 4 | finished | 120 months | well labelled | 2021-06-13 | SINCE YEAR FEB |  |  |  |  |  | Good | In use well |
| Autoclave 20 Liters, Duo Operated | Health | 01 |  |  | Not yet |  |  |  |  |  |  |  | Good | Not in use |
| MATERNITY WARD | Health | 1 | Fully equipped | 30 yrs | well labelled | 2021-06-13 | OCT 2024 |  |  |  |  |  |  |  |
| Bowl, Kick | Health | 1 |  |  | Not yet | 2021-06-13 |  |  |  |  |  |  | Functioning | All available |
| Bowl Stand | Health | 2 | steel made metallic |  | Not yet | 2021-06-13 |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer-Improved | Health | 2 | Used for blood cells in the body | 120 Months | Not yet | 2021-06-13 |  |  |  |  |  |  | Good | still new |
| Cupboard Steel, Lockable | Health | 2 | Steel cupboard lockable make |  | Not yet | 2021-06-13 | 2021-08-21 |  |  |  |  |  | Functioning | Still new |
| Drip Stand | Health | 2 | metallic drip stands | 120 months | Not yet | 2021-06-13 |  |  |  |  |  |  | Functioning | One in use |
| ESR Stand | Health | 1 | Heavy durable in nature | 120 months | Not yet | 2021-06-13 | 2021-07-15 |  |  |  |  |  | Functional In use |  |
| Examination Couch | Health | 2 | Metallic steel with mattresses | 120 months | Not yet | 2021-06-13 | 2021-06-20 |  |  |  |  |  | New well maintained |  |
| Examination light LED | Health | 2 | LED examination light functional | 120 months | Not yet | 2021-06-13 |  |  |  |  |  |  |  |  |
| Glucometer | Health | 2 | On call & digital | 120 months | Not yet | 2021-06-13 | 2021-07-15 |  |  |  |  |  | Good works well |  |
| Haemoglobin Meter, Digital | Health | 2 | Digital haemoglobin meter | 24 months | Not yet | 2021-06-13 | 2021-07-15 |  |  |  |  |  | Good Available |  |
| Height Meter | Health | 1 | 210cm long | 60 months | Not yet | 2021-06-13 | 2021-07-15 |  |  |  |  |  | Good Good handling |  |
| Instrument Trolley | Health | 2 | Steel made | 60 months | Not yet | 2021-06-13 | 2021-06-15 |  |  |  |  |  | Good In use |  |
| Microscope Binocular | Health | 1 | Binocular microscope and in use | 120 months | Not yet | 2021-06-13 |  |  |  |  |  |  |  |  |
| Otoscope | Health | 1 |  | 60 months |  | 2021-06-13 | 2021-05-20 |  |  |  |  |  | Good Functioning | One not in use |
| Patient Screen | Health | 4 | metallic stands with blue screens | 120 months | Not yet | 2021-06-13 |  |  |  |  |  |  |  |  |
| Patient Trolley | Health | 1 | metallic made | 120 months | Not yet | 2021-06-13 | 2021-10-10 |  |  |  |  |  | Good Available |  |
| Refrigerator, Basic | Health | 1 | Giant refrigerator |  | Not yet | 2023-06-12 | 21/6/2023 & not in use |  |  |  |  |  | New | Needs power |
| Stethoscope | Health | 4 | Bard-cord stethoscope |  | Not yet | 2023-06-12 | Not in use |  |  |  |  |  | Still new | Available |
| Stop Watch | Health | 4 |  |  | Not yet | 2023-06-12 |  |  |  |  |  |  | Not seen |  |
| Stretcher | Health | 1 | It is in good condition |  | Not yet | 2023-06-12 | 2024-07-20 |  |  |  |  |  | Good | Available |
| Stove, Gas | Health | 1 | Local made |  | Not yet | 2023-06-12 | 2024-07-20 |  |  |  |  |  | Good |  |
| Weighing Scale with Height Meter, Adult | Health | 2 | Digital Scale with weighing scale |  | Not yet | 2023-06-12 | 2023-09-05 |  |  |  |  |  | Good | Working well |
| Weighing Scale, Infant | Health | 2 |  |  | Not yet | 2023-06-12 | 2024-07-15 |  |  |  |  |  | Condition still okay seen |  |
| Weighing Scale, Toddler | Health | 2 | Kunfung bo B.S-SD plastic material | 12 months | Not yet | 2023-06-12 | 2025-06-02 |  |  |  |  |  | Not received |  |
| Wheel Chair | Health | - |  | - | - | - | - |  |  |  |  |  | - |  |
| Audio Visual Equipment | Health | - |  | - | - | - | - |  |  |  |  |  | - |  |
| Medical Waste Bin | Health | 6 | Plastic made | 24 months | Not yet | 2023-06-12 | 3 in use 12/6/2025 |  |  |  |  |  | Good | working well |
| Wall Clock | Health | 4 | Plastic wall clock is functional | 60 months | Not yet | 2023-06-12 | - |  |  |  |  |  | Still new in the box |  |
| Diagnostic Equipment Set for MCH | Health | 2 | it has set equipment | 60 months | Not yet | 2025-06-13 | - |  |  |  |  |  | New | Need for technical Personal |
| Diagnostic Equipment Set for OPD | Health | 2 | Completely set equipment | 120 months | Not yet | 2025-06-13 | 2025-07-14 |  |  |  |  |  | Working well | Available |
| Glassware Set, Laboratory, Basic | Health | 2 | 2 set are full | 60 months | Not yet | 2025-06-13 | - |  |  |  |  |  | Good | Working well |
| Hollow Ware Set, Hospital | Health | 3 | one set containing 11 items of the ward | 120 months | Not yet | 2025-06-13 | - |  |  |  |  |  | Good | used well |
| Instrument Set, Dressing | Health | 4 | steel made dressing instruments | 120 months | Not yet | 2025-06-13 | 2025-07-22 |  |  |  |  |  | New | Still intact |
| Instrument Set, Basic ENT | Health | 3 | Basic instruments available | 120 months | Not yet | 2025-06-13 | - |  |  |  |  |  | Still new | in the store |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health | 2 | set for hand held Pulse Oximeter | 60 months | Not yet | 2025-06-13 | 2025-06-15 |  |  |  |  |  | Good | Maintenance is good |
| Bed, Adult Patient with Mattress | Health | 10 | Beds are manually operated | 120 months | Not yet | 2025-06-13 | - |  |  |  |  |  | New | In the box |
| Bed, Pediatric Patient, With Mattress | Health | 5 | Metallic made with mattress | 120 months | Not yet | 2025-06-13 | 2025-08-15 |  |  |  |  |  |  |  |
| Bedside Locker | Health | 4 | Steel made lockers | 60 months | Not yet | 2021-06-13 | 2021-06-14 |  |  |  |  |  | Good | Need to improve on maintenance |
| Cupboard, Instrument | Health | 1 | - | - | - | 2021-06-13 | 2021-06-15 |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | Health | 1 | Blue in colour | 60 months | Not yet | 2021-06-13 | 2021-06-15 |  |  |  |  |  | New | Kept well |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 2 | Black & White in colour | 60 months | Not yet | 2021-06-13 | Not in use |  |  |  |  |  | New | Kept well |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 2 | Resuscitator manual functional | 60 months | Not yet | 2021-06-13 | 2025-07-15 |  |  |  |  |  | Good | Well kept |
| Resuscitator Manual, Adult, with all mask sizes | Health | 2 | Adult resuscitator available | 60 months | Not yet | 2021-06-13 | Not in use |  |  |  |  |  | New | In the store |
| Suction Apparatus, (Electric) | Health | 4 | Electric suction apparatus | 60 months | Not yet | 2021-06-13 | Not in use |  |  |  |  |  | New | still in store intact |
| Nebulizer, Ultrasonic | Health | 1 | Ultrasonic nebulizer machine | 60 months | Not yet | 2021-06-13 | Not in use as of 20/12/25 |  |  |  |  |  | Good | working well |
| Oxygen Concentrator, Duo Flow | Health | 4 | Longfian oxygen concentrator | 60 months | Not yet | 2021-06-13 |  |  |  |  |  |  |  |  |
| Bench | Health | 4 | Made with wood and metals | 60 months | Not yet | 2021-06-13 | 2025-06-14 |  |  |  |  |  | Good | Well maintained |
| Disinfection Buckets | Health | 6 | Two Plastic in nature | 144 | Not yet | 2025-06-13 | 2025-06-14 |  |  |  |  |  | Working Good | well condition |
| Baby Cot | Health | 5 | Metallic in nature with a mattress | 10 yrs | Not yet | 2025-06-13 | 2025-07-14 |  |  |  |  |  | Good | used well |
| Diagnostic Equipment Set for Ward | Health | 3 | Fully equipped covered with a plastic material | 60 months | Not yet | 2025-06-13 | Not in use |  |  |  |  |  |  | Good New |
| Hollow Ware Set, Ward | Health | 3 |  |  |  | 2025-06-13 | - |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Health | 6 | Steel 1 in nature | 120 months | Not yet | 2025-06-13 | Not in use |  |  |  |  |  | New | intact; 3 on ground |
| Instrument Set, Stitch Removing | Health | 3 | Steel in nature | 120 months | Not yet | 2025-06-13 | Not in use |  |  |  |  |  | New | intact |
| MVA Kit | Health | 4 | MVA kit reusable | 36 months | Not yet | 2025-06-13 | 20/07/2025 in use |  |  |  |  |  | Good | New for technical personel |
| Stool, Laboratory | Health | 1 | Adjustable stool hydraulic managed |  | Not yet | 2025-06-13 | 2025-07-15 |  |  |  |  |  | Good | well maintained |
| Penguin Sucker | Health | 3 | Not availed for verification | - | - | 2022-06-13 | 2025-07-15 |  |  |  |  |  | Good | used well |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 2 | - | - | Not yet | 2022-06-13 | Not in use |  |  |  |  |  | New | Need for personnel |
| Centrifuge (Electric) | Health | 2 | LC-04A digital | 120 months | Not yet | 2022-06-13 | 15/7/2025 in use |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health | 1 | N2M company metallic and mattress | 120 months | Not yet | 2022-06-13 | 2025-07-15 |  |  |  |  |  | Functional | Well kept |
| Radiant Infant Warmer | Health | 0 | - | - | - | - | - |  |  |  |  |  | - |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health | 2 | It is manually operated. 1 sent to Tulel but to be brought back | 60 months | Not yet | 2022-06-13 | 15/7/2025 one in use |  |  |  |  |  | Good | 1 taken to Tulel H/C III but to be brought back |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 7 | black in colour and in use | 60 Months | Not yet | 2025-06-13 | 2025-07-15 |  |  |  |  |  | Good nice looking |  |
| Desk | Health | 3 | metal and wooden made | 120 months | Not yet | 2025-06-13 | 2025-07-15 |  |  |  |  |  | Good functioning well |  |
| Filing Cabinet | Health | 2 | Filling Cabinet steel made | 60 months | Not yet | 2021-06-13 | Not in use |  |  |  |  |  | Good | Intact |
| Non Residential Buildings | Health | 1 | Fully occupied fully finished | 240 months | well labelled | 2021-06-13 | IN USE SINCE 2021 |  |  |  |  |  | Good | reliable |
| Residential Buildings | Health | 1 UNIT | Not fully finished | 120 months | well labelled | 2021-06-13 |  |  |  |  |  |  |  | Wait for power |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Guide question 1a/1b: a single combined answer "Yes, but some." is written; no separate 1b response.

- Earlier photo set (ref0000–ref0009) disagrees with the 20260831 booklet on several quantities and dates — e.g. Drip Stand 7 vs 2, Autoclave blank vs 01, WATER TANKS 5 vs 3.

- Earlier ref0006 sheet lists non-standard item names on pages 6–7 (Bed Side, Examination Bed, Footstool) and a UGIFT/MOH delivery block (Examination Lamp, Oxygen Tubing, Surgeon Scissor/Mayo Scissor, Forceps) not present in the 20260831 booklet.

- Hollow Ware Set, Treatment and Instrument Set, Suture: checklist lines left blank on the 20260831 pages.

- Haemoglobin Meter, Sahli and Examination light: checklist lines left blank on page 17.

- Instrument set ENT Basic, Bag Valve mask (Ambu Bag) Neonatal and Incubator: only department HEALTH written on pages 18–19.

- Weighing Scale, Toddler description "Kunfung bo B.S-SD" is unclear.

- Disinfection Buckets description says "Two Plastic" but asset number is 6.

- Instrument Set, Delivery: asset number 6 with handwritten note "3 on ground".

- Delivery Bed at Tulel: one of two beds recorded as sent to Tulel HC III but to be brought back.

- All cost and depreciation columns are blank across every photographed sheet.