ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kapchorwa District |
|  | Kapchorwa District |
| VERIFIER PARTICULARS |  |
| Full name | Alyabo Mary Topista, Biyinzika Shadrack, Nakiwala Doreen |
| Contact/ email and Telephone | 0702185702, 0782955138, 0708280450 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Ngangatta HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift By use of primary Health care support. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes Monthly. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Through the construction of the facility and provision of the equipment. Challenges: The solar system is faulty. Lack of computers and need for OPD block. Recommendation: Should help construct OPD block. Complete for record purpose. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kapchorwa District        NAME OF HEALTH FACILITY: Ngangatta HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | medical equipment used for blood pressure |  |  |  | 2021 In use |  |  |  |  |  | Functional | Not engraved |
| Fetoscope, Doppler | Health | 02 | Battery operated with LCD display |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Water tanks |  | 6 tanks | 10000 (1) 5000 (2) 3000 (1) 1000 (2) Litres |  |  |  |  |  |  |  |  |  |  | Some minor leakage |
| B.P. Machine (Aneroid wall mounted) | Health | 02 | Equipment with mercury free dial |  |  |  | 2021 In use |  |  |  |  |  | Functional | Not engraved |
| Autoclave 20 Liters, Duo Operated | Health | 02 | stainless steel drum with pressure guage |  |  |  | 2021 In use |  |  |  |  |  | Functional | Not engraved |
| Bowl, Kick | Health | 01 | Medical device for use in hospital |  |  |  | 2021 |  |  |  |  |  | Functional | In use & not engraved |
| Bowl Stand | Health | 03 | Double stainless steel basin bowl |  |  |  | 2021 All in use |  |  |  |  |  | Functional | In use & not engraved |
| Counting chamber Neubauer-improved | Health | 02 | improved counting chamber glass slide |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Cupboard Steel, Lockable | Health | 06 | Double door steel with 4 adjustable shelves |  |  |  | 2021 All in use |  |  |  |  |  | Functional | All in use and not engraved |
| Drip Stand | Health | 08 | Metallic chrome plated with 4 hooks |  |  |  | 2021 All in use |  |  |  |  |  | Functional | Good and not engraved |
| ESR Stand | Health | 01 | Metallic rack for holding ESR tubes |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Examination Couch | Health | 04 | Steel frame with mattress |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Examination light LED | Health | 02 | High intensity cold white medical device |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Glucometer | Health | 02 | Hand held display with test strips |  |  |  | 2021 |  |  |  |  |  |  | The stripes were not compatible |
| Haemoglobin Meter, Digital | Health | 02 | Small hand held electronic device |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Height Meter | Health | 02 | Measuring height |  |  |  | 2021 All in use |  |  |  |  |  | Functional | All in use and not engraved |
| Instrument Trolley | Health | 04 | Stainless steel 2 shelves |  |  |  | 2021 In use |  |  |  |  |  |  | Not engraved |
| Microscope Binocular | Health | 01 | Equipment for viewing microorganisms |  |  |  | 2021 In use |  |  |  |  |  | Functional | Not engraved |
| Otoscope | Health | 01 | Diagnostic set with specula |  |  |  | 2021 |  |  |  |  |  | Functional | No personnel to use it |
| Patient Screen | Health | 05 | Medical device that displays vital signs |  |  |  | 2021 In use |  |  |  |  |  | Functional | Not engraved |
| Patient Trolley | Health | 01 | Equipment for placing medical items for patients |  |  |  | 2021 In use |  |  |  |  |  | Functional | In use and not engraved |
| Refrigerator, Basic | Health | 02 | Refrigerator domestic type used for |  |  |  | 2021 in use |  |  |  |  |  | Functional | In use and not engraved |
| Stethoscope | Health | 03 | Medical device used for auscultation |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Stop Watch | Health | 01 | Device for pulse |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Stretcher | Health | 01 | 4-wheeled moving wheel |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Stove, Gas | Health | 02 | 6kg gas cylinder |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale with Height Meter, Adult | Health | 02 | Weighing equipment |  |  |  | 2021 |  |  |  |  |  | Functional | In use and not engraved |
| Weighing Scale, Infant | Health | 02 | Weighing equipment |  |  |  | 2021 in use |  |  |  |  |  | Functional | In use and not engraved |
| Weighing Scale, Toddler | Health | 01 | Weighing equipment |  |  |  | 2021 in use |  |  |  |  |  | Functional | In use and not engraved |
| Wheel Chair | Health | 04 | Moving chair for the lame |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health | 20 | Coloured medical waste plastic bin |  |  |  | 2021 |  |  |  |  |  | Functional | In use and not engraved |
| Wall Clock | Health | 04 | Device for showing time |  |  |  | 2021 |  |  |  |  |  | Functional | Good and not engraved |
| Diagnostic Equipment Set for MCH | Health | 04 | Diagnostic sets containing stethoscope & fetoscope |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Diagnostic Equipment Set for OPD | Health | 02 | medical set containing torch, patella hammer |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Glassware Set, Laboratory, Basic | Health | 02 | Lab glassware such as tubes |  |  |  | 2021 |  |  |  |  |  | Functional | In use and not engraved |
| Hollow Ware Set, Treatment | Health | 02 | stainless steel containing kidney dishes |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Dressing | Health | 04 | set containing scissors |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Basic ENT | Health | 01 | set containing tuning fork |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Suture | Health | 05 | set containing needle holder |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Pulse Oximeter, Hand held | Health | 02 | hand held with finger probe & battery |  |  |  | 2021 |  |  |  |  |  | Faulty | Due to over use. |
| Bed, Adult Patient with Mattress | Health | 16 | medical beds for adult patients |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Bed, Pediatric Patient, With Mattress | Health | 04 | small size metal frame bed with foam mattress |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Bedside Locker | Health | 10 | metallic form with single drawer & cupboard compartment |  |  | Aug 2021 | 2021 |  |  |  |  |  | Functional | Not engraved |
| Cupboard, Instrument | Health | 01 | Double door lockable equipment |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Delivery Bed, Hydraulic Manual | Health | 01 | 3 Crank adjustable bed |  |  |  | 2021 |  |  |  |  |  | Function | Not engraved |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 02 | Oxygen therapy set with trolley |  |  |  | 2021 |  |  |  |  |  | Functional | Good but not engraved |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 01 | Bag valve mask infant type |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Resuscitator Manual, Adult, with all mask sizes | Health | 01 | Bag valve mask adult type |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Suction Apparatus, (Electric) | Health | 01 | Electric machine portable with spare |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Nebulizer, Ultrasonic | Health | 01 | Machine for nebulizing therapy |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Oxygen Concentrator, Duo Flow | Health | 01 | Medical equipment with humidifier bottle |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Bench | Health | 04 | Equipment for sitting on |  |  |  | 2021 |  |  |  |  |  | Functional | In use and not engraved |
| Disinfection Buckets | Health | 06 | Plastic coloured medical equipment |  |  |  | 2021 4 in use |  |  |  |  |  |  | 4 items in use, Functional and not engraved |
| Baby Cot | Health | 02 | Stainless steel/stand with mattress & wheels |  |  |  | 2021 |  |  |  |  |  |  | Functional Not engraved |
| Diagnostic Equipment Set for Ward | Health | 02 | medical set with BP machine |  |  |  | 2021 1 in use |  |  |  |  |  |  | Functional Not engraved |
| Hollow Ware Set, Ward | Health | 02 | Stainless steel with basic trays |  |  |  | 2021 |  |  |  |  |  |  | Functional Not engraved |
| Instrument Set, Delivery | Health | 02 | Stainless steel with artery cord scissors |  |  |  | 2021 |  |  |  |  |  |  | Functional/Not engraved |
| Instrument Set, Stitch Removing | Health | 03 | stitch removing set with fine scissors |  |  |  | 2021 2 in use |  |  |  |  |  |  | Functional/Not engraved |
| MVA Kit | Health | 05 | medical equipment with double valve syringes 60 ml |  |  |  | 2021 |  |  |  |  |  |  | Functional In use and not engraved |
| Stool, Laboratory | Health | 03 | metallic high equipment with foot resting |  |  |  | 2021 |  |  |  |  |  |  | Functional In use and not engraved |
| Penguin Sucker | Health | 03 | Bulb suction device rubber 68ml |  | Not engraved |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 00 |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 01 | Bench-top 6 tubes 15ml capacity |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Kangaroo Mother Care Chair | Health | 01 | Low height adjustable for mothers |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Radiant Infant Warmer | Health | 00 |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health | 02 | Device with comparator box, pipette & stirrer |  |  |  | 2021 |  |  |  |  |  | Functional | was used but it is damaged |
| Delivery Bed | Health | 01 | Standard non hydraulic equipment with leg holders |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Examination light | Maternity | 02 | LED goose neck equipment for maternity examination |  |  |  | 2021 |  |  |  |  |  | Functional | Not engraved |
| Instrument set, ENT Basic for HCIII | Health | 01 | medical kit containing nasal speculum, tongue depressor |  |  |  | 2021 |  |  |  |  |  |  | Functional currently in use and not engraved |
| Bag Valve mask (Ambu Bag) Neonatal | Health | 00 |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | Health | 00 |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 07 | swivel type equipment with 5 castor wheels armrests |  |  |  | 2021 / 5 in use |  |  |  |  |  |  | Functional Not engraved |
| Desk | Health | 05 | equipments for office use |  |  |  | 2021 / in use |  |  |  |  |  |  | Functional Not engraved |
| Filing Cabinet | Health | 06 | Lockable equipments for patient file storage |  |  |  | 2021 All in use |  |  |  |  |  | Functional | All in use and not engraved |
| Non Residential Buildings | Health | 01 block latrines + 1 block placenta pit 1 block |  |  |  |  | 2021 All in use |  |  |  |  |  | Functional | Not engraved |
| Residential Buildings | Health | 1 block 2 units |  |  |  |  | 2021 All in use |  |  |  |  |  | Functional |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Verifier particulars: five names listed (Altabo Mary Topista, Bwayika, Nakuwaza, Shadrach, Doreen) against three contact numbers — confirm intended verifier names and spellings.

- Guide question 4: closing phrase "Complete for record purpose" may be truncated.

- Oxygen Therapy Apparatus: printed minimum 45L; asset description on page reads 48L cylinder in the checklist title area.

- Delivery Bed, Hydraulic Manual: equipment status written as "Function" rather than "Functional".

- Examination light (sheet 08): department written as Maternity; other rows use Health.

- Bubble CPAP and Radiant Infant Warmer: asset number "00" only; all other cells blank.

- Bag Valve mask (Ambu Bag) Neonatal and Incubator: asset number "00" only; all other cells blank.

- Non Residential Buildings: asset number cell contains a long building description rather than a count.

- Water tanks: no department, date placed in service or equipment status recorded.

- No tag numbers engraved on any item; remarks consistently note items are not engraved.

- Duplicate line items on separate sheets: Delivery Bed (Hydraulic Manual and Delivery Bed); Examination light LED and Examination light; Instrument Set, Basic ENT and Instrument set, ENT Basic for HCIII.