# Kaptum HC III - facility report

# 1. Identification

| Facility | Kaptum HC III |
| --- | --- |
| Type | Health centre |
| Local government | Kween District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-27 |
| Team members present | Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Not reported. No item was recorded as working or not working. |
| Usage / performance | Recorded against 3 items, none of them in service. Each is boxed, held in the store, or waiting on a handover. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

Nothing on file says what was supplied to this facility, so found stands on its own and there is nothing to set it against. 8 of the items recorded here carry a count; the counts sit with the facility's own record.

# 5. Engraving and identification

Not engraved (4). Benches, Binocular microscope, Delivery bed, Stove gas.

The team recorded: Also they are not engraved.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

Nothing here was put down as obsolete, unserviceable or fit for disposal.

# 7. Operation and maintenance

What the team recorded on site:

2026-08-27 - 1 tank(500l) challenge is not nolonger receiving water from the roof.

2026-08-27 - All the equipment in Kaptum health center 111 are not in use because they have not been handed officially to the facility until the maternity ward is complete.

2026-08-27 - All the equipments in Kaptum health centre3 are packed in the store.

# 8. Queries

Four facilities have not been handed over, so their assets stand unused.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.