ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kween District |
|  | Kween District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Alyabo Mary Topista, Biyinzika Shadrack |
| Contact/ email and Telephone | 0708280450, 0782955138, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Moyok HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility has some maintenance fee that it got through Primary health care that helps them to repair the equipment. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | The facility carries out an Annual check-up and counting of equipments which helps them to maintain the equipments. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | By providing equipment that have eased diagnostic procedures and eased work. Challenges: The facility lacks electricity to operate using some equipments like the refrigerators and other machines, poor security because of no fences. Recommendations: recommendation: -Fencing, electricity supply, staffings. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kween District        NAME OF HEALTH FACILITY: Moyok HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | Medical equipment used for blood pressure |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Fetoscope, Doppler | Health | 02 | Battery operated with LCD display |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available at the health facility |
| Smart TV Set LG | Health | 01 | medical electronic equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Brand new & functional | In use |
| B.P. Machine (Aneroid wall mounted) | Health | 02 | Equipment with mercury free dial |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Projector | Health | 01 | LCD Projector 3500 lumens for health education |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item seen and functional |
| Autoclave 20 Liters. Duo Operated | Health | 02 | Stainless steel drum with pressure gauge |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Bowl Kick | Health | 01 | Medical device for washing hands |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Bowl Stand | Health | 03 | Double stainless steel for lotion bowls |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Counting chamber Neubauer-Improved | Health | 02 | Improved counting chambers glass slide |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Cupboard Steel, Lockable | Health | 06 | Double door steel with 4 adjustable shelves |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Drip Stand | Health | 04 | Metallic chrome equipment with 4 hooks |  | KWN/MED-EQ/ MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| ESR Stand | Health | 01 | Metallic rack for holding ESR tubes |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Examination Couch | Health | 04 | Steel frame with foam mattress |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Examination light LED | Health | 01 |  |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  |  |  |
| Glucometer | Health | 02 | Hand held digital with strips |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available in use |
| Haemoglobin Meter Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Health | 02 | Measuring height |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available & in use |
| Instrument Trolley | Health | 04 | Stainless steel 2 shelves |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Good |
| Microscope Binocular | Health | 01 | Equipment for viewing micro organisms |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available & in use |
| Otoscope | Health | 01 | Diagnostic set with specula |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Patient Screen | Health | 05 | 3-fold metallic frame with cloth curtain on wheels |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Patient Trolley | Health | 02 | Equipment for placing medical items for patients |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Refrigerator Basic | Health | 02 | Refrigerator domestic type |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Stethoscope | Health | 08 | Medical device used for auscultation |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Stop Watch | Health | 01 | Device for pulse |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available & in use |
| Stretcher | Health | 02 | 4-sided moving wheel |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Good condition |
| Stove Gas | Health | 02 | 6kg gas cylinder |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available and in use |
| Weighing Scale with Height Meter, Adult | Health | 02 | Weighing equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Currently in use |
| Weighing Scale Infant | Health | 02 | Weighing equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Good condition |
| Weighing Scale Toddler | Health | 01 | Weighing equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Wheel Chair | Health | 04 | Moving chair for the sick |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available at the health facility |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health | 10 | Coloured medical waste plastic bin |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Wall Clock | Health | 04 | Medical device for telling time |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Diagnostic Equipment Set for MCH | Health | 03 | Diagnostic set containing stethoscope, thermometer |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Diagnostic Equipment set for OPD | Health | 02 | Medical and torch, probe thermometer |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Glassware Set Laboratory, Basic | Health | 02 | Laboratory glassware set containing beakers, test tubes |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Hollow ware Set Treatment | Health | 02 | Stainless steel hollow ware set containing kidney dish |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available and in use |
| Instrument Set, Dressing | Health | 03 | Medical and surgical equipment containing dressing |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Instrument Set Basic ENT | Health | 01 | set containing tuning fork, scissors |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Instrument Set, Suture | Health | 03 | Suture set containing needle holder |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available & engraved |
| Pulse Oximeter, Hand held | Health | 02 | Digital with finger probe & LCD display |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Bed, Adult Patient with Mattress | Health | 10 | Medical and beds for adult patients |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Bed, Pediatric Patient With Mattress | Health | 03 | Small size steel frame bed with foam mattress |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Bedside Locker | Health | 10 | metallic item with single drawer & cupboard compartment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Cupboard Instrument | Health | 01 | Double door metallic equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual | Health | 01 | 3 crank fully adjustable bed |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | In use |
| Oxygen Therapy Apparatus, Minimum 45L Cylinder | Health | 02 | Oxygen therapy set with trolley |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use |
| Resuscitator Manual infant, with all Mask sizes | Health | 01 | Bag valve mask infant type |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Resuscitator Manual Adult, with all mask sizes | Health | 01 | Bag valve mask adult type |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Suction Apparatus, (Electric) | Health | 01 | Electric machine portable with a jar |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Health | 01 | Medical equipment with humidifier bottle |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Available and the item is in use |
| Bench | Health | 04 | Equipment for sitting on |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Disinfection Buckets | Health | 06 | Plastic colored medical equipment |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Baby Cot | Health | 02 | Stainless steel stand with mattress & wheels |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item seen and in use |
| Diagnostic Equipment Set for Ward | Health | 02 | Ward diagnostic set with B.P machine |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items in use. |
| Hollow Ware Set Ward | Health | 02 | Stainless steel with bowls, trays |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Instrument Set Delivery | Health | 05 | Stainless steel with artery, cord scissors |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Instrument Set, Stitch Removing | Health | 05 | Stitch removing set with fine scissors |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items seen and in use |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool Laboratory | Health | 04 | Metallic High equipment with round revolving seat |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Penguin Sucker | Health | 02 | Bulb suction device rubber 50ml |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | The items are in use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 01 |  |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 01 | Bench top 15ml capacity |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Engraved |
| Kangaroo Mother Care Chair | Health | 01 | KMC chair low height for mothers |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Item in use |
| Radiant Infant Warmer | Health | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health | 02 | Device with comparator back/plastic & stirrer |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are in use |
| Delivery Bed | Health | 02 | Delivery bed standard non hydraulic with leg holders |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | All are in use |
| Examination light | Maternity | 03 | LED goose neck mount on mobile stand for maternity |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items seen and some are in use |
| Instrument set, ENT Basic for HCIII | Health | 01 | Medical set containing otoscope, nasal speculum, tongue depressor, |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Currently in use |
| Bag Valve mask (Ambu Bag), Neonatal | Health | 14 | Ambu bag neonatal 240ml silicone autoclavable |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items are seen & in use |
| Incubator | Health | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 07 | Office chair swivel type with 5 castor wheels, armrests |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | All are in use |
| Desk | Health | 05 | Office equipment for office use |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Engraved and are in use |
| Filing Cabinet | Health | 06 | Vertical lockable with keys for patient files storage |  | KWN/MED-EQ/MOYOK HC III |  |  |  |  |  |  |  | Functional | Items seen and they are in use |
| Non Residential Buildings | Health | 03 | maternity ward toilet placenta pit |  |  |  |  |  |  |  |  |  | Functional | Complete |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  | No water |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Cover facility name written as MOYOK HEALTH CENTRE III.

- Verifier names include Shariah and Binuzika — spelling uncertain.

- Tag format varies: KWN/MED-EQ/ MOYOK HC III (with space after slash) on sheet 02 versus KWN/MED-EQ/MOYOK HC III on later sheets.

- Examination light LED: asset number and tag only; description, status and remarks blank.

- Haemoglobin Meter Digital: entire row blank except printed item name.

- Audio Visual Equipment: only printed item name; all other cells blank.

- Nebulizer, Ultrasonic: only printed item name; all other cells blank.

- MVA Kit: entire row blank except printed item name.

- Bubble CPAP: description, status and remarks blank.

- Radiant Infant Warmer: asset number written as 0; all other cells blank.

- Incubator: asset number written as 0; all other cells blank.

- Non Residential Buildings description: maternity ward toilet placenta pit — list punctuation unclear.

- Residential Buildings: only item name and remarks No water.

- Duplicate delivery/examination items: Delivery Bed, Hydraulic Manual and Delivery Bed; Examination light LED and Examination light.