# Moyok HC III - facility report

# 1. Identification

| Facility | Moyok HC III |
| --- | --- |
| Type | Health centre |
| Local government | Kween District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-27 |
| Team members present | Nakiwala Doreen, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Recorded against 5 items: 4 noted as working, 1 as not working or damaged. The second group is named in section 6. |
| Usage / performance | Recorded against 5 items: 1 in service and 4 out of it, the latter boxed or held in the store. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

This facility keeps a bound asset register of its own. Sixty-one lines are on file, entered on 1 October 2022 with a quantity against each. That is the facility's record of what it holds, not a record of what was supplied, and it marks no line as a programme asset, so it answers neither half of the comparison. No delivery note for this facility is on file.

15 of the items recorded here carry a count.

# 5. Engraving and identification

Engraved (8): Bedside locker, Benches, Cupboard steel lockable, Desks, Paediatric bed, Patient beds, Refrigerator, Weighing scale Toddler.

Not engraved (5). Benches, Item not named, Oxygen therapy Apparatus 45L, Stretcher, Wall clock.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

These were noted on site, and no others:

Lab stool 4 one of them is not functional.

Nothing was recommended for disposal in terms.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

Moyok HC III keeps its own bound asset register, and it does not mark the UgIFT lines.

A sheet recorded as Moyok's delivery note is a second sheet of its asset register.

Two of Moyok HC III's four wheelchairs were moved to Kaproron HC IV.

Engraving is on the equipment at two of the five Kween health centres.

The engraved marks carry no sequence number, so two identical items read alike.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.