# Terenpoy HC III - facility report

# 1. Identification

| Facility | Terenpoy HC III |
| --- | --- |
| Type | Health centre |
| Local government | Kween District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-28 |
| Team members present | Nakiwala Doreen, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Recorded against 4 items: 2 noted as working, 2 as not working or damaged. The second group is named in section 6. |
| Usage / performance | Recorded against 45 items: 10 in service and 35 out of it, the latter boxed or held in the store. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

Nothing on file says what was supplied to this facility, so found stands on its own and there is nothing to set it against. 51 of the items recorded here carry a count; the counts sit with the facility's own record.

# 5. Engraving and identification

Not engraved (3). Benches, Bowl stand, Patient screens.

The team recorded: All Terenpoy equipments from UgIFT were not engraved.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

These were noted on site, and no others:

Patient screens(4) and not functional.

6 disinfection buckets 1 - broken 1- in use 4- safe in use.

Nothing was recommended for disposal in terms.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

Engraving is on the equipment at two of the five Kween health centres.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.