## FIELD REPORT ON UgIFT ASSET VERIFICATION.

## Facility visited: KABWEZA HC III

## Introduction

A field exercise was conducted to verify UGIFT assets in kyankaramata HC III in kyenjojo district. The exercise involved onsite physical verification of all asset acquired under UgIFT program for the period 2018-2025. This was intended to establish the status of the assets and identify any issues requiring follow-up

Process/ methodology.

The team kick started the exercise with a courtesy visit to the office of the Chief administrative officer, Kyegegwa district local government where the team was welcomed by the chief administrative officer and then had an entry meeting with him in his office. The team presented an introductory letter where he recommended and forwarded the team to the relevant officers, in charges /head teachers at schools and health centres funded by UGIFT.

After the meeting Chief administrative officer with the team, dispatched to different facilities where I went to Myeri hc III.

At kabweza hc III, I met the incharge of the facility to whom I presented signed introductory letter and I was provided with an asset list barked by delivery notes for items received from UGIFT.

The exercise involved reviewing relevant asset information, physical counting and verification of assets, taking photographic evidence of the observed equipment.

The absence of asset registers both at the district offices and health centres slowed down the verification process and some crucial information on asset numbers, life in months could not be obtained.

Inadequate storage at health centres was also a challenge, to properly store UGIFT assets.

In addition, the facility staff did not know the some of the medical equipment, their functions, and that they were supplied with some equipment that should be used in schools e.g. counting chambers, glucometers were supplied with strip, but they were used up and the facility could not get their replacement from NMS

# Recommendations.

Health Facility in charge should be involved during the procurement of medical equipment so that they select optimal quantities of equipment needed at their facilities and avoid over stock.

Facilities should be provided with a CBC Machine instead of counting chambers.

All equipment should be engraved, and faulty ones be repaired.