ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Biyinzika Shadrack, Nakiwala Doreen, Alyabo Mary Topista |
| Contact/ email and Telephone | 0782955138, 0708280450, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Aralam HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, it's a delivery note. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Sometimes we use PHC funds to repair the assets provided under UgIFT. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the facility takes regular record about functionality. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Challenges that we are facing: Lack of tables, adult beds, solar light. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Aralam HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Outpatient | 2 | Medical equipment for blood pressure |  |  | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new & Functional | New equipment in good condition. Not yet engraved. Still in the store. |
| Fetoscope, Doppler | Health | 02 | Battery operated with LCD display |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional & 2 items present - not engraved. |
| B.P. Machine (Aneroid wall mounted) | Outpatient | 1 | Adatpry B.P for blood pressure | 2yrs |  | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new & Functional | New equipment in a good working condition |
| Autoclave 20 Liters, Duo Operated | Health | 1 | Stainless steel drum with pressure gauge |  |  | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new & Functional | New equipment not yet engraved |
| Bowl, Kick | Outpatient | 1 | Equipment for waste disposal |  | U65161A02022 | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new & Functional | Not engraved |
| Bowl Stand | Outpatient | 4 | Equipment for waste disposal medical |  | U65161A02022 | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new & Functional | New equipment in a good working condition |
| Counting chamber Neubauer-improved | Outpatient | 2 | Improved counting chamber glass slide |  |  | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new and functional | New equipment but can't access it due locked the store. - Not engraved |
| Cupboard Steel, Lockable | Outpatient | 1 | Furniture storage |  |  | 2023-06-07 | July 2023 |  |  |  |  |  | Functional | Not engraved |
| Drip Stand | Outpatient | 4 | Medical stand |  | U21SSDG/A022 02022 | 2023-06-07 | July 2023 |  |  |  |  |  | Brand new Functional | Engraved brand new equipment |
| ESR Stand | Outpatient | 1 | Laboratory tool |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Available but not locked in the store. - Functional - Not engraved |
| Examination Couch | Outpatient | 2 | Padded medical bed |  | EMS 23 ECNH 20 22 08 814 | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Available and engraved - Functional |
| Examination light LED | Outpatient | 2 | High quality adjustable medical light |  | EM 100 52 57 20 98 | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Available, engraved & ready for use. - Functional |
| Glucometer | Outpatient | 1 | Small medical device |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - 2 available but its not yet locked in the store. Functional - Not engraved |
| Haemoglobin Meter, Digital | Outpatient | 2 | Small handheld electronic device |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - 2 available pieces but they are locked in the store. - Functional - Not engraved |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | Outpatient | 3 | Moving equipment with wheels |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Functional - Not engraved |
| Microscope Binocular | Outpatient | 1 | Equipment for viewing micro organisms |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Not engraved and functional |
| Otoscope | Outpatient | 1 | Medical device with a light & lens |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Not engraved and functional |
| Patient Screen | Outpatient | 1 | Medical equipment that light shows sign |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Functional - Not engraved |
| Patient Trolley | Outpatient | 2 | Equipment for placing medical items for patients |  |  | 2023-06-01 | July 2023 |  |  |  |  |  |  | Brand new - Not engraved and functional |
| Refrigerator, Basic | Outpatient | 2 | Bioconduction type |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | Not engraved |
| Stethoscope | Outpatient | 4 | Littmann Model 3110 / 3270 / medical |  | BA1216230 | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 4 items engraved |
| Stop Watch | Outpatient | 0 |  |  |  |  |  |  |  |  |  |  | Not received | Not received |
| Stretcher | Outpatient | 1 | Four wheeler equipment |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | 1 item available but locked in the store |
| Stove, Gas | Outpatient | 1 | Gas cylinder |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | 1 item available but locked in the store |
| Weighing Scale with Height Meter, Adult | Outpatient | 7 | weighing equipment |  | 16310-1034170 - 00050 | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 7 items engraved |
| Weighing Scale, Infant | Outpatient | 1 | Weighing equipment |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 1 item available but locked in the store |
| Weighing Scale, Toddler | Outpatient | 1 | Weighing equipment |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 1 item available and locked in the store |
| Wheel Chair | Outpatient | 6 | Moving chair for the lame |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 6 items but not engraved (NF) |
| Audio Visual Equipment | Outpatient | 1 | Equipment for health education |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | 1 item available but locked in the store |
| Medical Waste Bin | Outpatient | 19 | Coloured medical waste plastic bin |  |  | 2023-06-01 | July 2026 |  |  |  |  |  | Functional | Not engraved |
| Wall Clock | Outpatient | 0 |  |  |  |  |  |  |  |  |  |  |  | Item not available |
| Diagnostic Equipment Set for MCH | Outpatient | 3 | medical set containing stethoscope |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | brand new 3 items were later booked in facility |
| Diagnostic Equipment Set for OPD | Outpatient | 0 | medical set containing thermometer |  |  |  | July 2026 |  |  |  |  |  |  | Not received |
| Glassware Set, Laboratory, Basic | Outpatient | 2 | medical set containing test tubes |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | 2 items listed as above (NE) Not engraved |
| Hollow Ware Set, Treatment | Outpatient | 2 | stainless steel containing kidney dishes |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | 2 items listed in the store (NE) not engraved |
| Instrument Set, Dressing | Outpatient | 2 | medical equipment containing scissors |  |  | 2023-04-07 | July 2026 |  |  |  |  |  | Functional | 2 items listed in the store (NE) Not engraved |
| Instrument Set, Basic ENT | Outpatient | 1 | medical equipment containing forceps |  |  | 2023-04-07 | July 2026 |  |  |  |  |  |  | 1 item locked in the store not engraved |
| Instrument Set, Suture | Outpatient | 3 | suture set containing needle holder |  |  | 2023-04-07 | July 2026 |  |  |  |  |  |  | 3 items locked in the store not engraved |
| Pulse Oximeter, Hand held | Maternity | 2 | digital device with finger probe |  |  | 2023-04-07 | July 2026 |  |  |  |  |  |  | 2 items listed in the store so far but if they are functional not engraved |
| Bed, Adult Patient with Mattress | Maternity | 0 |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Bed, Pediatric Patient, With Mattress | Maternity | 4 | small size bed frame with |  |  | 2023-04-07 | July 2026 |  |  |  |  |  |  | 4 items not engraved |
| Bedside Locker | Maternity | 10 | Metallic made with single drawer cupboard |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 10 items not engraved |
| Cupboard, Instrument | Maternity | 1 | Hospital equipment |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 1 item not engraved |
| Delivery Bed, Hydraulic Manual | Maternity | 1 | Fully adjustable bed |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 1 item not engraved |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Maternity | 2 | Oxygen therapy unit with 4.5L |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 2 items not engraved |
| Resuscitator Manual, Infant, with all Mask sizes | Maternity | 1 | Bag valve mask infant type |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 1 item not engraved |
| Resuscitator Manual, Adult, with all mask sizes | Maternity | 1 | Bag valve mask adult type |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 1 item not engraved |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Oxygen Concentrator, Duo Flow | Maternity | 1 | Medical equipment with humidifier bottle |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 1 item not engraved |
| Bench | Health | 4 | Medical equipment for sitting on |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional 4 items not engraved |
| Disinfection Buckets | Health | 0 |  |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Nil |
| Baby Cot | Health | 2 | Stainless steel/head with mattress & wheels |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional Not engraved |
| Diagnostic Equipment Set for Ward | Health | 2 | Ward diagnostic set with BP machine |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 2 items in the store Not engraved |
| Hollow Ware Set, Ward | Health | 02 | Stainless steel with bowls, tray etc |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 2 items in the store |
| Instrument Set, Delivery | Health | 05 | Stainless steel with artery cord doctors |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 5 items present & not engraved |
| Instrument Set, Stitch Removing | Health | 05 | Stitch removing set with fine scissors |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 5 items present and not engraved |
| MVA Kit | Health | 05 | medical equipment with relatable valve syringe 60ml |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 5 items present & not engraved |
| Stool, Laboratory | Health | 03 | metallic " High equipment with round revolving seat |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 3 items present |
| Penguin Sucker | Health | 03 | Bulb suction device, rubber 60ml |  |  | 2023-06-07 | July 2024 |  |  |  |  |  |  | Functional & items present - Not engraved |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 01 |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Centrifuge (Electric) | Health | 01 |  |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 1 item present in the store and not engraved |
| Kangaroo Mother Care Chair | Health | 01 | KMC chair low height for mother |  |  | 2023-06-07 |  |  |  |  |  |  |  | Not received |
| Radiant Infant Warmer | Health | 02 |  |  |  | July 2026 |  |  |  |  |  |  |  | Functional 2 items present not engraved |
| Haemoglobin Meter, Sahli | Health | 02 | Device with comparator box, pipette & stirrer |  |  | 2023-06-07 | July 2026 |  |  |  |  |  |  | Functional 1 item not engraved |
| Delivery Bed | Health | 01 | Delivery bed standard with hydraulic with leg holders |  |  | 2023-06-07 |  |  |  |  |  |  |  |  |
| Examination light | Health | 01 |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health | 00 |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Bag Valve mask (Ambu Bag) Neonatal | Health |  | Ambu bag neonatal 240ml silicone autoclavable |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | No items found |
| Incubator | Health | 00 |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Office Chair | Health | 05 | Sitting equipment with swivel low back with armrest |  |  | 2023-06-07 | July 2023 |  |  |  |  |  |  | Functional Not engraved |
| Desk | Health | 00 |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Filing Cabinet | Health | 09 | Vertical lockable equipment with keys for storage |  |  | 2023-02-07 | July 2023 |  |  |  |  |  | Functional | 7 items not registered |
| Non Residential Buildings | Health | 03 |  |  |  |  |  |  |  |  |  |  | Functional | 3 buildings completed |
| Residential Buildings | Health | 02 |  |  |  |  |  |  |  |  |  |  | Functional | 2 buildings complete |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Verifier names on cover: BIYINZIKA SHADRACH, NAKWALA DORON, ALTAHA MARY TOPISTA — spelling normalised to match other Bukwo booklets.

- Date placed in service varies between July 2023, July 2024 and July 2026 across sheets — confirm whether 2026 is a transcription error for 2023.

- B.P. Machine (Aneroid wall mounted): description "Adatpry" may be Adaptory.

- Bowl Kick and Bowl Stand share the same tag number U65161A02022.

- Oxygen Therapy Apparatus: printed item name says 45L cylinder but description says 4.5L.

- Filing Cabinet: asset number 09 but remarks say 7 items not registered.

- Haemoglobin Meter, Sahli: asset number 02 but remarks say 1 item.

- Duplicate line items: Delivery Bed (Hydraulic Manual and Delivery Bed); Examination light (LED and Examination light).

- Radiant Infant Warmer: no date of purchase recorded.

- Disinfection Buckets: asset number 0 with purchase date but remarks Nil.

- Stop Watch, Wall Clock, Diagnostic Equipment Set for OPD and Bed, Adult Patient: asset number 0 with not received / not available remarks.

- Instrument set, ENT Basic for HCIII, Incubator and Desk: asset number 00 with Not seen remarks.