# Brim HC III - facility report

# 1. Identification

| Facility | Brim HC III |
| --- | --- |
| Type | Health centre |
| Local government | Bukwo District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-25 |
| Team members present | Nakiwala Doreen, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Reported for some items: Spoilt cap board steel lockable |
| Usage / performance | Not reported. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

Nothing on file says what was supplied to this facility, so found stands on its own and there is nothing to set it against. 2 of the items recorded here carry a count; the counts sit with the facility's own record.

# 5. Engraving and identification

Engraved (8): Autoclave, Benches, Desk, Gas cylinder, Height meter, Microscope, Patient bed with a matress, Patient locker.

Not engraved (5). ESR FAST DETECTOR, Laboratory stool, Patient screen, Pediatric beds for the babies, Penguin suckers.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

These were noted on site, and no others:

Spoilt cap board steel lockable.

Nothing was recommended for disposal in terms.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

A printed equipment allocation schedule covering seventeen health centres is held at district level.

The visitors' register filed under Mutushet may belong to Chepkwasta or Brim.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.