ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Biyinzika Shadrack, Alyabo Mary Topista |
| Contact/ email and Telephone | 0708280450, 0702185702, 0782955138 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Chepkwasta HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility has put measures that protect the assets from being damaged by ensuring that they handle everything with care. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes the facility always take the record and the UgIFT structure got a crack and this was reported to the CAO and some some instruments were misplaced. And for now a few instrument were lost like the Penguin suckers |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT has helped so much in proper delivery of mothers of chepkwasta and also saving babies. Challenges: - little power electricity which stops the HC III from using the equipments that were given to them by UgIFT. Recommendation: - Power supply is needed for the Health Center. - training of the staff members on how to use most of machines and instruments |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Chepkwasta HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 2 | machine with rubber cuff cloth cover |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Fetoscope, Doppler | Health | 2 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| B.P. Machine (Aneroid wall mounted) | Health | 1 | large round an/sc mon 300 mm hg fixed wall |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Autoclave 20 Liters, Duo Operated | Health | 1 | Stainless steel drum |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Bowl, Kick | Health | 1 | stainless steel round |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Bowl Stand | Health | 1 | stainless wheel |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Counting chamber Neubauer- Improved | Health | 01 | Thick optical glass |  | Not |  |  |  |  |  |  |  | Good | in & store |
| Cupboard Steel, Lockable | Health | 3 | mild steel coated colour grey |  | CHEP HC III UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use |
| Drip Stand | Health | 3 | stainless steel. |  | CHEP HC III UGIFT/BUK/044 |  |  |  |  |  |  |  | Good | in use. |
| ESR Stand | Health | 1 | Metal vertical heavy base |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Examination Couch | Health | 2 | bed formed for check ups |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Examination light/LED | Health | 2 | pore head light |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in a box |
| Glucometer | Health | 02 | small hand held electric device |  | CHEP HC III / UGIFT-BUK-064 |  |  |  |  |  |  |  | Good | in use |
| Haemoglobin Meter, Digital | Health | 1 | measuring blood |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Height Meter | Health | 1 | steel coated white |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Instrument Trolley | Health | 2 | stainless steel |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Microscope Binocular | Health | 1 | metallic and small |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Otoscope | Health | 1 | Ear examination |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Patient Screen | Health | 3 | 3 fold white screen movable |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Patient Trolley | Health | 1 | stainless steel |  | CHEP HC III / UGIFT/BUK/064 |  |  |  |  |  |  |  | Good | in use |
| Refrigerator, Basic | Health | 1 | mild steel |  | CHEP/HC/III/UGIFT/Buk/041 |  |  |  |  |  |  |  | good | in use by some officer |
| Stethoscope | Health | 4 | Double side nose breast ears |  | Not engraved |  |  |  |  |  |  |  | good | original |
| Stop Watch | Health | 1 | Laboratory clock |  | Not |  |  |  |  |  |  |  | good | in the store |
| Stretcher | Health | 0 |  |  | CHEP HC III / UGIFT/BUK/044 |  |  |  |  |  |  |  | good | in use |
| Stove, Gas | Health | 1 | steel work |  | UGIFT/BUK/046 |  |  |  |  |  |  |  | good | in use |
| Weighing Scale with Height Meter, Adult | Health | 1 | Measures weight height |  | CHEP HC III UGIFT/BUK/042 |  |  |  |  |  |  |  | good | in use |
| Weighing Scale, Infant | Health | 1 | Infant beam with a tray |  | CHEP HC III UGIFT/BUK/043 |  |  |  |  |  |  |  | good | in use |
| Weighing Scale, Toddler | Health | 1 | Hanging 25kg |  | CHEP HC III UGIFT/BUK/044 |  |  |  |  |  |  |  | good | in use |
| Wheel Chair | Health | 2 | black with front wheels |  | CHEP HC III UGIFT/BUK/104 |  |  |  |  |  |  |  | good | 3 in use others in the store |
| Audio Visual Equipment | Health | 1 |  |  | CHEP HC III UGIFT/BUK/109 |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health | 10 | stainless steel |  | CHEP HC III UGIFT/BUK/048 |  |  |  |  |  |  |  | good | in use |
| Wall Clock | Health | 3 | Glass and steel white clock |  | CHEP HC III/UGIFT/Buk/049 |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Health | 3 | family planning |  | Nil |  |  |  |  |  |  |  | Good | in store |
| Diagnostic Equipment Set for OPD | Health | 2 | out going patients equipment |  | Not |  |  |  |  |  |  |  | Good | in the store |
| Glassware Set, Laboratory, Basic | Health | 2 | standard Beakers |  | Not |  |  |  |  |  |  |  | Good | in the store |
| Hollow Ware Set, Treatment | Health | 2 | for Health stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| Instrument Set, Dressing | Health | 3 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| Instrument Set, Basic ENT | Health | 1 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| Instrument Set, Suture | Health | 3 | stainless steel |  | Not |  |  |  |  |  |  |  | Good | in use |
| Pulse Oximeter, Hand held | Health | 2 | stainless steel |  | CHEP HCIII / UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | in use |
| Bed, Adult Patient with Mattress | Health | 10 | steel coat white powder coated with black mattress |  | CHEP HCIII / UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | in use |
| Bed, Pediatric Patient, With Mattress |  | 4 | steel with mattress |  | CHEP HCIII / UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | in use |
| Bedside Locker | Health | 10 | Plastic with drawers |  | CHEP HC III UGIFT/BUK/011 |  |  |  |  |  |  |  | Good | in use |
| Cupboard, Instrument | Health | 1 | Glass and steel |  | CHEP HC III UGIFT/BUK/011 |  |  |  |  |  |  |  | good | inuse |
| Delivery Bed, Hydraulic Manual | Health | 1 | Adjustable bed |  | CHEP HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | good | inuse |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 2 | 45L cylinder complete |  | CHEP HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | inuse |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 1 | Self-inflating bag |  | CHEP HC III UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | inuse |
| Resuscitator Manual, Adult, with all mask sizes |  | 1 | mask inflating bag |  | Not |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  | 1 | Portable tray model electrically |  | CHEP HC III UGIFT/BUK/014 |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Health | 01 | Steel |  | UGIFT/BUK/014 |  |  |  |  |  |  |  | Good | inuse |
| Oxygen Concentrator, Duo Flow |  | 1 | Humidifier bottle, Flowmeter, oxygen tube and arterial cannular |  | CHEP HC III UGIFT/BK/164 |  |  |  |  |  |  |  |  |  |
| Bench |  | 4 | wood benches |  | CHEP HC III/UGIFT BUK/029. |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health | 2 | Plastic buckets |  | CHEP HC III/ UGIFT/ BUK/ 012 |  |  |  |  |  |  |  | Good | Still in the store sometimes in use |
| Baby Cot | Health | 2 | Stainless steel |  | CHEP HC III/ UGIFT/ BUK/ 011 |  |  |  |  |  |  |  | Good | Still in the store |
| Diagnostic Equipment Set for Ward | Health | 2 | Stainless steel |  | Not |  |  |  |  |  |  |  | Good | Still in store |
| Hollow Ware Set, Ward | Health | 2 | dishes for ward general use |  | Not |  |  |  |  |  |  |  | Good | still in useable |
| Instrument Set, Delivery | Health | 5 | Stainless steel for delivery |  | Not |  |  |  |  |  |  |  | Good | In the maternity |
| Instrument Set, Stitch Removing | Health | 5 | stitch scissors dissecting forceps and artery forceps |  | Not |  |  |  |  |  |  |  | Good | in the box |
| MVA Kit | Health | 5 | For incomplete abortion |  | Not |  |  |  |  |  |  |  | Good | in box |
| Stool, Laboratory | Health | 1 | Rolling stool |  | CHEP HC III UGIFT/BUK/014 |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Health / maternity | 3 / 2 lost | oval shape rubber material |  | Not |  |  |  |  |  |  |  | Good | in use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 0 |  |  | CHEP HC III/ UGIFT/ BUK/ 014 |  |  |  |  |  |  |  |  | not seen |
| Centrifuge (Electric) | Health | 1 | stainless steel body blue inside |  | CHEP HC III/ UGIFT/ BUK/ 009 |  |  |  |  |  |  |  | Good | in use |
| Kangaroo Mother Care Chair | Health | 1 | Standing wood black chair |  | CHEP HC III/ UGIFT/ BUK/ 007 |  |  |  |  |  |  |  | Good | in use |
| Radiant Infant Warmer | Health | - |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health | 2 | in plastic red box with strip |  | CHEP HC III/ UGIFT/ BUK/ 018 |  |  |  |  |  |  |  | Good | in use |
| Delivery Bed | Health Maternity | 1 | Pink delivery bed |  | CHEP HC III/ UGIFT/ BUK/ 029 |  |  |  |  |  |  |  | Good | in use |
| Examination light | Health | 1 | mobile floor standing goosenecked moveable black light wheels |  | Not |  |  |  |  |  |  |  | Good | in use |
| Instrument set, ENT Basic for HCIII | Health | 1 | stainless steel tray with lid containing 14 pieces |  | Not |  |  |  |  |  |  |  | Good | Not in the store |
| Bag Valve mask (Ambu Bag), Neonatal | Health | 15 | self inflating bag with a silicon sheet transparent |  | Not |  |  |  |  |  |  |  | Good | in the store |
| Incubator |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 3 | Swinging black office soft chairs |  | CHEP HC III/UGIFT/BUKWO |  |  |  |  |  |  |  | Good | in use |
| Desk | Health | 4 |  |  | CHEPHC III UGIFT/BUKWO |  |  |  |  |  |  |  | Good | in use |
| Filing Cabinet |  | 4 | steel lockable withdrawn |  | CHEP HC III UG/PT/BLDG/ |  |  |  |  |  |  |  | Good | in use. |
| Non Residential Buildings |  | 03 maternity | building with latrine/Placentapit |  |  |  |  |  |  |  |  |  |  | Insufficient solar power. It always blackout. |
| Residential Buildings |  | 1 block staff | houses with four rooms. |  |  |  |  |  |  |  |  |  |  | No power supply No water supply No toilets. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Checklist header spells facility CHEPKWESTA HEALTH CENTRE 3; cover page reads CHEPKWASTA HEALTH CENTER III.

- Rows 1–5 and 7–8 on the first checklist sheet all carry the same tag number CHEP HC III / UGIFT/BUK/044 — confirm whether this is intentional.

- B.P. Machine (Aneroid wall mounted) description: "an/sc mon" is unclear.

- Counting chamber Neubauer- Improved: tag written as Not.

- Glucometer asset number appears prefixed with an asterisk on the page.

- Examination light/LED description: "pore head light" may mean forehead.

- Rows on pages 8–9 mostly share tag CHEP HC III / UGIFT/BUK/064; Glucometer uses UGIFT-BUK-064 with hyphens.

- Stretcher asset number written as 0 and circled on the page.

- Stretcher and Weighing Scale, Toddler both carry tag CHEP HC III / UGIFT/BUK/044.

- Wheel Chair asset number is 2 but remarks say 3 in use others in the store.

- Audio Visual Equipment and Wall Clock: equipment status and remarks blank.

- Pulse Oximeter, Hand held: item description written as stainless steel.

- Bed, Pediatric Patient, With Mattress: department blank.

- Resuscitator Manual, Adult: department, equipment status and remarks blank.

- Suction Apparatus, (Electric): department, equipment status and remarks blank.

- Oxygen Concentrator, Duo Flow: department, equipment status and remarks blank; tag suffix BK/164 may be BUK/014.

- Bench: department, equipment status and remarks blank.

- Stool, Laboratory: equipment status and remarks blank.

- Penguin Sucker: department written as Health / maternity; asset number written as 3 / 2 lost.

- Bubble CPAP: asset number 0; equipment status blank; remarks not seen.

- Radiant Infant Warmer: only asset number dash written; all other cells blank.

- Duplicate line items on separate sheets: Delivery Bed (Hydraulic Manual and Delivery Bed); Examination light/LED and Examination light; Instrument Set, Basic ENT and Instrument set, ENT Basic for HCIII.

- Incubator: only asset number 0 written; all other cells blank.

- Desk: item description blank.

- Non Residential Buildings: asset number 03 maternity; description Placentapit is unclear; equipment status blank.

- Residential Buildings: equipment status blank.

- Tag format varies across sheets (CHEP HC III / UGIFT/BUK/044, CHEP/HC/III/UGIFT/Buk/041, CHEP HC III UGIFT/BK/164, CHEP HC III UG/PT/BLDG/, CHEP HC III/UGIFT/BUKWO).