ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Alyabo Mary Topista, Biyinzika Shadrack |
| Contact/ email and Telephone | 0708280450, 0702185702, 0782955138 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kwirwot HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Using Primary Health Care Support. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes it does. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Enhanced service delivery. Challenge: Inadequate space for some of the equipment since the district health facility is under renovation so most of the equipment are still in the store. Lack of technical personnel for some of the equipment. Recommendation: Technical training. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Kwirwot HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | B.P Machine Digital, print for month. Not seen. B.P machine android |  | Not yet | 2023-07-22 | 2024-07-20 |  |  |  |  |  | Good | works well |
| Sterilization drum | Health | 01 | one middle size in nature | 60 months | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Functional in the Store |
| Kidney dish Breast basin | Health | 16 | (16) metallic in nature |  | Not yet | 2024-07-22 |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | B.P machine android |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | In the store |
| Cheatle forceps | Health | 02 | (2) metallic in nature |  | Not yet | 2024-07-22 |  |  |  |  |  |  |  |  |
| Cheatle jar | Health | 02 | (2) metallic in nature |  | Not yet | 2024-07-22 |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated | Health | 01 | Autoclave external heated (1) |  | Not yet | 2023-07-22 | 2024-08-31 |  |  |  |  |  | Functional | Still in the box |
| Oxygen Therapy Apparatus, Minimum 4.5L cylinder | Health | 02 | (2) |  | Not yet | 2021-07-22 |  |  |  |  |  |  | New | In the store |
| MVA kit reusable | Health | 05 | (5) |  | Not yet | 2021-07-22 |  |  |  |  |  |  | Good | In good condition |
| Bowl, Kick | Health | 01 | 20 litres (stainless steel) 1 Bowl |  | Not yet | 2023-07-22 |  |  |  |  |  |  | Functional | In the store |
| Fetoscope, Doppler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Health | 01 | Bowl stand (1) (double) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | Functional | In the store |
| Autoclave Stand | Health | 02 | 12155623AH2022 SEC (2) 5 yrs (60 months) |  | Not yet | 2021-07-22 |  |  |  |  |  |  | New | in the store |
| Water tanks |  | 06 | (6) water tanks - 3 small size - 3 big size. |  | - | 2021-07-22 | 2025-07-22 |  |  |  |  |  | Good | Functioning |
| Counting chamber Neubauer-improved | Health | 02 | Counting chamber (2) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | Functional | In the box |
| Wash rooms | Health | 04 | (4) for both male and female |  | - |  |  |  |  |  |  |  |  |  |
| Pit latrines | Health | 04 | 4 stances |  | - | 2025-07-22 | 2025-07-22 |  |  |  |  |  | Good | All functioning |
| Cupboard Steel, Lockable | Health | 08 | (8) metallic lockable cupboards |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  |  |
| medical Jam machine (for theatre and labour room) | Health |  | (2) metallic in nature |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| Bed pans | Health | 0 | modern surgical corp |  | Not yet | 2021-07-22 |  |  |  |  |  |  | Good | Cleaning regularly |
| Drip Stand | Health | 05 | DRIP STAND (5) |  | Not yet | 2023-07-22 | 2024-05-18 |  |  |  |  |  | Functional | Functioning |
| Urinal litre | Health |  | (5) P |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| ESR Stand | Health | 01 | ESR stand (1) | 60 months | Not yet | 2023-07-22 | 2024-05-18 |  |  |  |  |  | New | Still in the store |
| Examination Couch | Health | 04 | Examination Couch (4) |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Functional in use |
| Examination light LED | Health | 02 | Examination light (led) (2) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | Good | Not seen |
| Glucometer | Health | 01 | Glucometer (1) Not seen |  | Not yet | 2023-07-22 |  |  |  |  |  |  | Good | In the box |
| Haemoglobin Meter, Digital | Health | 02 | Haemoglobin meter (2) |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Not seen |
| Height Meter | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | Health | 04 | Instrument trolley (4) Metallic in nature |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Functional in the store |
| Microscope Binocular | Health | 01 | microscope binocular (1) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the store |
| Otoscope | Health | 01 | (olympus) optical Otoscope (1) |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Functional in use well |
| Patient Screen | Health | 05 | Painted section (5) | 12 months | Not yet | 2023-07-22 | 18/5/2024 (4 in use) |  |  |  |  |  |  | Functional in the store |
| Patient Trolley | Health | 01 | Patient trolley (1) |  | Not yet | 2023-07-22 |  |  |  |  |  |  |  | Functional in the Store |
| Refrigerator, Basic | Health | 02 |  |  | Not yet | 2023-07-22 | 2026-07-15 |  |  |  |  |  | Functional | in use. |
| Stethoscope | Health | 08 | Stethoscope (8) pro-cardial stainless steel |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the store. |
| Stop Watch | Health | 01 | Stop watch (1) (4) |  |  | 22/7/2023 15/6/2023 |  |  |  |  |  |  | New | in the store. |
| Stretcher | Health | 04 | stretcher (1) (4) |  | Not yet | 22/7/2023 15/6/2023 |  |  |  |  |  |  |  |  |
| Stove, Gas | Health | 02 | stove gas (2) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | One seen and one not seen | One not seen |
| Weighing Scale with Height Meter, Adult | Health | 03 | Weighing Scale Adult (3) (5) |  | Not yet | 2023-07-22 | 2026-05-15 |  |  |  |  |  | New | in the store |
| Weighing Scale, Infant | Health | 02 | weighing scale (2) automated weighing scale (5) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the store |
| Weighing Scale, Toddler | Health | 01 | weighing scale toddler (1) (3) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the store |
| Wheel Chair | Health | 04 | wheel chair (1) (4) electr dynamo |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the store |
| Audio Visual Equipment | Health | - | Audio visual equipment (0) (14) |  | - |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health | 10 | Medical waste bin (10) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New |  |
| Medical Waste Bin | Health | 08 | 8 pcs |  | Not yet | 2023-06-15 |  |  |  |  |  |  | New | in the store |
| Wall Clock | Health | 20 | wall clock (20) floor (1) |  | Not yet | 2023-07-22 |  |  |  |  |  |  | New | in the box |
| Wall Clock | Health | 20 | 20 |  | Not yet | 2023-06-15 |  |  |  |  |  |  | New | in the store |
| Diagnostic Equipment Set for MCH | Health | 02 | Diagnostic Equipment Set for MCH (2) |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Diagnostic Equipment Set for OPD | Health | 02 | Diagnostic Equipment set for OPD (2) |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Glassware Set, Laboratory, Basic | Health | 02 | Glassware set basic (2) |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Hollow Ware Set, Treatment | Health | 02 | Hollow ware set treatment (2) |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Instrument Set, Dressing | Health | 02 | (2) instrument set for dressing |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Instrument Set, Basic ENT | Health | 03 | 1 set metallic in nature |  | Not yet | 2024-07-22 |  |  |  |  |  |  | New | In the store |
| Instrument Set, Suture | Health |  | (5) |  | Not yet | 2024-07-22 |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health | 03 |  |  |  | 2024-07-22 |  |  |  |  |  |  |  | All these in the store. |
| Bed, Pediatric Patient, With Mattress | Health | 04 | (4) metallic in nature |  | Not yet | 2024-07-22 |  |  |  |  |  |  |  | Working functioning well |
| Bedside Locker | Health | 10 | (10) patient cupboards |  | Not yet | 2021-07-22 | 2026-05-18 |  |  |  |  |  | Good | Seen |
| Cupboard, Instrument | Health | 01 | (1) |  | Not yet | 2021-07-22 | Not in use |  |  |  |  |  | Good | Functioning |
| Delivery Bed, Hydraulic Manual | Health | 01 | (1) |  | Not yet | 2021-07-22 | 2026-05-18 |  |  |  |  |  | Works new | in the store |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | Health | 02 | manual resuscitator and reusable silicone |  | Not yet | 2021-07-22 |  |  |  |  |  |  | New | In the store |
| Suction Apparatus, (Electric) | Health | 05 | Less by 4 |  | Not yet | 2023-06-15 |  |  |  |  |  |  | New | Store |
| Nebulizer, Ultrasonic | Health | 01 | HD2AH |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  | in the store |
| Oxygen Concentrator, Duo Flow | Health |  | (1) ultrasonic Nebulizer |  | Not yet | 2021-07-22 | 2026-05-18 |  |  |  |  |  | New | Functional |
| Oxygen Concentrator | Health | 01 | (1) Yuwell 7F-10W Oxygen Concentrator |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| Bench | Health | 04 | (4) wooden and heavy |  | Not yet | 2021-07-22 | 2026-05-18 |  |  |  |  |  | Good | Functioning well |
| Disinfection Buckets | Health | 05 | (5) plastic blue in nature |  | Not yet | 2021-07-22 |  |  |  |  |  |  | Still new | Available |
| Baby Cot | Health | 02 | (2) metallic in nature |  | Not yet | 2021-07-22 | 1 in use 15/5/2024 |  |  |  |  |  | Good | Available |
| Diagnostic Equipment Set for Ward | Health | 02 | (2) | 60 months | Not yet | 2021-07-22 |  |  |  |  |  |  | New | All still in the store |
| Hollow Ware Set, Ward | Health | 02 | modern surgical corp (metallic) | 60 months | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Health | 02 | (2) modern surgical corp (metallic) |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | Health | 03 | (3) modern surgical corp stitch removing instrument set (metallic) | 60 months | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | Health | 01 | (1) manual (Hydraulic) |  | Not yet |  | 2024-05-15 |  |  |  |  |  | Good | Used well |
| Penguin Sucker | Health | 03 | (3) Nasal Aspirator (stereo) |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  | 1 in the store |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 02 | (2) Unavailable beneath (HIMEC) |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health | 01 | (1) wooden made chairs |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  | Not in use |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health | 03 | (3) Haemoglobin Meter sahli (HEMC) |  | Not yet | 2021-07-22 |  |  |  |  |  |  | Good | New |
| Delivery Bed | Health | 03 | (3) only 1 received |  | Not yet | 2021-07-22 |  |  |  |  |  |  | New | Only one received |
| Examination light | Health | 03 | (3) |  | Not yet | 2021-07-22 |  |  |  |  |  |  | New | Available |
| Instrument set, ENT Basic for HCIII | Health | 01 | (4) metallic in nature |  | Not yet | 2021-07-22 |  |  |  |  |  |  | Functioning | New functioning |
| Bag Valve mask (Ambu Bag) Neonatal | Health | 02 | (3) metallic in nature |  | Not yet | 2021-07-22 | 18/7/2026 / not seen |  |  |  |  |  | Working / not seen |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 06 | (5) black one up or down |  | Not yet | 2021-07-22 | 2026-05-18 |  |  |  |  |  | Good | All in use |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | Health |  | (10) metallic in nature | 02 | Not yet | 2021-07-22 |  |  |  |  |  |  | Good | Available. |
| Non Residential Buildings |  | 01 | (1) Maternity ward building |  | - |  |  |  |  |  |  |  | Fair | Maintenance is paramount especially inside |
| Residential Buildings | Health |  | (5) modern surgical staff |  | Not yet | 2021-07-22 |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- All assets are functional but not engraved (team note on sheet 09).

- Sheet 10 WhatsApp caption reads "KAPKOROS HC3 verification booklet" but the page is filed under Kwirwot HC III.

- B.P. Machine, Digital: asset number blank; description lists multiple items including "Not seen".

- Patient Screen description: "Painted section" may be "Patient section".

- Sterilization drum: handwritten row not on the standard printed checklist.

- Duplicate rows on sheet 04: Medical Waste Bin (10 and 08) and Wall Clock (20 twice with different purchase dates).

- Sheet 05 purchase dates read 22/7/2024 while most other sheets use 22/7/2023 or 22/7/2021.

- Instrument Set, Suture: only description "(5)" written.

- Pulse Oximeter, Hand held: entire row blank.

- Kidney dish Breast basin, Cheatle forceps and Cheatle jar: handwritten additions on sheet 05.

- Oxygen Concentrator, Duo Flow: asset number blank; description reads "(1) ultrasonic Nebulizer" which may belong to the Nebulizer row.

- Suction Apparatus: description "Less by 4" with asset number 05.

- MVA Kit printed row blank; separate handwritten "MVA kit reusable" row marked with an x.

- Bubble CPAP: "Fetoscope" handwritten above the printed row label.

- Delivery Bed appears twice (Hydraulic Manual on sheet 06 and Delivery Bed on sheet 08); Examination light LED and Examination light also both appear.

- Instrument Set, Basic ENT (sheet 05) and Instrument set, ENT Basic for HCIII (sheet 09) may be duplicate entries.

- Bag Valve mask (Ambu Bag) Neonatal: date placed in service "18/7/2026 / not seen".

- Office Chair asset number 06 circled; description says "(5)".

- Residential Buildings description: "modern surgical staff" may be "modern surgical staff houses".

- medical Jam machine: word may be "Scan" or "Sam" rather than "Jam".

- Filing Cabinet: description "(10)" but life-in-months column reads "02".

- Purchase and service dates vary (2021, 2023, 2024, 2025, 2026) and some future years may reflect crossed-out entries.