# Mutushet HC III - facility report

# 1. Identification

| Facility | Mutushet HC III |
| --- | --- |
| Type | Health centre |
| Local government | Bukwo District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-25 |
| Team members present | Alydo Mary Topista, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Reported for some items: Delivery bed (2) ,1 pn ground not in good condition, the other in Tulel health center Not engraved |
| Usage / performance | Not reported. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

Nothing on file says what was supplied to this facility, so found stands on its own and there is nothing to set it against. 57 of the items recorded here carry a count; the counts sit with the facility's own record.

# 5. Engraving and identification

Engraved (1): Resuscitator manual infant with all mask sizes.

Not engraved (55). The items are named in the facility's own record.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

These were noted on site, and no others:

Delivery bed (2),1 pn ground not in good condition, the other in Tulel health center.

Nothing was recommended for disposal in terms.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

Nine hand-filled checklist sheets are on file and none of them names its facility.

The nine sheets came from Shadrack at Tulel, while their quantities match Alydo's Mutushet records.

From the late afternoon of 25 August the team worked Mutushet and Tulel at the same time.

The nine sheets are filed under Mutushet on those matching quantities alone; confirm that is right.

A delivery bed recorded for Mutushet HC III was photographed standing in Tulel health centre.

The visitors' register filed under Mutushet may belong to Chepkwasta or Brim.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.