ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Bukwo District |
|  | Bukwo District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Alyabo Mary Topista, Biyinzika Shadrack |
| Contact/ email and Telephone | 0708280450, 0702185702, 0782955138 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Tulel HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Since the assets have not yet been used, Tulel HC III has not yet put in measures on how to maintain or repair the assets provided. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, it does and the facility checks the assets on a weekly basis, but it has not yet started recording due to lack of a log book for tracking status of the assets. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has helped mothers in proper delivery and provide proper accommodation for the staff members. Challenge: improve security due to lack of fences around and poor water supply. Proper fencing should be carried out in order to ensure security, and better water pumps should be placed in Tulel HC III. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bukwo District        NAME OF HEALTH FACILITY: Tulel HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 01 | Automatic w/ arm cuff & digital display |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new, working & good condition | Not engraved |
| Fetoscope, Doppler | Health | 02 | Battery operated with LCD display |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| B.P. Machine (Aneroid wall mounted) | Health | 01 | Manual aneroid B.P machine with mercury free steel |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & functional | Not engraved |
| Autoclave 20 Liters, Duo Operated | Health | 01 | Stainless steel drum with pressure gauge |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new, functional | Not engraved |
| Bowl, Kick | Health | 01 | Medical drum for waste disposal |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & functional | Not labelled |
| Bowl Stand | Health | 03 |  |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & currently functional | Not engraved |
| Counting chamber Neubauer-Improved | Health | 02 | Improved haemocytometer counting chamber glass slide |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Cupboard Steel, Lockable | Health | 06 | Double door steel with adjustable shelves |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Drip Stand | Health | 08 | Intravenous infusion drip stand, metallic chrome plated with 4 hooks |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| ESR Stand | Health | 01 | Metallic rack for holding ESR tubes vertical |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in Lab |
| Examination Couch | Health | 02 | Steel frame with foam mattress, PVC |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in OPD |
| Examination light, LED | Health | 03 | Gooseneck type, adjustable |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - used in maternity & OPD |
| Glucometer | Health | 01 | Handheld digital with test strips & lancets |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in Lab |
| Haemoglobin Meter, Digital |  | 0 |  |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  |  |
| Height Meter |  | 0 |  |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  | Not seen. |
| Instrument Trolley | Health | 02 | Stainless steel dish/trolley with guard rails |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in maternity |
| Microscope Binocular | Health | 01 | Binocular compound microscope with 4x, 10x, 40x objectives |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - unit seen in Lab |
| Otoscope | Health | 01 | Diagnostic set with specula & light source |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  | Not seen. |
| Patient Screen | Health | 03 | Privacy screen, steel metallic frame with cloth curtain on wheels |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 3 items seen, 2 in maternity, 1 in OPD |
| Patient Trolley | Health | 01 | Patient stretcher/trolley, metallic frame with foam mattress, PVC covered |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - functional, movable |
| Refrigerator, Basic | Health | 02 | Refrigerator, basic type, 350L |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | 2 items seen in lab - not engraved |
| Stethoscope | Health | 04 | Clinical binaural, dual chest piece, adult size, for auscultation |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 4 items seen in OPD & maternity |
| Stop Watch | Health | 01 | Mechanical analog type for pulse & resuscitation timing |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  | Not seen. |
| Stretcher | Health | 02 | Patient stretcher, folding canvas type |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 2 seen |
| Stove, Gas |  | 01 | Gas stove, single burner, with gas cylinder |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not seen - not engraved |
| Weighing Scale with Height Meter, Adult |  | 0 |  |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale, Infant | Health | 01 | Infant weighing scale, portable, 25kg capacity |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 1 seen in MCH |
| Weighing Scale, Toddler | Health | 01 | Toddler weighing scale, hanging type, 25kg capacity |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 2 seen in OPD |
| Wheel Chair | Health | 02 | Wheel chair, adult, folding type with arm rests & footrests |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 1 seen in OPD waiting area |
| Audio Visual Equipment | Health | 01 | TV set, 32 inch flat screen, wall mounted |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen |
| Medical Waste Bin | Health | 10 | Medical waste bin, plastic, pedal operated, 50L capacity, with lid |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  |  |
| Wall Clock |  | 0 |  |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Health | 05 | MCH diagnostic set containing stethoscope, fetoscope |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Diagnostic Equipment Set for OPD | Health | 02 | OPD diagnostic set containing torch, patella hammer |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Glassware Set, Laboratory, Basic | Health | 02 | Laboratory glassware set |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in Lab |
| Hollow Ware Set, Treatment | Health | 02 | Stainless steel set containing kidney dishes |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in treatment room |
| Instrument Set, Dressing | Health | 05 | Stainless steel set containing gallipots, scissors |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Basic ENT | Health | 01 | Basic ENT set containing tuning fork |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in OPD |
| Instrument Set, Suture | Health | 03 | Suture set, stainless steel, containing needle holder |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 3 seen in maternity |
| Pulse Oximeter, Hand held | Health | 02 | Digital with fiber optic, LED display |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 2 seen |
| Bed, Adult Patient with Mattress |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Health | 04 | Small size, box frame bed with foam mattress |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 4 items seen in MCH ward |
| Bedside Locker | Health | 10 | Metallic locker with single drawer & cupboard underneath |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 10 items seen in ward 8 |
| Cupboard, Instrument | Health | 01 | Double door, lockable, with glass shutters |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Delivery Bed, Hydraulic Manual | Health | 01 | Fully adjustable frame with leg supports |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 02 | Oxygen therapy set with mask |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 01 | Bag valve mask, infant type, Ambu bag |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 1 seen in observation ward |
| Resuscitator Manual, Adult, with all mask sizes | Health | 01 | Bag valve mask, adult type, Ambu bag |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not labelled |
| Suction Apparatus, (Electric) | Health | 05 | Electric suction machine, portable, with 2 jars |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - seen in in-patient ward |
| Nebulizer, Ultrasonic | Health | 01 | Ultrasonic nebulizer machine for medication |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Oxygen Concentrator, Duo Flow | Health | 01 | Oxygen concentrator, duo flow, with humidifier bottle |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Bench | Health | 04 | Patient waiting bench, 3-seater, steel frame, perforated steel seat & back rest |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 4 items seen in OPD waiting |
| Disinfection Buckets | Health | 06 | Disinfection bucket, plastic, high temp resistant, 20L with lid |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 6 items seen in maternity & lab |
| Baby Cot | Health | 02 | Baby cot, metallic bassinet with transparent side railings |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 2 items seen |
| Diagnostic Equipment Set for Ward | Health | 02 | Ward diagnostic set with B.P. machine, torch, hammer in portable case |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Hollow Ware Set, Ward | Health | 02 | Stainless steel bowls, trays, kidney dishes |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 2 sets seen in ward |
| Instrument Set, Delivery | Health | 04 | Stainless steel set for delivery, cord clamps |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved - 4 sets seen in labour ward, sterile |
| Instrument Set, Stitch Removing | Health | 05 | Stitch removing set with fine scissors |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| MVA Kit | Health | 05 | Manual vacuum aspirator, complete with double valve syringe & adapters |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Stool, Laboratory | Health | 03 | Metallic high stool with round revolving seat |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Penguin Sucker | Health | 03 | Rubber suction device, chest cup, rubber bulb (18ml) |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 01 | Bench top, 6/8 tubes, 5ml capacity |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Kangaroo Mother Care Chair | Health | 01 | KMC chair, low height for mothers |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Radiant Infant Warmer |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health | 02 | Device with comparator box, pipette & stirrer |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Delivery Bed | Health | 01 | Delivery bed operated on hydraulic, with leg holders |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Examination Light | Maternity | 01 | LED gooseneck equipment, adjustable, on mobile stand for maternity examination |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, ENT Basic for HC III | Health | 01 | Set containing otoscope, nasal speculum, tongue depressor, tuning fork 512Hz standard |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | Not engraved |
| Bag Valve Mask (Ambu Bag), Neonatal | Health | 14 | Ambu bag, neonatal, 240ml, silicone, with 3 mask sizes |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & functional | Not engraved |
| Incubator |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 04 | Office chair, swivel type with 5 castor wheels, armrests & adjustable height, fabric covered |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & functional | Not engraved |
| Desk |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | Health | 04 | Filing cabinet, front lock |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Brand new & functional | Not engraved |
| Non Residential Buildings | Health | 2 | Buildings: maternity ward, toilets |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional | No water |
| Residential Buildings | Health | 1 block, 2 units | Chief Quarters |  |  | Officer in charge doesn't know | June 2026 |  |  |  |  |  | Functional & in use | No water |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bukwo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Discussion guide Q3: the word before "of the assets" is unclear on the photographed page; read here as "tracking status of the assets".

- Sheet 02: no Life in Months or Tag Number values are written for any row; the asset register only records item, department, asset number, description, date placed in service and equipment status/remarks.

- Sheet 08, Penguin Sucker description: the photographed cell is blurred beyond the source image's resolution; read here as "Rubber suction device, chest cup, rubber bulb (18ml)" but individual words are uncertain.

- Sheet 08: Bubble CPAP and Radiant Infant Warmer rows are printed on the page but left entirely blank by the team (Radiant Infant Warmer has "0" written under Asset Number; Bubble CPAP has nothing written at all), suggesting the facility does not have these items.

- Sheet 09, Bag Valve Mask (Ambu Bag) description, last line: unclear on the photographed page; read here as "with 3 mask sizes".

- Sheet 09: Incubator and Desk rows are printed on the page but left blank apart from "0" under Asset Number, suggesting the facility does not have these items.

- Sheet 10: Non Residential Buildings and Residential Buildings rows record building counts ("2", "1 block, 2 units") rather than individual asset numbers, and their descriptions (maternity ward, toilets, chief's quarters) are read off the same handwritten line as written on the page.