ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kapchorwa Municipality |
|  | Kapchorwa Municipality |
| VERIFIER PARTICULARS |  |
| Full name | Alyabo Mary Topista, Nakiwala Doreen, Biyinzika Shadrack |
| Contact/ email and Telephone | 0702185702, 0708280450, 0782955138 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kaplelko HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility use the money diverted from PHC to repair the assets provided under UgIFT. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | The facility does this activity during the mid financial year and finally year. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | It has improved in ANC and deliveries. Employment of people of kapchorwa. Issues: Poor/lack of transportation means to the Health facility. Recommendation: Need for renovation of the Health Centre III facility buildings. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kapchorwa Municipality        NAME OF HEALTH FACILITY: Kaplelko HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | Digital machine |  | Not engraved |  | 2012-06-16 |  |  |  |  |  | Good | Functioning |
| Otoscope | Health | 01 | Battery operated with spatulae |  |  |  |  |  |  |  |  |  | Good | Functioning |
| Resuscitator Manual | Health | 02 |  |  |  |  |  |  |  |  |  |  | Good | In use |
| B.P. Machine (Aneroid wall mounted) | Health | 02 | Manual in nature with meter |  | Not yet |  |  |  |  |  |  |  | Good | Available |
| Fetoscope, Doppler | Health | 02 | Medical equipment for fetal heart examination |  | Not tagged |  |  |  |  |  |  |  | Good | Functioning |
| Autoclave 20 Liters, Duo Operated | Health | 01 | metallic steel pan |  | Not yet |  |  |  |  |  |  |  | Good | Not engraved |
| Bowl, Kick | Health | 01 | stainless steel |  | Not yet |  |  |  |  |  |  |  | Good | Functioning |
| Bowl Stand | Health | 02 | stainless steel |  | Not yet | Not known but in use |  |  |  |  |  |  | Good | Maintained |
| Counting chamber Neubauer-improved | Health | 0 | - |  | Not yet |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health | 02 | Metal steel Big size White colour |  | Not yet |  |  |  |  |  |  |  | Good | Functioning |
| Drip Stand | Health | 08 | Metallic stand in nature |  | Not yet |  | All |  |  |  |  |  | Good | In place |
| ESR Stand | Health | 01 | Used to test for ESR |  | Not yet |  | Not known |  |  |  |  |  | Good | In use |
| Examination Couch | Health | 02 | Leather coated with metal steel |  | Not yet |  |  |  |  |  |  |  | Good | Functioning |
| Examination light LED | Health | 02 | Head light |  | Not yet |  |  |  |  |  |  |  | Functional | Available |
| Glucometer | Health | 02 | small hand held device |  | Not yet |  |  |  |  |  |  |  | Good | In use |
| Haemoglobin Meter, Digital | Health | 02 | electric device |  | Not yet |  |  |  |  |  |  |  | Good | Functioning |
| Height Meter | Health | 04 | For Measuring while standing |  | Not yet |  |  |  |  |  |  |  | Good | in use |
| Instrument Trolley | Health | 02 | Stainless steel wheels |  | Not yet |  |  |  |  |  |  |  | Good | in use |
| Microscope Binocular | Health | 01 | Has 2 eye pieces for better eyes |  | Not yet |  |  |  |  |  |  |  | Good | Good |
| Otoscope | Health | 01 |  |  | Not yet |  |  |  |  |  |  |  | Good | In use |
| Patient Screen | Health | 04 | Curtain made from cloth + fix on a stand |  | Not yet |  |  |  |  |  |  |  | Functional | Available |
| Patient Trolley | Health | 01 | metallic stand movable bed |  | Not yet |  |  |  |  |  |  |  | Good | working well |
| Refrigerator, Basic | Health | 01 | mild steel coated white |  | Not yet |  |  |  |  |  |  |  | Functional | In use |
| Stethoscope | Health | 01 |  |  | Not yet |  |  |  |  |  |  |  | Good | Available |
| Stop Watch | Health | 02 | Metal squared |  | Not yet |  |  |  |  |  |  |  | Good | Available |
| Stretcher | Health | 01 | wheeled metallic/sprayed |  | Not yet |  |  |  |  |  |  |  | Functional | Maintained |
| Stove, Gas | Health | 01 | steel made |  | Not yet |  |  |  |  |  |  |  | Good | In use |
| Weighing Scale with Height Meter, Adult | Health | 02 | measures both weight and height |  | Not yet |  |  |  |  |  |  |  | Good | Good |
| Weighing Scale, Infant | Health | 02 | An infant basin with a tray |  | Not yet |  |  |  |  |  |  |  | Functional | In use |
| Weighing Scale, Toddler | Health | 02 | For measuring newly born babies |  | Not yet |  |  |  |  |  |  |  | Good | Functioning |
| Wheel Chair |  | 0 |  |  |  |  |  |  |  |  |  |  | - | - |
| Audio Visual Equipment |  | 0 |  |  |  |  |  |  |  |  |  |  | - | - |
| Medical Waste Bin | Health | 06 | plastic made |  |  |  |  |  |  |  |  |  | Good | In use |
| Wall Clock | Health | 04 | Round in nature |  | Not yet |  |  |  |  |  |  |  | In good shape | Functioning |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Health | 02 | Portable set comprising of otoscope, |  | Not yet |  |  |  |  |  |  |  | Good | In place |
| Glassware Set, Laboratory, Basic | Health | 02 | Set consisting of test tubes cylinders |  | Not yet |  |  |  |  |  |  |  | Functional | Good |
| Hollow ware |  | 01 | - | - | - |  |  |  |  |  |  |  | - | - |
| Instrument Set, Dressing |  | 02 | Contains 16 Items |  | Not yet |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Health | 03 | Set with nasal speculum, laryngeal, mirrors |  | Not yet | Not known |  |  |  |  |  |  | Good | In place |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health | 02 | Hand held equipment with pediatric probes |  | Not yet | Not known |  |  |  |  |  |  | Good | Functioning |
| Bed, Adult Patient with Mattress | Health | 10 | Adult beds with high density form for patients |  |  |  |  |  |  |  |  |  | Good | Operating |
| Bed, Pediatric Patient, With Mattress | Health | 05 | Metallic made with mattress |  |  |  |  |  |  |  |  |  | Good | In-use |
| Bedside Locker |  | 01 | - | - | - |  |  |  |  |  |  |  | - | - |
| Cupboard, Instrument | Health | 01 |  |  |  |  |  |  |  |  |  |  | Good | In use |
| Delivery Bed, Hydraulic Manual | Health | 01 | Adjustable beds for use accordingly |  |  |  |  |  |  |  |  |  | Good | Available |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 02 | Metallic in nature and long |  |  |  |  |  |  |  |  |  | Good | Functioning |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | Health | 02 | Has a face mask and self inflating bag |  | Not yet |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  | 02 | Portable |  | Not yet |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  | 01 |  |  | Not yet |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  | 04 | It has humidity bottles that make oxygen through a tube and a Nasal Cannula |  | Not yet |  |  |  |  |  |  |  |  |  |
| Bench |  | 04 | Metallic in nature |  | Not yet |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health | 06 | plastic made |  |  |  |  |  |  |  |  |  | Good | maintained |
| Disinfection Buckets |  | 06 | Plastic in nature |  | Not yet |  |  |  |  |  |  |  |  |  |
| Baby Cot |  | 05 | Metallic in nature with a mattress |  | Not yet |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | Health | 03 | Fully equipped |  | Not tagged |  |  |  |  |  |  |  | Good | In use |
| Hollow Ware Set, Ward | Health | 03 | Fully equipped |  |  |  |  |  |  |  |  |  | Functional | Available |
| Instrument Set, Delivery | Health | 03 | Fully equipped |  |  |  |  |  |  |  |  |  | Functional | In use |
| Instrument Set, Stitch Removing | Health | 03 | Fully equipped |  |  |  |  |  |  |  |  |  | Good | Available |
| MVA Kit | Health | 04 | Fully equipped |  |  |  |  |  |  |  |  |  | Good | Maintained |
| Stool, Laboratory | Health | 01 | Metalic |  |  |  |  |  |  |  |  |  | Working | Available |
| Penguin Sucker | Health | 03 | Bulb suction aspiration for neonates |  | Not tagged |  |  |  |  |  |  |  | Functional | Not engraved |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  | 02 |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 02 | Digital |  | Not yet engraved |  |  |  |  |  |  |  | Good | Functioning |
| Kangaroo Mother Care Chair | Health | 01 | In nature medical support for mother |  | Not yet |  |  |  |  |  |  |  | Good | Maintained |
| Radiant Infant Warmer |  | 0 |  |  | - |  | - |  |  |  |  |  | - | - |
| Haemoglobin Meter, Sahli |  | 0 |  |  | - |  | - |  |  |  |  |  | - | - |
| Delivery Bed | Health | 01 | Metallic bed adjustable backrest |  | Not yet |  |  |  |  |  |  |  | Good | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  | 03 |  |  | Not yet | Not known |  |  |  |  |  |  | Good | In place |
| Bag Valve mask (Ambu Bag) Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 07 | Sitting equipment for staff |  | Not yet |  |  |  |  |  |  |  | Functional | In place |
| Desk |  | 03 |  |  | Not engraved | Not known |  |  |  |  |  |  | Good | In place |
| Filing Cabinet | Health | 02 | Equipment for storing files for patients |  | not engraved |  | Not known |  |  |  |  |  | Good | functioning |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  | 0 |  | - | - | - |  |  |  |  |  |  |  | No record for residential buildings |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kapchorwa Municipality        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kapchorwa Municipality        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kapchorwa Municipality        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Guide question 3: "finally year" may mean "financial year" — wording unclear on the page.

- Checklist sheets 03–09: spanning notes "Not known for all" and "All in use but date in service not known" cover date columns for most rows — individual date cells left blank except where a specific value is written.

- B.P. Machine (Aneroid wall mounted): handwritten description only; tag written as "Not yet".

- Counting chamber Neubauer-improved: asset number "0"; description dash; status and remarks blank.

- Stethoscope: description cell crossed out and illegible.

- Wheel Chair and Audio Visual Equipment: asset number "0"; status and remarks written as "-".

- Hollow ware row (sheet 05): handwritten note "Instrument tray ENT"; department and most cells are dashes — printed item name may differ.

- Bedside Locker (sheet 05): only asset number "01" and dashes in other cells.

- Duplicate line items on separate sheets: Otoscope (sheets 03 and 05); Disinfection Buckets (sheets 05 and 06); Delivery Bed (Hydraulic Manual and Delivery Bed); Resuscitator Manual (sheet 05) and Resuscitator Manual, Infant/Adult (sheet 06).

- Resuscitator Manual, Infant, with all Mask sizes: only the item name visible on the photographed page; all other cells blank.

- Sheet 06 rows (Suction Apparatus through Instrument Set, Dressing): equipment status and remarks columns blank.

- Bubble CPAP: only asset number "02" written.

- Radiant Infant Warmer and Haemoglobin Meter, Sahli: asset number "0" with dashes in tag, date and status columns.

- Examination light (sheet 08): item name only; all other cells blank.

- Diagnostic Equipment Set for OPD: description ends at "otoscope," — remainder not written.

- Bag Valve mask (Ambu Bag) Neonatal and Incubator: item names only.

- Duplicate ENT instrument sets: Instrument set, ENT Basic for HCIII and Instrument Set, Basic ENT.

- Desk and Instrument set, ENT Basic for HCIII both carry asset number "03".

- Non Residential Buildings: item name only; all other cells blank.

- Residential Buildings: asset number "0"; life, tag and date columns written as "-"; remark "No record for residential buildings".

- Tag column varies: "Not engraved", "Not yet", "Not yet engraved", "Not tagged", "not engraved".