ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kapchorwa District |
|  | Kapchorwa District |
| VERIFIER PARTICULARS |  |
| Full name | Biyinzika Shadrack, Nakiwala Doreen, Alyabo Mary Topista |
| Contact/ email and Telephone | 0782955138, 0708280450, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Chemosong HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | Not sure. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Through PHC income HC III and funds to repair the assets. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | People get services at the right time. Issues: Lack of training on how to use the equipment. Recommendations: Training of the staff. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kapchorwa District        NAME OF HEALTH FACILITY: Chemosong HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | Medium equipment for blood pressure |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| B.P. Machine (Aneroid wall mounted) | Health | 01 | Equipment with mercury-free dial |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Autoclave 20 Liters, Dual Operated | Health | 02 | Stainless steel drum with pressure gauge |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bowl, Kick | Health | 01 | Medical device for waste liquid |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bowl Stand | Health | 02 | Double stainless steel for lotion bowls |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health | 06 | Improved counting chamber glass slide |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Drip Stand | Health | 01 | Metallic made to hold for IV fluids |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| ESR Stand | Health |  | Shoxer medical equipment with humidifier bottle |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Examination Couch | Health | 02 | Steel frame with foam mattress |  |  |  |  | in use |  |  |  |  | Functional | Not engraved |
| Examination light LED | Health | still in the box |  |  |  |  |  |  |  |  |  |  | Breakdown | All in the box |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | Health | 02 | Small hand held electronic device |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Height Meter | Health | 01 | Device for measuring height |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Trolley | Health | 02 | Stainless steel 2 shelves |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Microscope Binocular | Health | 01 | Equipment for lab services |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health | 03 | 3 Fold metallic frame with cotton on wheels |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health | 02 | Refrigerator basic domestic type |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stethoscope | Health | 03 | Medical device used for auscultation |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health | 01 | 4 Sided moving wheel |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stove, Gas | Health | 01 | 6kg gas cylinder |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale with Height Meter, Adult | Health | 03 | weighing equipment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale, Infant | Health | 02 | Weighing equipment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale, Toddler | Health | 01 | weighing equipment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Wheel Chair | Health | 01 | health M.O equipment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health | 02 | medical equipment containing scissors |  |  |  |  |  |  |  |  |  | Functional and in use | Not engraved |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health | 08 | medical beds for adult patients |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bed, Pediatric Patient, With Mattress | Health | 05 | Small size steel frame bed with foam mattress |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bedside Locker | Health | 06 | metallic item with single drawer and cupboard compartment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Cupboard, Instrument | Health | 01 | Double door lockable |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 4l Cylinder | Health | 01 | Oxygen Therapy set with 4.5 L |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health | 01 | Electric machine portable with 2 jars |  | Functional & Not engraved |  |  |  |  |  |  |  | Functional | Not engraved |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Health | 02 | in the box |  | Not engraved |  |  |  |  |  |  |  | Functional | Not engraved |
| Bench | Health | 04 | Equipments for sitting on |  | Not engraved |  |  |  |  |  |  |  | Functional | Not engraved |
| Disinfection Buckets | Health | 04 | Plastic coloured medical equipment |  | Not engraved |  |  |  |  |  |  |  | Functional | Not engraved |
| Baby Cot | Health | 02 | Stainless steel stand with mattress and wheels |  | Not engraved |  |  |  |  |  |  |  | Functional | Not engraved |
| Diagnostic Equipment Set for Ward | Health | 02 | Plastic scattered medical Equipment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Hollow Ware Set, Ward | Health | 02 | Stainless steel with bowls, trays |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Delivery | Health | 02 | Stainless steel with artery cord scissors |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Stitch Removing | Health | 02 | Stitch removing set with fine scissors |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| MVA Kit | Health | 05 | Equipment with double valve syringes |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stool, Laboratory | Health | 01 | Equipment with round revolving seat |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Penguin Sucker | Health | 03 | Bulb suction device rubber 60ml |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | 02 | Bench-top 6 tubes 15ml capacity |  |  |  |  |  |  |  |  |  | Good condition | Not engraved |
| Kangaroo Mother Care Chair | Health | 01 | Low height chair for mothers |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health | 01 | Standard non-hydraulic equipment with leg holders |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Examination light | Maternity | 02 | LED goose neck equipment adjustable on mobile stand |  |  |  |  |  |  |  |  |  | Functional & in use | Not engraved |
| Instrument Set, Basic ENT for HCIII | Health | 05 | Medical set containing otoscope, nasal speculum |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 02 | Swivel type with scaster wheels |  |  |  |  |  |  |  |  |  | Functional & in use | Not engraved |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | 3 blocks. Structures comprising OPD block, maternity ward & lab |  |  |  |  |  |  |  |  |  | Functional | Good condition all 3 blocks in use for patients. |
| Residential Buildings | Health |  | 2 blocks. 2 blocks with 4 units twin staff houses |  |  |  |  |  |  |  |  |  | Good & in use | Good condition occupied by health workers. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kapchorwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: date of submission is blank on the photographed page.

- Verifier contact email cells are blank; three phone numbers written (0702185702, 0701088450, 07821455138).

- Cupboard Steel, Lockable: description "Improved counting chamber glass slide" appears misaligned from the Counting chamber Neubauer-improved row above (that row is otherwise blank).

- ESR Stand row: description "Shoxer medical equipment with humidifier bottle" does not match the usual ESR Stand item; first word may be Shaker or similar.

- Examination light LED: asset number cell reads "still in the box"; status "Breakdown" with remark "All in the box" — crossed-out text preceding "All" is illegible.

- Examination Couch: "in use" written in the recovery-cost column.

- Oxygen Therapy Apparatus: printed label "Minimum 4l Cylinder" but description reads "Oxygen Therapy set with 4.5 L".

- Suction Apparatus: tag column reads "Functional & Not engraved".

- Sheets between checklist pages 04 and 05 (Wall Clock, diagnostic sets for MCH/OPD, glassware, hollow ware treatment, instrument sets, pulse oximeter) have no handwritten entries in the photographed pages.

- Sheet 06 margin note "Room No 1" beside resuscitator rows; those rows otherwise blank.

- Examination light (sheet 09): department written as Maternity.

- Filing Cabinet row on sheet 11: item name only; all other cells blank.