# Chemosong HC III - facility report

# 1. Identification

| Facility | Chemosong HC III |
| --- | --- |
| Type | Health centre |
| Local government | Kapchorwa District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-29, 2026-08-30 |
| Team members present | Alydo Mary Topista, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Reported for some items: Hospital beds - 2 broken |
| Usage / performance | Recorded against 1 item, and it is not in service: it is boxed, held in the store, or waiting on a handover. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

Nothing on file says what was supplied to this facility, so found stands on its own and there is nothing to set it against. 14 of the items recorded here carry a count; the counts sit with the facility's own record.

# 5. Engraving and identification

The team recorded: Most of the things in Kapelko are engraved.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

These were noted on site, and no others:

Hospital beds - 2 broken.

Nothing was recommended for disposal in terms.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

Hand-filled booklets for Kapchorwa facilities are on file and still being written up.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.