ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kween District |
|  | Kween District |
| VERIFIER PARTICULARS |  |
| Full name | Alyabo Mary Topista, Nakiwala Doreen, Biyinzika Shadrack |
| Contact/ email and Telephone | 0702185702, 0701280450, 0782955138 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Atar HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They return the broken/ spoilt assets to the district at the office of the District Health Officer. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do monthly using the inventory book. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Added easy delivery like for maternity ward. Due to the availability of the equipment, most of services are now practice. CHALLENGES Transport to access the facility by patients. Understaffing Example midwives. RECOMMENDATION Ministry of Health through its protocol should help. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kween District        NAME OF HEALTH FACILITY: Atar HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health | 02 | Rubber cuff with cloth cover |  | Not engraved | To them not known | 2016-01-01 |  |  |  |  |  | Good | In use |
| Fetoscope, Doppler | Health 02 |  |  |  | not yet |  | 2023 |  |  |  |  |  | Good | In use |
|  |  |  |  |  |  | not |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Health | 02 | Large round dial 15cm diameter 300 mmHg |  | Not yet |  |  |  |  |  |  |  | New | Intact |
| Autoclave 20 Liters, Duo Operated | Health | 02 | Stainless steel drum double wall |  | Not yet |  |  |  |  |  |  |  | Good | Well maintained |
| Bowl, Kick | Health | 01 | 20L-30cm stainless steel bowl 13 inch - 14 inch |  | Not yet |  |  |  |  |  |  |  | Good | Functioning well |
| Bowl Stand | Health | 03 | Stainless steel tube frame 4 legs |  | Not yet |  |  |  |  |  |  |  | Good | well kept |
| Counting chamber Neubauer-improved | Health |  | thick - optical glass 30mm x 70 mm, |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health | 06 | Mild steel 0.9 mm- powder coated- colour light gray |  | Not yet |  |  |  |  |  |  |  | Good | one has no lock |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Health 01 | - | Used to hold the ESR tubes with a heavy base | - | Not yet | All not known | Not known for all |  |  |  |  |  | Good | Date of purchase and in service not known |
| Examination Couch | Health 04 | - | Black leather couch with metallic stands | - | Not yet | All not known | Not known for all |  |  |  |  |  | Good |  |
| Examination light, LED | - | - | - | - | - | All not known | Not known for all |  |  |  |  |  | - | - |
| Glucometer | Health 02 | - | Small hand held electric device | - | Not yet | All not known | Not known for all |  |  |  |  |  | Functioning | Well kept |
| Haemoglobin Meter, Digital | 0 | - | - | - | - | All not known | Not known for all |  |  |  |  |  | Good | Maintained |
| Height Meter | Health 02 | - | Height measuring item | - | - | All not known | Not known for all |  |  |  |  |  | Good | In good shape |
| Instrument Trolley | Health 04 | - | Stainless steel trolley | - | - | All not known | Not known for all |  |  |  |  |  | Good | Well kept |
| Microscope Binocular | Health 01 | - | Has 2 eye pieces for both eyes | - | - | All not known | Not known for all |  |  |  |  |  | Good | Maintained |
| Otoscope | - | - | - | - | - | - | - |  |  |  |  |  | Good | Good |
| Patient Screen | Health 05 | - | Cloth made at with supported with steel materials | - | - |  |  |  |  |  |  |  | Good | Functioning |
| Patient Trolley | Health 01 | - | Mobile bed for patients | - | - |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health 02 |  | mild steel coated white |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Good |
| Stethoscope | Health 03 |  | Double steel Stainless steel |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Functioning |
| Stop Watch | Health 01 |  |  |  | not yet | Not Known to them |  |  |  |  |  |  |  |  |
| Stretcher | Health 02 |  | Movable plastic stage with supports |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Available |
| Stove, Gas | Health 02 |  | Stabex gas 6kgs |  | not yet | Not Known to them |  |  |  |  |  |  | Good | maintained |
| Weighing Scale with Height Meter, Adult | Health 02 |  | measures both weight and height |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Functioning |
| Weighing Scale, Infant | Health 02 |  | An infant beam with a tray |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Good |
| Weighing Scale, Toddler | Health 01 |  | weighing scale for newly born babies |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Seen |
| Wheel Chair | Health 04 |  | Manual folding clothed chair black in colour |  | not yet | Not Known to them |  |  |  |  |  |  | Good | maintained |
| Audio Visual Equipment | Health 02 |  |  |  | not yet | Not Known to them |  |  |  |  |  |  |  | Not Seen |
| Medical Waste Bin | Health 10 |  | For collecting waste products |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Available |
| Wall Clock | Health 04 |  | Round white |  | not yet | Not Known to them |  |  |  |  |  |  | Good | Available |
| Diagnostic Equipment Set for MCH | Health | 03 | Set for family planning clinic |  | Not engraved | Not known to them |  |  |  |  |  |  | Good | Functioning |
| Diagnostic Equipment Set for OPD | Health | 02 | Used in OPD |  | Not yet | Not known to them |  |  |  |  |  |  | Good | New |
| Glassware Set, Laboratory, Basic | Health | 02 |  |  | Not yet | Not known to them |  |  |  |  |  |  | Good | Well kept |
| Hollow Ware Set, Treatment | Health | 02 | Made of stainless steel reusable |  | Not yet | Not known to them |  |  |  |  |  |  | New | Functioning |
| Instrument Set, Dressing | Health | 07 | Contains 16 items |  | Not yet | Not known to them |  |  |  |  |  |  | Good | Well kept |
| Instrument Set, Basic ENT | Health | 01 | Contains 10 items |  | Not yet | Not known to them |  |  |  |  |  |  | New | well kept |
| Instrument Set, Suture | Health | 03 | Contains 7-8 items |  | Not yet | Not known to them |  |  |  |  |  |  | Good | Functioning |
| Pulse Oximeter, Hand held | Health | 02 |  |  |  | Not known to them |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health | 10 | Form mattress with high destiny form for adults |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Good | In use |
| Bed, Pediatric Patient, With Mattress | Health | 04 | locally made with mattress |  | Not yet |  | 2023 |  |  |  |  |  | Good | In Use |
| Bedside Locker | Health 10 |  | powder coated and stainless steel |  | not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Cupboard, Instrument | Health 01 |  | made of glass and coated steel |  | not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual | Health 01 |  | Adjustable bed used for during birth |  | not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health 02 |  | Metalic in nature and long |  | not yet | Not known to them |  |  |  |  |  |  | Functional | Not in use |
| Resuscitator Manual, Infant, with all Mask sizes | Health 15 |  | It has a face mask and self inflating bag |  | not yet | Not known to them |  |  |  |  |  |  | Good | Good |
| Resuscitator Manual, Adult, with all mask sizes | Health 15 |  | portable trolley |  | not yet | Not known to them |  |  |  |  |  |  | Good | in place |
| Suction Apparatus, (Electric) | Health 01 |  | manual |  | not yet | Not known to them |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Health 01 |  |  |  | not yet | Not known to them |  |  |  |  |  |  | Good | in use |
| Oxygen Concentrator, Duo Flow | Health 01 |  | It has two filter oxygen mask a flow meter oxygen tube and a nasal cannula |  | not yet | Not known to them |  |  |  |  |  |  | Good | Functioning |
| Bench | Health 04 |  |  |  | not yet | Not known to them |  |  |  |  |  |  | Good | Functioning |
| Disinfection Buckets | Health | 06 | Plastic type |  | Not engraved | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Baby Cot | Health | 02 | Frame made of steel round tube platform height from the floor with a bumper |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Diagnostic Equipment Set for Ward | Health | 02 | Containing a variety of items and instruments |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Hollow Ware Set, Ward | Health | 02 | Stainless steel bowls, can etc. used for general use |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Instrument Set, Delivery | Health | 05 | Stainless drum & instruments for delivery |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| Instrument Set, Stitch Removing | Health | 05 | Set containing stitches, forceps and cutlery for removal etc. |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Functional | In use |
| MVA Kit | Health | 01 | Has reusable items |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Good | In use |
| Stool, Laboratory | Health | 04 | Movable |  | Not yet | Not known to them | 2023 |  |  |  |  |  | Good | In use |
| Penguin Sucker | Health 03 |  | It is a nasal aspirator |  | not engraved |  | 2023 |  |  |  |  |  | Good | In use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | - |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health 01 |  |  |  | not yet |  | 2023 |  |  |  |  |  | Good | In use |
| Kangaroo Mother Care Chair | Health 01 |  | For mothers to sit on and put the baby (premature) on their chest while holding |  | not yet |  | 2024 |  |  |  |  |  | Functional | In use |
| Radiant Infant Warmer | Health 02 |  |  |  | not yet | them | 2023 |  |  |  |  |  | Functional | In use |
| Haemoglobin Meter, Sahli | Health 02 |  |  |  | not yet | to |  |  |  |  |  |  |  |  |
| Delivery Bed | Health 01 |  | For mothers to give birth |  | Not yet | known | 2023 |  |  |  |  |  | Functional | In use |
| Examination light | Health 03 |  |  |  | Not yet | All | 2023 |  |  |  |  |  | Functional | Now not in use due to lack of power units |
| Instrument set, ENT Basic for HCIII | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health 14 |  | It has a self inflating bag mask is silicon soft and transparent |  | not engraved | NOT KNOWN | 2024 |  |  |  |  |  | Good | In use |
| Incubator |  |  |  |  |  | NOT KNOWN |  |  |  |  |  |  |  |  |
| Office Chair | Health 07 |  | A rolling chair, mat is black in colour |  | not yet |  | 2023 |  |  |  |  |  | Functional | In use |
| Desk | Health 05 |  | Equipment for placing on health documents |  | not yet |  | 2023 |  |  |  |  |  | Functional | In use |
| Filing Cabinet | Health | 06 | Mild steel sheet Power coated off white with drawers |  |  |  | 2022 |  |  |  |  |  | Good | In use. |
| Non Residential Buildings | Health | 3 blocks | maternity ward pit latrine placenta pit |  |  |  | 2022 |  |  |  |  |  | Good | In use |
| Residential Buildings | Health | 1 block | 2 units for mid-wives |  |  |  | April 2014 |  |  |  |  |  | Good | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover: facility written as ATAR HEALTH CENTER III.

- Cover block: supervisor name, contact and date of submission are blank.

- Verifier names on cover: BINZIKA SHABRAH, ALIABO MARY TEDISTA, NABULA DOREEN — spelling differs from other Team 15 sheets.

- Counting chamber Neubauer-improved: asset number and status/remarks blank.

- Drip Stand: entire row blank on first checklist sheet.

- Department column sometimes includes asset count (e.g. Health 01, Health 15) with asset number written as "-".

- Haemoglobin Meter, Digital: department written as "0".

- Examination light, LED: all cells except date notes are blank or "-".

- Otoscope: only status "Good" and remarks "Good" filled.

- Stop Watch: equipment status and remarks blank.

- Refrigerator, Basic: remarks cell written as "Good" (same as status).

- Pulse Oximeter, Hand held: only date of purchase filled.

- Suction Apparatus, (Electric): description written as "manual"; status and remarks blank.

- Resuscitator Manual rows: department written as "Health 15".

- Pages 16–17: vertical note "All not known to them" split across date-of-purchase cells (them / to / known / not / All).

- Blank item row between Delivery Bed and Examination light with "not" in date-of-purchase cell.

- Instrument set, ENT Basic for HCIII: all cells blank on continuation sheet.

- Incubator: all cells blank except shared "NOT KNOWN" purchase note.

- Bag Valve mask (Ambu Bag), Neonatal: item label on form ends "Neonatal" without comma before size qualifier.