# Atar HC III - facility report

# 1. Identification

| Facility | Atar HC III |
| --- | --- |
| Type | Health centre |
| Local government | Kween District |
| Region / sub-region | Eastern / Elgon |
| Date(s) of visit | 2026-08-28 |
| Team members present | Nakiwala Doreen, Shadrack |
| Supervisor | Kassim Luminsa |
| Informant interviewed | Not recorded |

# 2. Entry

The visitors' book was photographed here, so the team is signed in on the facility's own record. Nothing about getting in or being allowed to work was raised.

# 3. Condition and status

The four things this exercise sets out to settle. What the visit settled is entered below, what it did not is marked not reported, and nothing here is filled in from anywhere else.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title, ownership document or ownership statement was recorded for this facility. |
| Functionality | Not reported. No item was recorded as working or not working. |
| Usage / performance | Not reported. |
| Location | Only the facility itself. No room, block or store was recorded against individual assets. |

# 4. Supplied against found

This facility's own delivery note is on file over two sheets. It is headed as the list of medical equipment, furniture and electronics delivered to Atar HC III, runs to about 75 lines, and is stamped by the District Health Officer of Kween District Local Government on 7 September 2022 and signed at the facility as verified and received. In the photographs the written quantity column does not line up cleanly against the printed rows, so no figure is taken from it here. Supplied and found stay apart until the column is read off the original.

23 of the items recorded here carry a count.

# 5. Engraving and identification

Not engraved (2). Desk, Desks.

The team recorded: most the assets in Atari were engraved most especially the ones in use.

The team recorded: The following are some of the pictures captured in Kabewya seed secondary school; Bit all the assets are not engraved.

No serial number was recorded against any item here.

# 6. Obsolete, unserviceable or for disposal

Nothing here was put down as obsolete, unserviceable or fit for disposal.

# 7. Operation and maintenance

Nothing was reported about operation, maintenance or the challenges the facility administration raised. The toolkit's discussion guide - maintenance, functionality records, and how UgIFT support has helped service delivery - was not answered for this facility.

# 8. Queries

Atar HC III's delivery note is on file over two sheets and has not been gone through.

Engraving is on the equipment at two of the five Kween health centres.

The engraved marks carry no sequence number, so two identical items read alike.

The team recorded the facility as Atari, while its delivery note and engraving read ATAR.

The informant discussion guide was not answered for this facility, so questions 1a, 1b, 2, 3 and 4 of the toolkit are outstanding.

The toolkit filled in by hand on site and naming this facility has not come in, so nothing here is verified.