ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Sebei |
| Name of Local Government | Kween District |
|  | Kween District |
| VERIFIER PARTICULARS |  |
| Full name | Nakiwala Doreen, Biyinzika Shadrack, Alyabo Mary Topista |
| Contact/ email and Telephone | 0708280450, 0782955138, 0702185702 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Terenpoy HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility gets small fund through P.H.C and which is used to repair the machines and also gas refilling. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | The facility annually counts the instruments and they take note of the broken ones and they inform the district. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has through constructing valuable structures like the maternity ward the staff houses, toilets and in equipping the facility which now smoothens offering services to the people of Terenpoy. Challenges: Understaffing and lack of technical personals which has led to not using of most of the instrument. Solution: Employin of experienced Medical personnels that can use the equipment |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Kween District        NAME OF HEALTH FACILITY: Terenpoy HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BP Machine, Digital | Health | 02 | white in color |  | — |  |  |  |  |  |  |  | Good | in use |
| Emergency Trolley | Health | 01 | stainless steel movable |  | — |  |  |  |  |  |  |  | Functional | Not engraved |
| BP Machine (Aneroid wall mounted) | Health | 01 | black with metallic stand |  | — |  |  |  |  |  |  |  | Functional | Not engraved |
| Fetoscope Doppler | Health | 03 | For heart bits |  |  |  |  |  |  |  |  |  | Functional | one in use. |
| Mid Upper Arm tape | Health | 02 | Equipment for nutrition assessment |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Autoclave 20 Liters, Duo Operated | Health | 01 | workers wheel rad machine |  | — |  |  |  |  |  |  |  | Good | Not functional. |
| Bowl Kick | Health | 01 | Stainless steel |  | — |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Health | 02 | stainless steel |  | — |  |  |  |  |  |  |  | Good | Not in use |
| Counting chamber Neubauer- Improved | Health | 02 | used for sperm counting |  | — |  |  |  |  |  |  |  | Functional | Not engraved |
| Cupboard Steel Lockable | Health | 05 | steel case outer grey |  | — |  |  |  |  |  |  |  | Fun |  |
| Drip Stand | Health | 08 | stainless steel with rolls |  | — |  |  |  |  |  |  |  | Functional | Not engraved |
| ESR Stand | Health | 02 | metallic with heavy base |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Examination Couch | Health | 02 | Soft cover with metallic stands |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Examination light LED | Health | 02 | not used lights |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Glucometer | Health | 02 | Electronic device |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Haemoglobin Meter Digital | Health | 02 | measuring hbg |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Height Meter | Health | 01 | steel coated powdering |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Trolley | Health | 02 | stainless steel movable |  |  |  |  |  |  |  |  |  | Good | Not in use |
| Microscope Binocular | Health | 01 | for viewing small objects |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Otoscope | Health | 01 | For examining ears |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Patient Screen | Health | 04 | 3 fold white screen |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Patient Trolley | Health | 01 | stainless wheel |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Refrigerator, Basic | Health | 021 | milk cooler |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stethoscope | Health | 05 | steel double head |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stop Watch | Health | 02 | colorway clock |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stretcher | Health | 01 | coach bed wheeled |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Stove Gas | Health | 01 | ambox |  |  |  |  |  |  |  |  |  | Functional | to duct a plate without a cylinder |
| Weighing Scale with Height Meter, Adult | Health | 02 | measuring weight and height |  |  |  |  |  |  |  |  |  | Functional | Not engraved one in use |
| Weighing Scale, Infant | Health | 02 | weighing scale |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Weighing Scale, Toddler | Health | 02 | Infant/baby may |  |  |  |  |  |  |  |  |  | Good | still in store |
| Wheel Chair | Health | 01 | wheel with 2 wheels |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Audio Visual Equipment |  | - |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | Health | 04 | color round wall clock |  |  |  |  |  |  |  |  |  | Not in use | not use & not engraved |
| Diagnostic Equipment Set for MCH | Health | 02 | set for family planning |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Diagnostic Equipment Set for OPD | Health | 02 | set of out-patients |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Glassware Set, Laboratory, Basic | Health | 02 | standard set for HCT/I |  |  |  |  |  |  |  |  |  | Good | still in the box |
| Hollow Ware Set, Treatment | Health |  | stainless steel |  |  |  |  |  |  |  |  |  | Not in use | Not in use - Not engraved |
| Instrument Set, Dressing | Health | 02 | stainless steel |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Basic ENT | Health | 03 | plastic container |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Suture | Health | 02 | stainless steel |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Pulse Oximeter, Hand Held |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Health | 12 | hospital foam mattress with high density for adult |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bed, Pediatric Patient, With Mattress | Health | 03 | small bed |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bedside Locker | Health | 05 | plastic with drawer |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Cupboard, Instrument | Health | 01 | glass and steel |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Delivery Bed, Hydraulic Manual | Health | 01 | Adjustable bed for disabled |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | 02 | Providing oxygen measurement |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 02 | face mask and self-inflating bag |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Resuscitator Manual, Adult, with all mask sizes | Health | 02 | Portable masks |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Suction Apparatus, (Electric) | Health | 02 | Electronic device |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Nebulizer, Ultrasonic | Health | 01 | Electronic device |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Oxygen Concentrator, Duo Flow | Health | 04 | humidifier bottle, flowmeter, oxygen line and a nasal canal |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Bench | Health | 04 | dark earth woody bench |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Disinfection Buckets | Health | 06 | Plastic buckets |  |  |  |  |  |  |  |  |  |  | 1 iron bucket, one bucket is broken. |
| Baby Cot | Health | 05 | wire in colour |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Diagnostic Equipment Set for Ward | Health | 03 | bowls and other utensils |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Hollow Ware Set Ward | Health | 03 | stainless for general use |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Delivery | Health | 03 | stainless steel delivery instrument |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Instrument Set, Stitch Removing | Health | 03 | stitch scissors dissecting forceps and artery |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| MVA Kit | Health | 04 | delivery equipments |  |  |  |  |  |  |  |  |  | Good | Not in use |
| Stool Laboratory | Health | 03 | movable |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Penguin Sucker | Health | 03 | look like penguins for sucking mucus |  |  |  |  |  |  |  |  |  | Good | Not in use. |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Health | 02 | in the box |  |  |  |  |  |  |  |  |  | Good | not in use. |
| Centrifuge (Electric) | Health | 01 | metal housing stainless |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Kangaroo Mother Care Chair | Health | 01 | wood chair for mothers |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Radiant Infant Warmer | Health | - |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  | - |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health | 04 | black bed with couch adjustable |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Examination light | Health | 03 | mobile floor light movable |  |  |  |  |  |  |  |  |  | Good | Not engraved |
| Instrument set ENT Basic for HC III | Health | 03 | stainless steel tray with a lid |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | It has a self-inflating bag that is silicon soft |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health | 06 | A rolling chair that is black |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Desk | Health | 03 | woody desks for office and reception |  |  |  |  |  |  |  |  |  | Functional | Not engraved |
| Filing Cabinet | Health | 02 | Mild steel powder coated grey with drawers |  |  |  |  |  |  |  |  |  | Good | in use |
| Non Residential Buildings | Health | 3 blocks | maternity ward toilet placenta pit |  |  |  |  |  |  |  |  |  | Good | all in use |
| Residential Buildings | Health | 1 block 2 units | for mid wives |  |  |  |  |  |  |  |  |  | Functional | No repairs |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Kween District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Open items from the hand-filled copy

- Cover block: supervisor name, contact and date of submission are blank on the photographed page.

- Cover facility name written as TERENPOY HEALTH CARE CENTRE; checklist header reads TERENPOY HEALTH CENTRE III.

- Autoclave description: workers wheel rad machine — wording unclear.

- Bowl Kick: status and remarks blank on the photographed page.

- Cupboard Steel Lockable: status written as Fun — meaning unclear.

- Emergency Trolley: extra row not on standard printed checklist.

- Examination light LED description: not used lights — may read hot used lights.

- Refrigerator, Basic asset number written as 021.

- Stove Gas description ambox and remarks to duct a plate without a cylinder — wording unclear.

- Weighing Scale, Toddler description Infant/baby may — wording unclear.

- Audio Visual Equipment: asset number dash only.

- Medical Waste Bin: asset number 0 only.

- Hollow Ware Set, Treatment: asset number blank.

- Pulse Oximeter, Hand Held: asset number 0 only.

- Disinfection Buckets: equipment status blank; remarks mention iron bucket and one broken bucket.

- Radiant Infant Warmer and Haemoglobin Meter, Sahli: asset number dash only.

- Delivery Bed asset number appears corrected from 01 to 04.

- Bag Valve mask (Ambu Bag), Neonatal: asset number, status and remarks blank.

- Incubator: asset number 0 only.

- Non Residential Buildings asset number written as 3 blocks.

- Residential Buildings asset number written as 1 block 2 units.