ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Busia District |
|  | Busia District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Buwembe HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They are maintained with PHC funds. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. They have an asset register and they record about functionality. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has supported so much and the community have benefited from it because of the equipment they supplied. Recommendations: they need a new askari for the facility because the one they have is too old; they need electricity for better service; fencing the health centre to reduce on the insecurity. Challenges: fencing the facility; electric is needed; solar depends on the weather; lack of water (depends on rain); no askari; insecurity more especially at night. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Busia District        NAME OF HEALTH FACILITY: Buwembe HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | Health |  | Sino Heart BA-801 | 2 yrs | BUWEMBE HC III |  |  |  |  |  |  |  | Good working condition | Functional and they were being used in labour and OPD. |
| B.P. Machine, Digital (second line) | Health |  |  |  | BUWEMBE HC |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) |  |  |  | 2 yrs |  |  |  |  |  |  |  |  |  | Functional; one is at OPD and one labour suite. |
| Autoclave 20 Liters., Duo Operated (2; 25 L and 20 L) | - | - | Stainless steel with timer |  | Not engraved |  |  |  |  |  |  |  |  | Functional; 25 L and 20 L are in labour. |
| Bowl, Kick (5; margin also 7) | Health |  | Stainless steel | 3-5 yrs | Buwembe HC |  |  |  |  |  |  |  | Good working condition | Functional; some in store. |
| Bowl Stand (2 written; 1 Bowl stand on line) | Health | - | Stainless steel | 3-5 yrs | BUWEMBE HC |  |  |  |  |  |  |  | Good working condition | Functional and in the store. |
| Counting chamber Neubauer- Improved | Health | - | - |  |  |  |  |  |  |  |  |  |  | Not seen physically but some laboratory room was locked. |
| Cupboard Steel, Lockable (5) | Health | - | Grey with key | 5 yrs | Not engraved |  |  |  |  |  |  |  | Some good condition | 2 non-functional and kept in the store; 4 are in use. |
| Drip Stand (5) | - | - | Blue and stainless steel | 5 yrs | Not engraved |  |  |  |  |  |  |  |  | 4 drip stands in the store; 1 not functional. |
| ESR Stand (1; margin: Don't have) | Health | - | Box in the store | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Is in store not in use but functional; reason they don't have. |
| Examination Couch (2) | Health | - | White stainless steel stand and black bed | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; one was in labour and another in OPD was sent to Masafu. |
| Examination light, LED (1) | Health | SN MEX LH 2021092502 | White light | 2 yrs | BUWEMBE HC III |  |  |  |  |  |  |  | Good working condition | In use and another kept in the store but functional. |
| Glucometer (1) | Health | S/N 826075 35149 | White with screen and blue and red button | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but kept in the store. |
| Haemoglobin Meter, Digital (1) | Health | - | In the box | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but kept in the box in the store. |
| Height Meter (1) |  |  | It's like a rule and white base | 3 yrs | BUWEMBE HC III |  |  |  |  |  |  |  | Good working condition | Functional in OPD and in labour ward. |
| Instrument Trolley (4) | Health | Stainless steel | Jaguar | 5 yrs | Buwembe HC III |  |  |  |  |  |  |  | Good working condition | Functional. |
| Microscope Binocular (1) | Health | White and black ball metallic base | Black ball metallic base | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional and being used in laboratory. |
| Otoscope (1) | Health | - | Big box | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Kept in box in the store; functional. |
| Patient Screen (4) | - | Blue in colour | Blue in colour | 2 yrs |  |  |  |  |  |  |  |  | Some working condition | Non-functional but they use; 3 are good working condition. |
| Patient Trolley (2) | Health | Hold side rail | Black bed with stainless steel; blue bed and white stands | 5 yrs |  |  |  |  |  |  |  |  | Good working condition | Functional. |
| Refrigerator, Basic (1) | Health | S/N 04/2011 05523 | LR 200 Arctiko 230V 60 Hz | 5 yrs | BUWEMBE HC III |  |  |  |  |  |  |  |  | Still packed in the store. |
| Stethoscope (1) | Health |  | Black | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but in triage room; depends on whether. |
| Stop Watch (2) | Health | - | White in colour DCL-118 and light blue button with screen | - | Not engraved |  |  |  |  |  |  |  | Good working condition | 1 is functional but others are kept in the store and 2 given out to Masafu. |
| Stretcher (2) |  |  |  |  |  |  |  |  |  |  |  |  |  | They were given out to Masafu Hospital. |
| Stove, Gas (1) | Health | - | Stainless material 8.4 kg blue | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional kept in labour ward; the stove was not seen physically but she told me that it is kept in the store. |
| Weighing Scale with Height Meter, Adult (1 Height meter) | H | - |  |  |  |  |  |  |  |  |  |  | Good working condition | The weighing scale that I saw was for UNICEF and 1 was for Salter 25 kg x 100 g. Functional in labour ward; they are engraved but no number. |
| Weighing Scale, Infant (3) | Health | - | Salter 20 kg with measurement and 14 kg |  | BUWEMBE HC III |  |  |  |  |  |  |  | Fairly good working | Functional and 1 is used in labour ward. |
| Weighing Scale, Toddler (1) | Health | - | White with the measurement and plate like on top | 5 yrs | Not engraved |  |  |  |  |  |  |  | Not seen | Not seen. |
| Wheel Chair (2) | Health | - | Black colour | 5 yrs |  |  |  |  |  |  |  |  | Not seen | Not seen. |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | Not seen. |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | Not seen. |
| Wall Clock (1) | Health | - | White with timer Avanti | 3 yrs |  |  |  |  |  |  |  |  | Good condition | Functional; was in laboratory. |
| Diagnostic Equipment Set for MCH (2) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | They are kept in the store (not in use). |
| Diagnostic Equipment Set for OPD (2 sets) | Health | - | Stainless steel | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | 1 in the store; one in use OPD. |
| Glassware Set, Laboratory, Basic (2 sets) | Health | - | Glassware |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use; kept in the store. |
| Hollow Ware Set, Treatment (2) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 sets kept in the store. |
| Instrument Set, Dressing (2 sets) | Health | - | Stainless steel | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | 1 in use and another kept in the store. |
| Instrument Set, Basic ENT (3) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 are in store; 1 in use labour ward. |
| Instrument Set, Suture (2 sets) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 sets in store; 1 in use labour ward. |
| Pulse Oximeter, Hand held (1) | Health | - | White wired with |  | Not engraved |  |  |  |  |  |  |  | Good condition |  |
| Bed, Adult Patient with Mattress (10) | Health | - | Blue and white stands | - | BUWEMBE/HCIII |  |  |  |  |  |  |  | Good condition | 1 bed was given to Masafu and 9 are labour ward. |
| Bed, Pediatric Patient, With Mattress (5 margin) | Health | - | Black bed and white stand | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | 4 functional; 1 has no bed but functional. |
| Bedside Locker (7) | Health | - | Blue with white |  | BUWEMBE HC III |  |  |  |  |  |  |  | Good condition | Functional and they were distributed in maternity ward. |
| Cupboard, Instrument | Health | - | - |  | - |  |  |  |  |  |  |  | Good working condition | Functional and it is labour ward. |
| Delivery Bed, Hydraulic Manual (1) | Health | - | Blue in colour | 10 yrs | BUWEMBE HC III |  |  |  |  |  |  |  | Good working condition | Functional and it is labour ward. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | Health | - |  |  |  |  |  |  |  |  |  |  | - | 2 were given out to Masafu Hospital. |
| Resuscitator Manual, Infant, with all Mask sizes (2) | - |  |  |  | Not engraved |  |  |  |  |  |  |  | Good working condition | Kept; 1 functional; others are kept in the stores. |
| Resuscitator Manual, Adult, with all mask sizes (1) | Health | - | White capped bottle | - | Not engraved |  |  |  |  |  |  |  | Good working condition | One box physically seen in the store. |
| Suction Apparatus, (Electric) (1) | Health | - | In the box | - | Not engraved |  |  |  |  |  |  |  | Good condition | Still kept and packed in the store. |
| Nebulizer, Ultrasonic (1) | Health | - | In box; model wool | - | Not engraved |  |  |  |  |  |  |  | Good working condition | Is not working because of the power cord from another. |
| Oxygen Concentrator, Duo Flow (1; 3 boxes) | Health | - | 3 boxes sealed in the store | 5 yrs | Buwembe HC III / Not engraved |  |  |  |  |  |  |  | Good working condition | Is functional but is sealed in the store / not in use. |
| Bench (2) |  | - | Brown wooden with black stand | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional; seen in labour ward. |
| Disinfection Buckets | - | - | - | - | - |  |  |  |  |  |  |  |  | They don't have but they are using for another source. |
| Baby Cot (4) | health | - | Light brown; grey black; basket; small | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but has no bed; in labour room. |
| Diagnostic Equipment Set for Ward (1) | Health | - | Stainless steel | 8 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | 1 set in the store; 1 set is partially in use. |
| Hollow Ware Set, Ward (2 sets) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use; kept in the store. |
| Instrument Set, Delivery (2 sets) | Health | - | Stainless steel | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | One very new in the store; another in maternity in use. |
| Instrument Set, Stitch Removing (2 sets) | Health | - | Stainless steel | - | Not engraved |  |  |  |  |  |  |  | Good condition | 2 sets; one kept in the store. |
| MVA Kit (2 functional; 1 store) | Health | - | Stainless steel with white curved bottle with black handle in the container | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 2 functional and they are being used in labour ward and one kept in the store. |
| Stool, Laboratory (1) | Health |  | Blue seat with stainless steel and wheels |  | BUWEMBE HC III |  |  |  |  |  |  |  | Good condition | Functional in the laboratory. |
| Penguin Sucker (2) | Health | - | Rubber penguin shape | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but 1 was not in use; kept in the store. |
| Fetoscope, Dopplar (2) | Health | - | White with blue screen | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional but in the store not in use. |
| Bubble CPAP | Health | - | - | - | - |  |  |  |  |  |  |  | Good working condition | Kept in the laboratory because it used power. 2 functional but were given to Buhumbi HC III. |
| Centrifuge (Electric) (1) | - | TAM S/N 202201016 | 230V 50 Hz model TD5M 5000 r/min | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | The one they are using is not for UgIFT but the one for UgIFT is kept in the store. |
| Kangaroo Mother Care Chair (2) | Health | - | Brown in colour and blue | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  | NONE | They were not delivered. |
| Haemoglobin Meter, Sahli | - | - | - | - | - |  |  |  |  |  |  |  | NONE | They are not aware of it and it was not physically seen. |
| Delivery Bed (1 black; 1 blue; qty soft) | Health | - | Blue with hole in the middle | 3 yrs | BUWEMBE/HCIII |  |  |  |  |  |  |  | Good working condition | Functional. |
| Examination light (1) | Health | - |  |  | BUWEMBE HC III |  |  |  |  |  |  |  | Good working condition | Functional in labour ward. |
| Instrument set, ENT Basic for HCIII | Health | - | - | - | - |  |  |  |  |  |  |  |  | It was not seen physically. |
| Bag Valve mask (Ambu Bag), Neonatal | Health | - | - |  |  |  |  |  |  |  |  |  | Good working condition | They are kept in the stores in the big boxes. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  | NONE | We were told by the focal person that they were not received. |
| Office Chair (7) | Health | - | Black with stainless metallic hands | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are all functional and placed in different department. |
| Desk (7; lines: 4 tables / Table 2 / 3 tables) | Health |  | Wooden brown with black metallic stands | 10 yrs | BWB HC III / Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; all in use. |
| Filing Cabinet (2) | Health | - | Grey colour | 5 yrs |  |  |  |  |  |  |  |  | 1 good condition | 1 good functional; another one got spoiled and kept in store. |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff house / pit latrine / water tank | Health |  | 1 block with 2 units; pit latrine of 2 stances for each unit and bathroom; water tanks 2 for 5000 LTR, 2 for 1000 LTR and 50 LTR at the pit latrine |  |  |  |  |  |  |  |  |  | Good condition | Functional; paint is peeling off on one unit note. NB: The staff house was constructed away from the health facility because it is where the church gave them land for construction. |
| Non Residential Buildings - OPD / pit latrine / placenta pit | Health |  | 1 OPD; pit latrine 2 bathroom / 2 stance each for male and female (total 08); placenta pit 1 pit |  |  |  |  |  |  |  |  |  | Good condition | Placenta pit functional. Non-residential water tank: 1 for 3000 LTR; 1 up for 10000 LTR. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 27th 08-2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page is Kassim Sejjaka & Wilson (spelling soft: Sejjaka / Ssejjaka / Nejjaka); second contact cut off at the page edge (reads near 0783230321). Filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Verifier full-name cell reads LYDIA NAKIGANDA KAYONGO with two phones and emails (Lydia Nakiganda and Kayongo Tonny); confirm emails lydianakiganda3@gmail.com and tkayongo1@gmail.com.

- Sub-region on the page reads Bukedi (also soft near Bukeba).

- Bowl, Kick: margin quantity 7 vs line text '5 Bowl kick' - reconcile.

- Bowl Stand: printed-line quantity 2 vs handwritten '1 Bowl stand'.

- Cupboard Steel, Lockable: quantity 5 vs remarks 2 non-functional + 4 in use (total 6).

- ESR Stand: margin 'Don't have' vs quantity 1 and store remarks - reconcile.

- Examination light, LED: quantity 1 vs remarks about another in store.

- Examination Couch: remarks say one sent to Masafu (also soft near Majanji).

- Instrument Trolley: 'stainless steel' / 'Jaguar' spilled across asset and description columns.

- Patient Screen: status mixes non-functional use with 3 good working.

- Patient Trolley: crossed-out first line; confirm final quantity 2.

- Refrigerator model / serial soft (LR 200 / 4R 100 Arctiko; S/N 04/2011 05523).

- Stethoscope vs Stop Watch facing-page pairing soft (triage/whether vs solar/weather vs Masafu counts on neighbouring rows).

- Cupboard, Instrument: alternate facing-page remark also readable as not seen physically at the facility.

- Baby Cot: four lines under quantity 4 with a large X across the block; margin notes partly soft.

- Stop Watch: quantity 2 vs remarks about others and 2 given to Masafu.

- Stove, Gas: remarks say labour ward and also not seen physically / told it is in store.

- Weighing Scale Adult line labelled '1 Height meter'; UNICEF/Salter note spans financial columns.

- Weighing Scale, Toddler and Wheel Chair: left-page descriptions filled but right-page status 'Not seen' - confirm.

- Instrument Set, Suture: quantity 2 sets vs remarks mentioning 3 placements (store / labour).

- Pulse Oximeter description 'white wired with…' incomplete / illegible at the end.

- Bedside Locker / Cupboard Instrument: facing-page remarks about maternity distribution vs not seen physically - pairing soft.

- Nebulizer model hand reads 'wool' (likely W001 from cartons elsewhere); power-cord remark incomplete.

- Oxygen Concentrator: quantity 1 vs '3 boxes sealed' - reconcile.

- Baby Cot: four lines under quantity 4 with a large X; descriptions crowded (light brown / grey black / basket / small).

- Bubble CPAP: receiving facility hand-reads Buhumbi HC III; power / laboratory note soft.

- Fetoscope remarks may also say taken to Masafu or Malaba - confirm.

- Delivery Bed (non-hydraulic line): quantity soft (1 black / 1 blue / 2 crossed).

- Desk: heading quantity 7 vs lines 4 + Table 2 + 3 tables - reconcile; tag BWB HC III.

- Buildings: placenta-pit description ends '1 pit and'; water-tank 10000 LTR digits soft; residential paint-peeling note alignment soft.

- No cost, recoverable cost, or depreciation figures appear on any schedule line.