# Buwumba HC III - facility report

# 1. Identification

| Facility | Buwumba HC III |
| --- | --- |
| Named on the programme list | Not named |
| Type | Health centre |
| Local government | Busia District |
| Region / sub-region | Eastern / Bukedi |
| Date of visit | 2026-08-26 |
| Team members present | Kayongo Tonny, Lydia Nakiganda |
| Informant interviewed | None recorded |
| Supervisor | Kassim Luminsa |
| Supervisor's contact | +256 702 806116 |
| Date of submission |  |

# 2. Entry

The team reported reaching this facility on 26 August, one of the last three worked in the district. A hundred and fifty-three photographs are on file. Nobody is named as having received the team. No visitors' register was photographed. A hand-filled register naming Buwumba HC III is on file, so what it carries is verified though ownership was not established.

# 3. Condition and status

The four things the exercise exists to establish. Only what was established on site appears here; the rest is marked as not reported, not guessed.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. No land title or ownership document was obtained. |
| Functionality | Established line by line on the hand-filled register, with several lines left blank or soft where the writing could not be read. |
| Usage / performance | Partly established. The informant says UgIFT equipment improved service delivery and the facility now receives medicines for a level III centre, but staffing and transport are inadequate. |
| Location | Recorded on the register for what was written up and partly confirmed in the photographs - the laboratory, wards, store and compound appear among them. |

# 4. Supplied against found

The hand-filled register is the found side and nothing on the day was counted against it, so not one line is closed.

# 5. Engraving and identification

The register records engraving on some lines and not engraved on others. No asset number column is filled on the copy.

# 6. Obsolete, unserviceable or for disposal

Nothing on the register was named for disposal.

# 7. Operation and maintenance

The discussion guide was answered. The facility holds a record, maintains assets from PHC funds, records breakdowns, and asks for more staff, transport and continuous follow-up.

# 8. Queries

This facility is named on no programme list for the district; establish whether it is in scope.

Nothing here was counted on the day; count room by room and set the count against the hand-filled register.

Ownership was not established and no land title was obtained.

Several register lines are blank or illegible; complete them on the next visit.