ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Busia District |
|  | Busia District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Sikuda HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They maintain repair through using the PHC funds. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. They have the records. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT support helped the community because they upgraded the facility to health centre III and constructed the maternity which helped so many mothers. Challenges: they have no security because they have no fence; solar system is non functional; they understaffed. Recommendations: fencing the facility; increase on the staff. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Busia District        NAME OF HEALTH FACILITY: Sikuda HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (3) | Health | DC power 5V/500-1000mA | White with black screen and they can be tailored on | 5 yrs | SIKUDA/HC III/BUSIA DLG |  |  |  |  |  |  |  | Bit height board is working | Not functional; 1 bit not functional and the height board is working height. |
| B.P. Machine (Aneroid wall mounted) (2) | Health | Green wire; lot number D-31306/7619 | CE 0197 grey in colour | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are all functional and they are used in OPD labour suit. |
| Autoclave 20 Liters., Duo Operated (1; wing nut 25 litres; Non-Electric) | Health | Non-Electric | It has black stand and 18 pins | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good condition working | One is 20 lts and another 15 ltr; they are placed in ironing room laundry room. |
| Bowl, Kick (2; remarks say 3 of supposed 6) | Health | - | Steel metallic | 5 yrs | Not engraved |  |  |  |  |  |  |  | They good working condition | They were supposed to be 6 but on ground are 3 only. |
| Bowl Stand (2) | Health | - | They metallic | 5 yrs | Not engraved |  |  |  |  |  |  |  | They good working condition | They are only 2 but in different labour suit and inpatient. |
| Counting chamber Neubauer-Improved (01) | Health | - | Glass; not slides in cover | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use; it was supplied with no Turk solution. |
| Cupboard Steel, Lockable (10 / 11) | Health |  | Grey in colour steel | 20 yrs | Not engraved |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | Health |  | Steel with light blue rubber | 5 yrs | Not engraved |  |  |  |  |  |  |  | 6 are not in good condition but only 2 functional | They are in use but some have no legs or ball/base. |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (4) | Health | GHF 70.05/1221/H69 | Stainless steel with bed on top | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are placed in different wards but they are all functional. |
| Examination light, LED (2) | Health | No EL0076/1221/H12 | Black stand light GPC | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They placed in different ward in labour suit family planning room. |
| Glucometer | Health |  | One Touch Select Simple white colour | 5 yrs | Not engraved |  |  |  |  |  |  |  | In use; good condition | One is in use; another still in store. |
| Haemoglobin Meter, Digital | Health |  |  | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Still packed in store because NMS doesn't supply strips that are compatible with HB metre. |
| Height Meter (1 HM; heading also soft near 2) | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (4; 1 Instrument trolley written) | Health |  | Sus 304 PE-LD steel |  | SIKUDA/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | Only one is engraved; 3 are in labour ward; one in OPD. |
| Microscope Binocular | Health |  | Rechargeable and can use batteries | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Not good brand; it has poor light and stage. |
| Otoscope (1) | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (5; 1 white + 5 patient screen written) | Health |  | White stand white cloth; others are blue green cloth black stand | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Not engraved; 5 are functional; 2 not; are in labour ward and OPD. |
| Patient Trolley (3; 1 Patient Trolley + 2 patient trolley / patient-stretcher) | Health | GHF 60.06/1221/N69 (stretcher line) | For SAIKANG; medical with bed for mother; GPC stainless steel; 16 metallic | 5 yrs | SIKUDA/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | 16 is separate from the others; 16 has bed and it being used by mothers in labour ward; and 2 are in OPD. |
| Refrigerator, Basic | Health | - | SN: 108PRKX 053309 | 10 yrs |  |  |  |  |  |  |  |  | Good working condition | Functional. |
| Stethoscope (1; Lot line) | Health | Lot No DG/9/1/1221/G04 | GPC black | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |
| Stethoscope (5) | Health | - | - | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are kept in the store; they just pick one to use. |
| Stop Watch (01) | Health | - | RESEE 30 Memory RS1030 | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | It is in good use by the lab. |
| Stretcher | Health | - | I didn't see them | - | Not engraved |  |  |  |  |  |  |  | Not available | I was not able to see them physically because they were locked and got done. |
| Stove, Gas (1 green; 2 maroon; margin: one gas not found) | Health | - | 78 green okibya; 79 maroon okibya/andalon | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | All three are functional in labour ward. |
| Weighing Scale with Height Meter, Adult (3) | Health | AC Power 5V/500-1000mA | - | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition; height meter | They are 3 but the same as the B.P digital; only height meter works. |
| Weighing Scale, Infant (1; in store) | Health | White and blue in the middle max 30kg | White and blue in the middle max 30kg | 10 yrs | SIKUDA/HC III/BUSIA D.L.G |  |  |  |  |  |  |  | Good working condition | Functional. |
| Weighing Scale, Toddler (2; store) | Health | White and blue in middle max 30kg | White in colour |  | Not engraved |  |  |  |  |  |  |  | Good working condition | 1 is kept in store and in labour ward. |
| Wheel Chair (4; store) | Health |  | Black with wheels |  | SIKUDA/HC III/BUSIA D.L.G |  |  |  |  |  |  |  | Good working condition | 1 in use; one is kept in the store. |
| Audio Visual Equipment (store) | Health | - | They are in box box brown big | 5 yrs | - |  |  |  |  |  |  |  | Good working condition | 16 in the big brown box kept in the store. |
| Medical Waste Bin (13) | Health | Stainless steel | Stainless |  | SIKUDA/HC III/BUSIA D.L.G |  |  |  |  |  |  |  | Good working condition | 4 no cover but they are in use; 9 are functional. |
| Wall Clock (4; store) | Health | White and black | White and black | 2 yrs | Not engraved |  |  |  |  |  |  |  | 3 good working condition | 2 non functional. |
| Diagnostic Equipment Set for MCH (1) | Health | 2112 (Lot 1221/1/906 crossed out above) | Stainless steel with black handles | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | It is kept in the store; seen physical in the big boxes. |
| Diagnostic Equipment Set for OPD | Health |  | Not seen |  |  |  |  |  |  |  |  |  |  | Stored in boxes. |
| Glassware Set, Laboratory, Basic (margin: finished) | Health | - | Not seen physical | - | - |  |  |  |  |  |  |  |  | It wasn't seen. |
| Hollow Ware Set, Treatment | Health | Lot 1221/1/906 | Seen physical new | 10 yrs | Not engraved |  |  |  |  |  |  |  | Not available; not seen | We were not able to see them but we were told by the incharge that they are finished. |
| Instrument Set, Dressing | Health | S/N 1221/1/906 | GPC medical 1221/1/906 | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition; not use | Seen physical but they are kept in the store packed in the big boxes. |
| Instrument Set, Basic ENT (margin: stove) | Health | Lot 1221/1/906 | GPC medical |  | Not engraved |  |  |  |  |  |  |  | Seen but good working condition | Kept in the store at the moment; no ENT doctor at the moment so all the equipment were kept. |
| Instrument Set, Suture (margin: safe) | Health | S/N 2117 | Stainless steel metal black bed | 10 yrs | Not engraved |  |  |  |  |  |  |  | Seen; good condition | Kept in the store in big box; no ENT specialist at the moment. |
| Pulse Oximeter, Hand held (2) | Health | SN 2110500008 | Set stainless steel; small machine; model Pc 100K | 10 yrs | Not engraved |  |  |  |  |  |  |  | Seen; good working condition | No ENT specialist at the health centre and incharge kept them in the store in the big brown boxes. |
| Bed, Adult Patient with Mattress (10) | Health |  | Metallic with a mattress covered in a blue plastic sheet | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are all functional. |
| Bed, Pediatric Patient, With Mattress (04 soft) | Health | - | Metallic with white and pink paint | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | All are in use. |
| Bedside Locker (10 in number; inpatient ward) | Health | - | White and blue colour | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are placed in wards. |
| Cupboard, Instrument | Health |  | Right door cannot open |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1; labour) | Health | Part No. 1721090288 model HL-C6B | Pink bed and stainless stands | 10 yrs | SIKUDA/HC III/BUSIA/D.L.G |  |  |  |  |  |  |  | Good working condition | It is functional and working well in the labour ward. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (labour) | Health | Blue in colour | ISO 9809-1 2.8kg | 10 yrs | 1509 Not engraved |  |  |  |  |  |  |  | Good working condition | It is functional and it is kept in labour ward. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, Electric (1) | Health | 2209062 14489 | Model DFX-23D1 | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in labour ward. |
| Nebulizer, Ultrasonic (1; store) | Health | SN N7002110009 | White model LT-N700 | 6 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Is kept in the store but they are used when needed. |
| Oxygen Concentrator, Duo Flow (1; labour) | Health | 2190006 | White CANTA / GJNTA; JTG20 voltage |  | SIKUDA/HC III/BUSIA D.L.G |  |  |  |  |  |  |  | Good working condition | Functional. |
| Bench (4) | Health |  | Wooden with metal frame | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | All in use at the waiting area. |
| Disinfection Buckets | Health |  |  |  |  |  |  |  |  |  |  |  |  | These were not seen at the facility. |
| Baby Cot (02) | Health |  | Stainless steel with a black mattress | 10 yrs |  |  |  |  |  |  |  |  | Good condition | All are in use. |
| Diagnostic Equipment Set for Ward (6; store) | Health | Lot 122/NA/47 | Stainless steel atop with black handle | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Seen physically but they are being kept in the store at the moment; not in use. |
| Hollow Ware Set, Ward (5; store; 1) | Health | 122/G06 | Kept in the big box | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Not in use; kept in the boxes in the store. |
| Instrument Set, Delivery (13; store; Total 13; also 6 written) | Health | Lot 122/NA/47 | Stainless steel | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | In stores but are kept in the store still packed in big and small boxes but the six are functional. |
| Instrument Set, Stitch Removing (store) | Health | - | - | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Seen physically; not in use but they are kept in the big brown box in the store. |
| MVA Kit (1 manual Vacuum Aspiration kit) | Health | No CPRI0-ZJ | Silicone oil disposable cannula O-ring | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional; used in the labour ward. |
| MVA Kit (4) | Health | - | - | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are kept in the big box in the store. |
| Stool, Laboratory | Health | - | - | - | - |  |  |  |  |  |  |  | Not in use | These were delivered with no sitting base; they are packed in store. |
| Penguin Sucker (1; from lab) | Health | - and white top | 16 W oval shape light green shade | 1 yr | Not engraved |  |  |  |  |  |  |  | Good working condition | 3 functional; 1 non functional. |
| Fetoscope, Doppler (one; lab) | Health | AN TK-T80200 419331266 | VW400L input d.c 3.0V white with blue cover | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional. |
| Bubble CPAP (7; store lab) | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health | SN: 202201015 | TBSM | 5 yrs | Engraved with no number |  |  |  |  |  |  |  | Good working condition | DHO wants to take it to Masafu H. |
| Kangaroo Mother Care Chair | Health | GHF 125 05/221/N99 | GHF125-05/1221/N99 stainless steel | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Mothers don't use it. |
| Radiant Infant Warmer (don't have) | Health | - | - | - | - |  |  |  |  |  |  |  | - | They were delivery but the health centre don't receive. |
| Haemoglobin Meter, Sahli | Health | - | - | - | - |  |  |  |  |  |  |  | Not seen | They said they did not and it was not seen physically. |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light (1) | Health | - | Black in colour | 3 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | 1 BN kept in the store; not used. |
| Instrument set, ENT Basic for HCIII (01) | Health | - | Big brown packed | - | Not engraved |  |  |  |  |  |  |  | Good condition | Still in store. |
| Bag Valve mask (Ambu Bag), Neonatal (01) | Health | CE 0086 | Nostril Ambu max 1000ml; blue barrel; light blue case in bottle shape with plastic in the middle | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | We were told by the incharge that they are kept in the store because they don't have an ENT specialist at the facility. |
| Incubator (None) | Health | NONE | NONE | NONE | NONE |  |  |  |  |  |  |  | NOT SEEN NONE | We were told by the incharge that they didn't get the incubator. |
| Office Chair (6) | Health |  | Black leather | - | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (02) | Health | - | Cream painted with locker |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Residential Buildings - staff quarter / toilets / kitchen / store / water tanks | Health |  | Staff quarter: 2 units 2 bedrooms; toilets: 2 toilets 2 bathrooms; 2 kitchen; 2 store; water tanks: 2 ground water tanks each 5000 LTR on the stand; 2 for 10,000 LTR | 20 yrs | Construction of staff house at Sikuda UGIFT / UGIFT | 2022/23 | 2022/23 |  |  |  |  |  | Good working condition | They are functional. |
| Desk (Table 5) | Health | - | Brown varnish wooden | - | Engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Resuscitator Manual, Adult (28; store) | Health |  | 2.1 L bag white bottle form | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | Functional in labour ward and kept in the store. |
| Non Residential Buildings - pit latrine / placenta pit | Health |  | Pit latrine orange; placenta pit orange; pit latrine cream paint; pit latrine: 2 stances and 2 bathrooms for both male and female, making a total of 8 doors on the pit latrine |  | Not engraved / Engraved (cream pit latrine line) |  |  |  |  |  |  |  | Good condition | They are all in good working condition; all working. |
| Resuscitator Manual, Infant (1; store; 2 tips soft) | Health | Blue colour box with the cover base | Blue bottle white blue Ambu | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | They are kept in the store / not used. |
| Oxygen Therapy Apparatus (second; white cave bottle shape) | Health | P Z2T CHN/YL blue colour | 2.8 kg 5.4mm | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good working condition | It is functional in the labour (only 1 used; others are kept in the store). |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electric Refrigerator | Health | SN 105PRG N006539 | LG energy saving inverter compressor | 10 yrs | SIKUDA/HC III/BUSIA D.L.G |  |  |  |  |  |  |  | Good working condition | In the store from usage. |
| Humascope Classic LED (ESR Stand line crossed out; 110-250V 50-60Hz) | Health | - | Transparent glass; human brand GPC | 5 yrs | Not engraved |  |  |  |  |  |  |  | Not in use | It was supplied with no tubes; stored in the lab. |
| Autoclave 15 litres (2) | Health | AU20/A. 211 NE | Black stands and a timer | 10 yrs | Not engraved |  |  |  |  |  |  |  |  | Counted with the 20 L autoclave line above. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Busia District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 24th-Aug - 2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page reads Kassim & Wilson (hand: KASSIM / KASSIM I WILSON); supervisor contact cell is blank. Filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Verifier full name is Lydia Nakiganda & Kayongo Tonny with emails lydianakiganda3@gmail.com and tkayongo1@gmail.com (also soft near tkayongo01) and phones 0704948564 / 0783405610.

- B.P. Machine, Digital: quantity written 3; status/remarks mix height board wording with BP line (margin also Height * weight scale) - reconcile what was verified.

- B.P. Machine Digital asset power string soft (5V/500-1000mA vs 6V/300-1000mA); description 'tailored on' soft.

- Autoclave: left shows 1 × 20 L and 2 × 15 L; facing remarks say one 20 lts and another 15 ltr in ironing/laundry or store room - quantity and room wording soft.

- Bowl, Kick: heading quantity 2 vs remarks supposed to be 6 / on ground 3 only - reconcile.

- Cupboard Steel, Lockable: quantity written 10 / 11; no clear facing status/remarks paired on the right page.

- Drip Stand: status 6 not good / only 2 functional while quantity is 8 (6+2); legs or ball/base wording soft.

- ESR Stand printed line is crossed out and replaced with Humascope Classic LED; facing remarks about no tubes read more like an ESR stand - confirm which asset was found.

- Examination Couch lot code soft (GHF 70.05 vs 70.03 / H69).

- Height Meter and Otoscope: left quantities soft; facing status largely blank; margin note near Otoscope/Hb partly cut off (also readable near Haemoglobin one cannot found it).

- Patient Screen: quantity 5 vs remarks 5 functional and 2 not - reconcile; tag written Not graved.

- Patient Trolley: quantity 3 vs remarks about unit 16 with bed and 2 in OPD; 16 metallic spilled across tag/description.

- Refrigerator Basic tag cell illegible/crossed out; Electric Refrigerator serial soft (105PRG / 105PRC).

- Stethoscope: heading quantity 5 plus lines for 1 and 5 - total soft.

- Stretcher: left description I didn't see them vs facing locked and got done - confirm.

- Stove, Gas: margin one gas not found vs remarks all three functional; brand okibya/akibya soft.

- Weighing Scale Adult remarks say same as the B.P digital / only height meter works - pairing with digital BP line soft.

- Audio Visual Equipment remarks 16 in the big brown box vs Medical Waste Bin quantity 13 - confirm pairing of facing rows.

- Medical Waste Bin: remarks 4 no cover and 9 functional (also soft near 11 no cover) - reconcile with quantity 13.

- Wall Clock: quantity 4 vs status 3 good and 2 (also soft 1) non functional - reconcile.

- Pulse Oximeter facing remarks about ENT specialist / store boxes may belong to neighbouring instrument-set rows - pairing soft.

- Pediatric bed quantity soft (04 / OY).

- Cupboard, Instrument: description reads Right door cannot open (also soft near Air tit dish cannot en).

- Delivery Bed hydraulic model soft (HL-C6B / JHL-CGB); Part No. digits soft.

- Resuscitator Manual, Adult quantity 28 is unusually high - confirm.

- Oxygen Concentrator brand hand-reads CANTA / GJNTA / Olive; serial 2190006.

- Instrument Set, Delivery: margin Total 13 / 6 / store - facing says six are functional.

- Diagnostic / Hollow Ware / Instrument lot codes soft (122/NA/47 vs 122/NA/H7; 122/G06 vs 122/906).

- Penguin Sucker description reads like a light (16 W oval shape); quantity 1 vs remarks 3 functional / 1 non functional - reconcile.

- Fetoscope serial / model soft (AN/SN TK-T80200; VW400L / V Vool).

- Bubble CPAP: only quantity 7 and store lab margin filled; other cells blank.

- Delivery Bed (non-hydraulic printed line on p15/p16) left blank - no schedule line added.

- Examination light later line remarks 1 BN kept in the store not used / not work - BN soft (brand new?).

- Bag Valve mask facing remarks mention ENT specialist (may belong with ENT set line) - pairing soft.

- Ambu Bag status on facing page also readable as Not in good working condition while remarks say functional in maternity - confirm.

- Residential water-tank description ends soft after 10,000 LTR; non-residential cream pit-latrine tag Engraved without engraving text.

- No cost, recoverable cost, or depreciation figures appear on any schedule line.