ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Manafwa District |
|  | Manafwa District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NOT APPLICABLE - this facility is a school

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Manafwa District        NAME OF HEALTH FACILITY: NOT APPLICABLE - this facility is a school

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: Khabutoola

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, but they have records for science equipment and chemicals and ICT equipment only. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Not yet, because the contractor is still in the school. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No. The school is under construction. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Yes. Access to education nearer to the people, because it is the only secondary school in all the sub counties. Employment opportunities, for example the support staff. The community makes use of the multipurpose hall for village functions such as wedding meetings. Challenges: they have few classrooms yet the number is increasing; no teacher for the local language; the boys pit latrine was constructed very near the classroom. Recommendations: more classroom blocks are needed because the numbers keep on increasing and the available classrooms are not enough; they need teachers for the local language; the boys pit latrine should be constructed far away from the classroom. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Manafwa District        Name of SCHOOL: Khabutoola

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Chairs (188) | Edn |  | wooden with metallic stands |  | Engraved but not numbered |  |  |  |  |  |  |  | Not all are in good condition | 181 functional and in good shape. 7 Non functional. |
| School Tables (48) | Edn |  | wooden with metallic stands |  | Engraved but not numbered |  |  |  |  |  |  |  | 1 not in good condition | 47 functional and in use. 1 Non functional. |
| Office Tables (10) | Edn |  | wooden with metallic stands |  | Engraved, not numbered |  |  |  |  |  |  |  | good condition | 10 functional and they are used in different departments. |
| School desks (119) | Edn |  | wooden with metallic stands |  | Engraved, not numbered |  |  |  |  |  |  |  | 2 not in good condition | 117 functional and used in classrooms. 2 Non functional. |
| Sc lab stools (130) | Edn |  | wooden with metallic stands |  | Engraved, not numbered |  |  |  |  |  |  |  | 5 not in good condition | 125 functional and in use. 5 Non functional. |
| Book shelves (23) | Edn |  | wooden with metallic stands |  | Engraved but not numbered |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Manafwa District        Name of SCHOOL: Khabutoola

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computers (20) | Edn |  | Blank. Boxed. |  | Not engraved |  | 15th-01-2025 |  | Total 93,000,000 |  |  |  | good condition | Functional but they are kept in the store for safety reasons. |
| Server processor (1) | Edn |  | Boxed. |  | Not engraved |  | 15th-01-25 |  | Total 6,500,000 |  |  |  | good condition | Functional but still in the boxes. |
| Network switch 24 port (1) | Edn |  | Boxed. |  | Not engraved |  | 15th-01-25 |  | Total 1,200,000 |  |  |  | good condition | Functional but not engraved and not installed. |
| Multipurpose printer (1) | Edn | CNR545 6HH | White, hp. |  | Not engraved |  | 15th-01-25 |  | Total 5,000,000 |  |  |  | good condition | Functional and being used in the secretary's office. |
| Server UPS (1) | Edn |  | Boxed. |  | Not engraved still now |  | 15th-01-25 |  | Total 3,400,000 |  |  |  | good condition | Functional but still kept in the box, not installed. |
| Air conditioner (1) | Edn |  | Boxed. |  | Not engraved |  | 15th-01-25 |  | Total 5,500,000 |  |  |  |  |  |
| UPS (20) | Edn |  | Boxed. |  | Not engraved |  | 15th-01-25 |  | Total 5,500,000 |  |  |  | good conditions | Functional but not installed. |
| CCTV Camera | Edn |  | Boxed. |  | Not engraved |  | 15th-Jan-25 |  | Total 1,200,000 |  |  |  | good condition | Functional but not installed. |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Manafwa District        Name of SCHOOL: Khabutoola

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non Residential Building - three classroom | Edn |  | 3 classroom blocks. Each block has 2 classrooms. |  | Not engraved |  |  |  |  |  |  |  | good condition | Functional and it is being used. |
| Administration block | Edn |  | 1 H/M office, Deputy, store and the reception, staff room. |  | Not engraved |  |  |  |  |  |  |  | good condition | Functional and it is in good shape and being used. |
| Multipurpose Hall | Edn |  | 1 big main hall with compartment doors. |  | Not engraved |  |  |  |  |  |  |  | good condition | Functional and in good shape and it is being used. |
| ICT Lab and Library | Edn | Server room, Lib stores | 2 big rooms and 4 units. |  |  |  |  |  |  |  |  |  | good condition | Functional but the computers are kept and it is not installed fully. |
| Science laboratory | Edn |  | 1 big science block, each with 2 rooms and a store. |  | Not engraved |  |  |  |  |  |  |  | good condition | It is still under construction inside but they use it. The classrooms and other blocks are in good shape, well constructed, and still under construction. |
| Pit latrines - Boys pit latrine | Edn |  | 4 stances, 1 bathroom, 1 for PWDs. | - | Not engraved |  |  |  |  |  |  |  | good condition | Functional, but the H/M said it was constructed so near to the classroom. |
| Girls pit latrines | Edn |  | 4 stances, 1 changing room, 1 for PWDs. | - | Not engraved |  |  |  |  |  |  |  | good condition | Functional, in good shape and in use. |
| Staff pit latrines | Edn |  | 2 stances, 1 male and 1 female. |  | Not engraved |  |  |  |  |  |  |  | good condition | Functional and in use. |
| Water tanks | Edn |  | 1 for 10000 LTR, 1 for 5000 LTR, 1 for 3000 LTR, and an electric water pump. |  | Not engraved |  |  |  |  |  |  |  | good condition | Functional and all in use. |
| Residential building | Edn |  | 3 blocks. 2 sitting rooms each, 2 bedrooms each, 2 stores each. |  |  |  |  |  |  |  |  |  | good condition | Functional, in good shape, but they are not enough for the teachers. |
| Kitchen | Edn |  | 3 blocks, 2 units each. |  |  |  |  |  |  |  |  |  | good condition | Functional, in good shape and being used. |
| Pit latrines | Edn |  | 3 pit latrine blocks, 2 stances each, 2 bathrooms each. |  |  |  |  |  |  |  |  |  | good condition | Functional, in good shape and being used. |
| Water tanks | Edn |  | The staff quarters have no functional water tank because it is still under construction, so they use the one for the school. |  |  |  |  |  |  |  |  |  |  |  |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of the register was not among the photographed pages. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- The ICT costs are written as totals against each item and no unit price is given. Obtain the unit costs from the district.

- The facing sheet of the ICT schedule carries no item names, so its costs, dates, statuses and remarks are read against the items in the order both sheets run. Confirm the pairing with the school.

- The book shelves line carries no status or remark. Establish the condition of the twenty-three shelves.

- The air conditioner line carries no status or remark. Establish whether it is installed.

- Nothing was counted on the visit day. Count room by room and set the count against this register.