ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Tororo Municipal Council |
|  | Tororo Municipal Council |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kyamwinula HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Yes. Through using the PHC funds. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. They just mark on the inventory. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The maternity was construction and they upgrade; improve in service maternity, inpatient, ANC. Challenges: the power is not reliable and they don't have a backup energy system; the baby-warmer voltage is small / radiant; the water pump is non functional; under staff; staff quarter for 5 staff at least; lack of enough store. Recommendations: solar power systems; staff houses; greatly understaffed; store for the equipment and furniture. NB: the in-charge need the transport system for example motorcycle because other health centre in-charges received under UgIFT, which can help us in outreaches for example immunization. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Tororo Municipal Council        NAME OF HEALTH FACILITY: Kyamwinula HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (02) | Health | - | Timer black case | 5 yrs | KYAM-BPA-01-UGIFT; KYAM-BPA-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional OPD. |
| B.P. Machine (Aneroid wall mounted) (02) | Health | - | Timer and wall mounted; grey with the container | 5 yrs | KYAM-BPA-01-UGIFT; KYAM-BPA-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in labour ward. |
| Autoclave 20 Liters., Duo Operated Electric (01) | Health | 245-116/1 | Stainless steel | 5 yrs | KYAM-OCE-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional; one in use and another one in store. |
| Bowl, Kick (02) | Health | - | Stainless steel | 5 yrs | KYAM-BT-001-UGIFT; KYAM-BT-002-UGIFT |  |  |  |  |  |  |  | Good condition | Functional labour / post natal ward. |
| Bowl Stand (03) | Health | - | Stainless steel stands | 5 yrs | KYAM-BT-001-UGIFT; KYAM-BT-002-UGIFT; KYAM-BT-003-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in ANC, PNW and labour ward. |
| Counting chamber Neubauer-Improved (01) | Health | Cat. No. 1103 | Blue box; red in small tubes | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional but kept in the store. |
| Cupboard Steel, Lockable (01) | Health |  | Grey with 2 doors | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional. |
| Drip Stand (20) | Health |  | Stainless steel but blue in the middle | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | They are functional 20 in number but they are installed directly on the bed in the ward. |
| ESR Stand (01) | Health | - | - | - | Not engraved |  |  |  |  |  |  |  | Good condition | Kept in the store but functional. |
| Examination Couch (04) | Health | - | Black bed and grey handle | 5 yrs | KYAM-EB-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional injection, family planning, OPD and ANC. |
| Examination light, LED (03) | Health | - | White with touch | 5 yrs | KYAM-EL-001-UGIFT; KYAM-EL-002; KYAM-EL-003 |  |  |  |  |  |  |  | Good condition | Functional labour ward, OPD, family planning; one in the store. |
| Glucometer (04) | Health | 103k3215037 | Black with screen | 5 yrs | KYAM-GM-01-UGIFT; KYAM-GM-02; KYAM-GM-03; KYAM-GM-04 |  |  |  |  |  |  |  | Good condition | The strips are done but it is functional. |
| Haemoglobin Meter, Digital (04) | Health | - | In the big boxes | 5 yrs | - |  |  |  |  |  |  |  | Good condition | Functional; lab are kept in the store. |
| Height Meter (02) | Health | - | Ruler form; black base | 5 yrs | KYAM-HM-001-UGIFT; KYAM-HM-002-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but kept in the store. |
| Instrument Trolley (01) | Health | - | Stainless steel | 5 yrs | KYAM-T-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in labour and family planning. |
| Microscope Binocular (01) | Health | - |  | 5 yrs | KYAM-MB-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but in the store in the boxes. |
| Otoscope (02) | Health | - |  | 5 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional but kept in the store. |
| Patient Screen (04) | Health | - | Blue cloth and stainless steel | 2 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional OPD (1), labour ward (1) x 2. |
| Patient Trolley (01) | Health | - | Blue bed; stainless steel stands | 5 yrs | KYAM-TR-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and it is being used in maternity ward. |
| Refrigerator, Basic (01) | Health | - | Grey Chao; 2 doors | 10 yrs | KYAM-RD-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used. |
| Stethoscope (03) | Health | - | Stainless steel; rubber and black ball | 5 yrs | KYAM-C |  |  |  |  |  |  |  | Good condition | Functional; 2 are in use; 5 are in the store. |
| Stop Watch (02) | Health | - | In the boxes | 5 yrs | - |  |  |  |  |  |  |  | Good condition | Functional and kept in the boxes. |
| Stretcher (01) | Health | - | Black with stainless steel stand | 5 yrs | KYAM-S-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used. |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  | None | None. |
| Weighing Scale with Height Meter, Adult (04) | Health | - | White with black stand and timer | 5 yrs | KYAM-WSH-001-UGIFT; 002; 003; 004 |  |  |  |  |  |  |  | Good condition | Functional in labour, OPD, ANC and EPI. |
| Weighing Scale, Infant (02) | Health | max-20kg d-59 | White with EBIT 20; grey white in colour with baby pant | 5 yrs | KYAM-WSI-01-UGIFT; 02 |  |  |  |  |  |  |  | Good condition | 1 in use; another in store; functional. |
| Weighing Scale, Toddler (02) | Health | 13485 model NTAC |  | 5 yrs | KYAM-WSI-01-UGIFT; 02 |  |  |  |  |  |  |  | Good condition | 1 in labour functional and one in store. |
| Wheel Chair (03) | Health | - | Black with sit and wheel | 5 yrs | KYAM-WC-01-UGIFT; 02; 03 |  |  |  |  |  |  |  | Good condition | Functional and they are all being used. |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  | None | They didn't get. |
| Medical Waste Bin (03) | Health | - | Stainless steel | 5 yrs | KYAM-WB-001-UGIFT; KYAM-WB-002-UGIFT; 003 |  |  |  |  |  |  |  | Good condition | Functional being used in the labour ward, OPD and family planning. |
| Wall Clock (05) | Health | 75818 | White surface with number and black at the back | 5 yrs | KYAM-WC-01-UGIFT; KYAM-WC-02-UGIFT; 03; 04; 05 |  |  |  |  |  |  |  | Good working condition | Functional and are being used in different department. |
| Diagnostic Equipment Set for MCH | Health |  |  |  |  |  |  |  |  |  |  |  | N/A | None. |
| Diagnostic Equipment Set for OPD (02) | Health | ISO 13485 | Stainless steel DG-OPD | 5 yrs | KYAM-DES-01-UGIFT; 02 |  |  |  |  |  |  |  | Good condition | Functional and they are used in OPD. |
| Glassware Set, Laboratory, Basic (Box 2) | Health | - | They were in the boxes | 5 yrs | - |  |  |  |  |  |  |  | Good condition | They are still packed in the box. |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  |  |  |  |  |  |  | None | None. |
| Instrument Set, Dressing (02) | Health | - | Stainless steel | 5 yrs | KYAM-DS-01-UGIFT; KYAM-DS-02 |  |  |  |  |  |  |  | Good condition | Functional but one is kept in the store. |
| Instrument Set, Basic ENT (02) | Health | - | Stainless steel | 5 yrs | KYAM-ENT-01-UGIFT; KYAM-ENT-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional; 1 is in the store and another in use. |
| Instrument Set, Suture | Health |  |  |  |  |  |  |  |  |  |  |  |  | None. |
| Pulse Oximeter, Hand held (03) | Health | - | White with screen input | 5 yrs | KYAM-WO-01-UGIFT; KYAM-WO-02-UGIFT; 03 |  |  |  |  |  |  |  | Good condition | Functional; 2 are kept in the store; one is being used. |
| Bed, Adult Patient with Mattress (20) | Health | - | Black with grey steel stands and handles | 10 yrs | KYAM-AB-001-UGIFT through KYAM-AB-020-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and they are all being used in post natal and labour department. |
| Bed, Pediatric Patient, With Mattress (05) | Health |  | Black bed with white handle and stands | 10 yrs | KYAM-PB-001-UGIFT; KYAM-PD-002-UGIFT; KYAM-PD-003-UGIFT; KYAM-PD-004-UGIFT; KYAM-PD-005-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used. |
| Bedside Locker | Health |  |  |  |  |  |  |  |  |  |  |  | None | They did not received them. |
| Cupboard, Instrument (01) | Health | - | Metallic with glass front in brownish colour | 10 yrs | KYAM-IC-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used in the wards. |
| Delivery Bed, Hydraulic Manual (02) | Health | - | Blue bed with black metal handles | 5 yrs | KYAM-DB-001-UGIFT; KYAM-DB-002-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and used in labour. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health |  |  |  |  |  |  |  |  |  |  |  | None | None. |
| Resuscitator Manual, Infant, with all Mask sizes (18) | Health | - | White colourless rubber bottle | 3 yrs | KYAM-RM-001-UGIFT through 018 |  |  |  |  |  |  |  | Good condition | Functional; 2 labour; other in store. |
| Resuscitator Manual, Adult, with all mask sizes (18) | Health |  | Colourless rubber |  | KYAM-RM-001 through 018 |  |  |  |  |  |  |  | Good condition | Functional but in the store. |
| Suction Apparatus, (Electric) (02) | Health | 25011300135 | Yuwell 7A-23B glass bottles | 5 yrs | KYAM-ESA-01-UGIFT; KYAM-ESA-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but in the store. |
| Nebulizer, Ultrasonic (02) | Health | 20250331; 22050505 |  | 5 yrs | KYAM-UN-01-UGIFT; KYAM-UN-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but in the store. |
| Oxygen Concentrator, Duo Flow (04) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Functional but kept in store because they no need at moment. |
| Bench (04) | Health | - | Brown wooden with black metallic stands | 5 yrs | KYAM-B-001; KYAM-B-002; KYAM-B-003; KYAM-B-004 |  |  |  |  |  |  |  | Good condition | Functional and being used in the family planning / breathing room. |
| Disinfection Buckets (06 red; 06 white) | Health |  | White in colour |  | KYAM-RM-01-UGIFT through KYAM-RM-06-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in labour ward but the red disinfection buckets are kept in the store. |
| Baby Cot (02) | Health | 250280879 | Black and blue bed with handles and stainless steel stands attached to the radiant warmer | 5 yrs | KYAM-NB-001-UGIFT; KYAM-NB-002-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and its used in the patient wards. |
| Diagnostic Equipment Set for Ward (01) | Health | No bias | White container with blue handles | 5 yrs | KYAM-DES-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but kept in the store. |
| Hollow Ware Set, Ward (01) | Health | - | Stainless steel | 5 yrs | KYAM-HWS-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional kept in the store. |
| Instrument Set, Delivery (05) | Health | - | Stainless steel | 5 yrs | KYAM-IS-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but 2 are in the store. |
| Instrument Set, Stitch Removing | Health |  |  |  |  |  |  |  |  |  |  |  | None | None; they didn't receive. |
| MVA Kit (03) | Health |  |  |  | KYAM-MVA-01-UGIFT; KYAM-MVA-02-UGIFT; KYAM-MVA-03-UGIFT |  |  |  |  |  |  |  | Good condition | Functional but 2 are kept in the store. |
| Stool, Laboratory (02) | Health | - | Black and blue sit and stainless steel handles | 5 yrs | KYAM-LL-001-UGIFT; KYAM-LL-002-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in the laboratory. |
| Penguin Sucker (06) | Health | - | Clear / all rubber in penguin shape | 5 yrs | Not engraved |  |  |  |  |  |  |  |  | In use functional but kept. Not engraved because they had no hope to engrave it. |
| Fetoscope, Doppler (02) | Health | model JPD-100B | White with blue cover and touch |  | KYAM-FD-01-UGIFT; KYAM-FD-02-UGIFT |  |  |  |  |  |  |  |  | In use functional - labour and other kept in the store. |
| Bubble CPAP (02) | Health | - | Blue rubber tube and light green cover |  | Not engraved |  |  |  |  |  |  |  | Good condition | Functional but kept in the store. |
| Centrifuge (Electric) (01) | Health | model LC-04A | Light blue on top and white at bottom | 5 yrs | KYAM-CE-01-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used in the lab. |
| Kangaroo Mother Care Chair (01) | Health | - | Brownish and strong | 5 yrs | KYAM-KMC-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used. |
| Radiant Infant Warmer (01) | Health | 250280379 | BRW-300B 1000VA | 5 yrs | KYAM-RIW-01-UGIFT |  |  |  |  |  |  |  | Not in good condition | The power stabilizer was burnt from the voltage unit of the radiant infant warmer. |
| Haemoglobin Meter, Sahli (01) | Health | - | Box in the store | 5 yrs | - |  |  |  |  |  |  |  | Good condition | Functional but still packed in its box kept in the store. |
| Delivery Bed | Health |  |  |  |  |  |  |  |  |  |  |  | None | None. |
| Examination light (02) | Health | - | White but installed | 5 yrs | - |  |  |  |  |  |  |  | Good condition | Functional. They have them but the installed they do not have a separate area. |
| Instrument set, ENT Basic for HCIII (02) | Health | - | Stainless steel | 5 yrs | KYAM-ENT-001-UGIFT |  |  |  |  |  |  |  | Good condition | Functional. It is being used and another in the store. |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  |  |  |  |  |  |  |  |  |  |  | None | They did not received them. |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  | None | They didn't receive it. |
| Office Chair (04) | Health | - | Black in colour; black sit and stainless handles | 10 yrs | KYAM-OC-001-UGIFT; KYAM-OC-002-UGIFT; KYAM-OC-003-UGIFT; KYAM-OC-004-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and are used in different offices. |
| Desk (03) | Health | - | Wooden brown with metallic stand | 10 yrs | KYAM-TB-001-UGIFT; KYAM-TB-002-UGIFT; KYAM-TB-003-UGIFT |  |  |  |  |  |  |  | Good condition | Functional and used in OPD and other department. |
| Filing Cabinet (02) | Health | - | Grey colour and metallic | 5 yrs | KYAM-FC-001/UGIFT; KYAM-FC-002/UGIFT |  |  |  |  |  |  |  | Good condition | Functional and being used in OPD / MCH. |
| Non Residential Buildings | Health |  | 1 placenta pit; maternity building - block with waiting and post natal room; pit latrine yellowish and brown - latrine 4 stance / 1 waste / 4 bathroom stance; water tanks: 2 tanks Gandex 10,000 LTR each; 1 tank 3,000 LTR; functional but the water pump got spoiled to pump water in the big tanks | 20 yrs | RAK-BOLD EDGE IV (maternity); Not engraved (latrine) |  |  |  |  |  |  |  | Good condition | Functional and commissioned. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff quarter; 1 block with 2 units | Health |  | 1 block with each with 2 units; toilets - 2 toilets each unit; 2 bathroom in each unit; water tank - 1 x 5,000 LTR; 2 × 1,000 LTR | 20 yrs | Not engraved |  |  |  |  |  |  |  | Good condition | Functional. |
| Cupboard with glass (03) | Health | - | Brown with white doors | 5 yrs | KYAM-LC-002-UGIFT; KYAM-LC-003-UGIFT |  |  |  |  |  |  |  | Good condition | Functional in OPD. |
| Autoclave, Gas (01) | Health | - | Stainless steel | 5 yrs | KYAM-OCE-02-UGIFT |  |  |  |  |  |  |  | Good condition | Functional; one in use and another one in store. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Tororo Municipal Council        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Tororo Municipal Council        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Tororo Municipal Council        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy reads about 28th-08-2026; year digits are soft (also readable as 2023 or 2024). Structured output leaves it blank per RULES.md 3.15.

- Cover Local Government is TORORO L.G.; checklist header is TORORO M.C. Structured LG set to Tororo Municipal Council.

- Supervisor on the page is Kassim & Wilson with contacts 0702506116 / 0783230321; first contact may be 0702806116. Filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Autoclave tags read KYAM-OCE-01 / KYAM-OCE-02 (also soft as OLE); asset 245-116/1 (or 245-116A). Facing remarks cover both electric and gas units together.

- B.P. Digital and B.P. Aneroid share the same KYAM-BPA-01 / 02 tag series on the page - confirm engraving.

- Bowl, Kick and Bowl Stand both use KYAM-BT-00x tags - tag collision; confirm.

- Cupboard Steel, Lockable margin quantity reads near -1 (taken as 01); Cupboard with glass shows margin 3 and 4 with tags LC-002 and LC-003 only (no LC-001) - reconcile quantity.

- Counting chamber: second line scribbled; quantity taken as 01 after a struck 2; description mixes blue box / red in small tubes.

- Glucometer asset number soft: 103k3215037 (also readable 103k3215c37). Facing remarks read as 'The strips are done but it is functional.'

- Haemoglobin Meter, Digital: quantity 04; tag blank (-); remarks about lab / store.

- Instrument Trolley: margin quantity 01 but item name written twice; facing places it in labour and family planning - confirm count.

- Examination Couch: only tag KYAM-EB-001 written for quantity 04.

- Stethoscope: quantity 03 (written over 8) but remarks say 2 in use and 5 in the store - reconcile. Tag incomplete (KYAM-C).

- Weighing Scale Toddler tags reuse KYAM-WSI (same series as Infant) - confirm.

- Wall Clock and Wheel Chair both use KYAM-WC-0x - tag collision; confirm.

- Audio Visual Equipment: None / they didn't get (facing also near 'They didn't get 16').

- Diagnostic Equipment Set for MCH: None / N/A across the row.

- Instrument Set, Suture: None / 0 in margin.

- Pediatric bed tags mix KYAM-PB-001 with KYAM-PD-002..005 - confirm prefix.

- Resuscitator Infant and Adult both carry KYAM-RM-001 through 018 style tags and quantity 18 each - confirm counts and engraving; Adult margin also reads Store 18.

- Oxygen Concentrator, Duo Flow: four units listed; description, life and tag blank on the page.

- Suction Apparatus / Nebulizer asset strings partly soft (25011300135; 20250331; 22050505).

- Disinfection Buckets: margin notes 6 red and 6 white but only six KYAM-RM-0x tags written; RM prefix also used for resuscitators - confirm.

- Instrument Set, Delivery: quantity 05 but only KYAM-IS-01 clearly tagged.

- Diagnostic Equipment Set for Ward asset cell reads 'No bias' - confirm.

- Baby Cot asset 250280879 close to Radiant Infant Warmer asset 250280379 - confirm.

- Penguin Sucker: status cell blank; remarks include not engraved because they had no hope to engrave it (wording soft).

- Fetoscope / Bubble CPAP: life blank on the page.

- Examination light (later schedule line): entries filled and None also appears nearby - kept as found / installed.

- Instrument set, ENT Basic for HCIII: second tag KYAM-ENT-002 crossed out while quantity / facing still imply two units.

- Non Residential Buildings: tag RAK-BOLD EDGE IV on maternity line is unusual - confirm. Water-tank notes appear under both residential and non-residential freehand blocks.

- No purchase/service dates, cost or depreciation figures on schedule lines; left blank per RULES.md 5.