# Kyamwinula HC III - facility report

# 1. Identification

| Facility | Kyamwinula HC III |
| --- | --- |
| Named on the programme list | Kyamwinula HCII |
| Type | Health centre |
| Local government | Tororo Mc District |
| Region / sub-region | Eastern / Bukedi |
| Date of visit | 2026-08-28 |
| Team members present | Kayongo Tonny, Lydia Nakiganda |
| Informant interviewed | None recorded |
| Supervisor | Kassim Luminsa |
| Supervisor's contact | +256 702 806116 |
| Date of submission |  |

# 2. Entry

The team reached this facility on 28 August in Tororo Municipal Council. A hand-filled register naming Kyamwinula HC III is on file together with 110 photographs. Nobody is named as having received the team.

# 3. Condition and status

The four things the exercise exists to establish. Only what was established on site appears here; the rest is marked as not reported, not guessed.

| Dimension | What was established on site |
| --- | --- |
| Ownership | Not reported. |
| Functionality | Established on the hand-filled register. Blood pressure machines carry KYAM-BPA tags and an autoclave carries KYAM-OCE-01-UGIFT. |
| Usage / performance | Partly established. The informant says maternity service improved but power is unreliable, the baby warmer voltage is low, the water pump is not functional and staffing is low. |
| Location | Recorded on the register and shown in photographs of the maternity ward, OPD, store and water tanks. |

# 4. Supplied against found

The hand-filled register is the found side and nothing was counted on the day.

# 5. Engraving and identification

Several items carry KYAM- series tags on the register, the first numbered marking seen in this team's work.

# 6. Obsolete, unserviceable or for disposal

Nothing on the register was named for disposal.

# 7. Operation and maintenance

The discussion guide was answered. The facility holds a record, marks breakdowns on its inventory, and asks for solar power, staff houses and transport.

# 8. Queries

Nothing here was counted on the day.

Ownership was not established.

The programme list carries Kyamwinula HCII and the register names level III.