ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Manafwa District |
|  | Manafwa District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bukimanayi HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift PHC funds to do repair and maintenance for the building. Other equipment are still in good condition. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, they use an asset register. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Patient enrollment has greatly improved; the numbers have more than double. Improved access to medical services in the area. Services offered have improved greatly. Challenges: insecurity of the facility since it is not fenced; the community vandalises the assets like water access points; the access route is impassable especially during the rainy season; the facility lacks a standard laboratory. Recommendations: fencing of the facility to improve on the security of the facility; improvement on the access route to the facility; construction of a standardised laboratory. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Manafwa District        NAME OF HEALTH FACILITY: Bukimanayi HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (02) | Health | - |  |  |  |  |  |  |  |  |  |  | Good condition | 2 in use. 2 redistributed to Bugobero HC IV. |
| B.P. Machine (Aneroid wall mounted) (02) |  |  | HONSUN white & black screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use, one and another redistributed to Bugobero HC IV. |
| Autoclave 20 Liters., Duo Operated (01) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not received. In use. |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. All redistributed to Bugobero HC IV. |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. Redistributed to Bugobero HC IV. |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero (2). Redistributed to Bugobero HC IV. |
| Cupboard Steel, Lockable (03) | Health |  | 2 are off white with glass on the door and one grey with no glass |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use at the facility. |
| Drip Stand (08) |  |  |  |  |  |  |  |  |  |  |  |  |  | All redistributed. All were redistributed to Bugobero HC IV. |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. This was not received. |
| Examination Couch (02) | Health |  | Black mattress and off-white bed |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Examination light, LED (01) | Health |  | White stand with a LED light bulb |  | Not engraved |  |  |  |  |  |  |  | Good condition | Still in store not in use. 2 pcs struck; 1 pc seen. |
| Glucometer (01) | Health |  | ONE TOUCH Select Simple |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Haemoglobin Meter, Digital (01) | Health |  | White and grey screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Height Meter (01) | Health |  | Stainless stand with blue |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use in the lab. |
| Instrument Trolley (02) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use at OPD. |
| Microscope Binocular (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Otoscope (01) | Health |  | Black & stainless steel head |  | Not engraved |  |  |  |  |  |  |  | Good condition | Still in store; they have a similar brand in use. |
| Patient Screen (06) | Health |  | Blue with stainless steel stands |  |  |  |  |  |  |  |  |  | Good condition | In store. |
| Patient Trolley | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. This is not physically seen at the facility. |
| Refrigerator, Basic (01) | Health |  | CHiQ |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Stethoscope (04) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero IV. All redistributed to Bugobero HC IV. |
| Stop Watch (02) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. Redistributed to Bugobero HC IV. |
| Stretcher (01) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero HC IV. |
| Stove, Gas (01) | Health |  | Gas |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. In store, gas plate. |
| Weighing Scale with Height Meter, Adult (02) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero Health Centre IV. |
| Weighing Scale, Infant (02) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. Redistributed to Bugobero. |
| Weighing Scale, Toddler (02) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero. |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. The facility had other wheel chairs. The incharge is not sure whether it was redistributed. |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Medical Waste Bin (06) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | 2 redistributed; 4 are in use. |
| Wall Clock (02; 02 redistributed) | Health |  | QUARTZ white with glass screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use 2 and 2 redistributed to Bugobero HC IV. |
| Diagnostic Equipment Set for MCH (2 sets) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen during verification. |
| Diagnostic Equipment Set for OPD (01 seen) |  |  |  |  |  |  |  |  |  |  |  |  |  | One in store; one redistributed. |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen during verification. |
| Hollow Ware Set, Treatment (03 sets) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | Still in store. |
| Instrument Set, Dressing (01 set-seen) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | 01 redistributed. All in store. 2 redistributed to Bugobero. |
| Instrument Set, Basic ENT (03) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  |  | Not seen during verification. |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (02) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | Seen. In store 01; 1 redistributed to Bugobero HC IV. |
| Bed, Adult Patient with Mattress (10) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. All redistributed to Bugobero Health Centre four. |
| Bed, Pediatric Patient, With Mattress (05) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. All redistributed to Bugobero HC IV. |
| Bedside Locker (04) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Cupboard, Instrument (01) | Health |  |  |  |  |  |  |  |  |  |  |  |  | In use at chronic care. |
| Delivery Bed, Hydraulic Manual (01) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. All redistributed to Bugobero Health IV. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  | All redistributed to Bugobero Health IV. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  | All redistributed to Bugobero Health IV. |
| Resuscitator Manual, Adult, with all mask sizes (01) |  |  |  |  |  |  |  |  |  |  |  |  |  | All redistributed to Bugobero Health IV. |
| Suction Apparatus, (Electric) (02) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. Redistributed to Bugobero HC IV. |
| Nebulizer, Ultrasonic (01) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. Redistributed to Bugobero HC IV. |
| Oxygen Concentrator, Duo Flow (01) | Health |  | Still in a box |  |  |  |  |  |  |  |  |  |  | Only one seen. Redistributed to Bugobero; one in store. |
| Bench (04) | Health |  | Metallic frame with timber |  | Not engraved |  |  |  |  |  |  |  | Good condition | Only 3 seen. All in use; one redistributed. |
| Disinfection Buckets (06) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Baby Cot (05) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in use; 4 redistributed to Bugobero HC IV. |
| Diagnostic Equipment Set for Ward (01 seen) |  |  |  |  |  |  |  |  |  |  |  |  | Good condition | In store. |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (02) | Health |  | Stainless steel casing |  |  |  |  |  |  |  |  |  | Good condition | All in store. |
| Instrument Set, Stitch Removing (03) |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. Not seen during verification. |
| MVA Kit (01) | Health |  | Transparent casing with a big syringe like instrument |  |  |  |  |  |  |  |  |  | Good condition | In store; the facility has additional 3 from other sources. |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (01; 03) | Health |  | Black |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. One in use; good in store. |
| Fetoscope, Dopplar | Health |  | Grey |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; one redistributed. |
| Bubble CPAP (02; 01 green) | Health |  | White in a blue box |  | Not engraved |  |  |  |  |  |  |  |  | Redistributed. Redistributed to Bugobero. |
| Centrifuge (Electric) (01) | Health |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed to Bugobero. |
| Kangaroo Mother Care Chair (01) |  |  |  |  |  |  |  |  |  |  |  |  |  | Locked up not seen. Not seen during verification. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not delivered at the facility. |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. This wasn't delivered at the facility. |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  | Received only LED. |
| Instrument set, ENT Basic for HCIII (03) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. Not seen during verification. |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | Redistributed. Redistributed to Bugobero HC IV. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Office Chair (07) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Only 3 were physically verified. 3 are in use; 4 redistributed to Bugobero. |
| Desk / Table (03) | Health |  | Metallic frame with smooth timber table surface |  | Not engraved |  |  |  |  |  |  |  | Good condition | Only one was physically verified. One in use; two redistributed. |
| Filing Cabinet (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in use. One redistributed to Bugobero HC IV. |
| Non Residential Buildings | Health |  | Pit latrines 01 block, 1 placenta pit; 4 stances and 4 bathrooms. The facility received a block of pit latrine of 4 stances, 4 bathrooms for male and female patients. There is also a placenta pit constructed and a decomposition pit. |  |  |  |  |  |  |  |  |  | Good condition | All in good use. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received under UgIFT. There is one block of two units that was constructed under another funding program. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Manafwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Manafwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Manafwa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 03/09/2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page is Kassim Sekajja / Wasswa Wilson with contacts 0702806116 / 0783230321; filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Verifier on the page is Kayongo Tonny (tkayongo1@gmail.com 0783405610).

- The programme list carries Bukimanayi HC II; the toolkit cover and discussion-guide heading read Bukimanayi HC III. Facility is recorded as Bukimanayi HC III; the level difference is not corrected on the schedule.

- B.P. Machine, Digital (02): left writes 02 Received / 2 in use; facing 2 redistributed to Bugobero HC IV - does not reconcile use vs redistribution.

- Autoclave 20 Liters (01): left writes Not Received with stainless steel / Not engraved filled; facing Good condition / In use - contradictory.

- Examination light, LED: 2 pcs struck to 1 pc seen; facing Still in store not in use.

- Instrument Trolley (02): one crop reads Engraved; transcribed Not engraved from the full left page - confirm.

- Microscope Binocular (01): description and tag blank; facing All in use for quantity 01.

- Patient Screen (06): tag blank on the page.

- Stove, Gas: quantity written 01 Gas; facing In use and In store, gas plate - pairing soft.

- Weighing Scale, Infant (02): left Not seen; facing Redistributed to Bugobero - both kept.

- Wheel Chair: quantity written 0 / Not seen; margin The facility had other wheel chairs; facing the incharge is not sure whether it was redistributed.

- Wall Clock: left 02 and 02 Redistributed; facing Not in use 2 and 2 redistributed to Bugobero HC IV.

- Diagnostic MCH (2 sets): sets may be struck through; facing Not seen during verification.

- Diagnostic OPD (01 seen): facing One in store / One redistributed does not match quantity 01.

- Instrument Set, Dressing: margin 01 redistributed; left 01 set-seen; facing All in store / 2 redistributed to Bugobero - soft.

- Instrument Set, Basic ENT (03): facing Not seen during verification while left fills Health / Not engraved.

- Pulse Oximeter: margin In stock / not seen struck; kept as seen with facing In store 01 / 1 redistributed.

- Bed, Pediatric (05): quantity continues at top of p11 (form p12) with Redistributed; folded into the pediatric line.

- Cupboard, Instrument (01): facing pairing soft between Not seen and In use at chronic care; transcribed chronic care.

- Delivery Bed / Oxygen Therapy / both Resuscitators: bracket All redistributed to Bugobero Health IV.

- Oxygen Concentrator (01): Only one seen / still in a box; facing Redistributed to Bugobero, one in store - soft.

- Bench (04): Only 3 seen; facing All in use, one redistributed.

- Baby Cot (05): facing One in use / 4 redistributed to Bugobero HC IV.

- Hollow Ware Set, Ward and Stool, Laboratory: no handwriting; skipped.

- MVA Kit: quantity 08 struck to 01; remarks additional 3 from other sources.

- Penguin Sucker: quantity written 01 and 03 on successive lines; facing In use / One in use / Good in store - reconcile.

- Fetoscope / Bubble CPAP: left-column pairing of 02, 01 green and White in a blue box is soft between the two printed names; Bubble CPAP also marked Redistributed.

- Examination light (later line): Received only LED on the left; no clear facing quantity - LED examination lights may duplicate the earlier LED line.

- Office Chair (07): Only 3 were physically verified; facing 3 in use, 4 redistributed to Bugobero.

- Desk / Table (03): Only one was physically verified; facing One in use, two redistributed.

- Filing Cabinet (01): facing One in use / One redistributed to Bugobero HC IV does not match quantity 01.

- Residential Buildings: Not received under UgIFT; freehand note of one block of two units under another funding program.

- No asset number, life, purchase/service dates, cost or depreciation on most lines; left blank per RULES.md 5.