ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Namisindwa District |
|  | Namisindwa District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NOT APPLICABLE - this facility is a school

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Namisindwa District        NAME OF HEALTH FACILITY: NOT APPLICABLE - this facility is a school

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: Namboko

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The school is still under defect and maint liability period. in other words the contactor come and repair / replace |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | NO. They are still under defect liability period. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The ugift has Improved Edn service provided as the material. Challenges: lack fencing. Inadequate Science materials. Recommendations: The dministrators should come early enough & commissioning should be done early. Fencing of the school to avoid Insecurity |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Namisindwa District        Name of SCHOOL: Namboko

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sch. Chairs (229) | Edn |  | wooden with metallic stand. |  | some are engraved but not numbered |  | 23rd-10-23 |  |  |  |  |  | good condition | 229 chairs but 17 Non functional the other functional and they were seen. |
| Office tables with desk. (13) | Edn |  | wooden with metallic stand |  | labelled |  | 23rd-10-23 |  |  |  |  |  | Good Condition | in different blocks |
| Desks (118) | Edn |  | wooden with metallic stand |  | labelled |  | 23rd-10-23 |  |  |  |  |  | Good Condition | 118 functional physically counted. |
| Laboratory stool (119) | Edn |  | wooden with metallic handle |  | labelled. |  | 23rd-10-23 |  |  |  |  |  | good condition | 119 physically counted 2 broken |
| Tables (37) | Edn |  | wooden with metallic handle |  | Not engraved |  |  |  |  |  |  |  | good condition | 37 physically counted functional in good use. |
| Book Shelves (28) | Edn |  | wooden with metallic handle |  | labelled |  | 23rd-10-23 |  |  |  |  |  | good condition | 28 functional In good shape. |
| Public Address system | Edn |  | 2 tops speaker 2 base speakers + mixer box |  | Not engraved |  | 23rd-10-25 |  |  |  |  |  | good condition | functional in but stored in deputy's office. |
| generator (1) | Edn |  | Red + grey handle fashion series. |  | Not engraved |  | 10-25 |  |  |  |  |  | good condition | functional in secretary office. |
| Fire extinguishers (4) |  |  | Red with black handle 2 powder 2 carbondoxide |  | Not engraved |  | 10-25 |  |  |  |  |  | good condition | functional but not in use. |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Namisindwa District        Name of SCHOOL: Namboko

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computers | Edn |  | Black Dell with Black Screen |  | Not engraved |  | 23rd-10-25 |  |  |  |  |  | Good condition | 11 functional in the computer 1 in the secretary office 8 monitors stolen cpu stolen were 14 6 functional in the computer room. |
| UPS (20) | Edn |  | Black colour Unomat Internatl |  | Not engraved. |  | 23rd-10-25 |  |  |  |  |  | good condition | 19 functional 1 in the secretary office. |
| projector (1) | Edn | MRJA11002511 00EB98410 | Acer Black |  | Not engraved |  | 23rd-10-25 |  |  |  |  |  | good condition | functional but kept in the deputy office. |
| Air conditioners & its processor (2) |  |  | Big boxes |  | Not engraved |  | 23rd-10-25 |  |  |  |  |  | good condition | functional but kept in the store |
| camera CCTV. (1) | Edn |  | white with black Screen |  |  |  |  |  |  |  |  |  | good condition | Camera functional but CCTV non functional but they are all in good condition. |
| Server processor (1) | Edn |  | Not seen |  | Not seen |  |  |  |  |  |  |  |  | The server processor is not seen. I was told by the H/M through the ICT teacher that it one of the things that were maybe stolen. |
| Server (1) | Edn | 03556-070 / 160-084 | Black Dell Intel core |  | Not engraved |  | 23rd-10-25 |  |  |  |  |  | good condition | functional in the server room. |
| Network switch 24 port | Edn |  | white wire and Black |  | Not engraved |  |  |  |  |  |  |  | good condition | functional in the server room. |
| Multipurpose printer. | Edn |  | HP Printer HP LaserJet pro. MFP 4103dw. |  | Not engraved |  |  |  |  |  |  |  | good condition | functional in the secretary's office. |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Namisindwa District        Name of SCHOOL: Namboko

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non Residential Buildings |  |  | 3 classroom block. 2 classroom block. wall mounted cupboard + open shelves |  | Labelled |  | 10-25 |  |  |  |  |  | good condition | functional clean and in good use |
| Administration Block. | Edn. |  | H/M, Reception, Deputy, store / secretary. |  | Labelled |  |  |  |  |  |  |  | good condition | functional clean and in good used. |
| science laboratory. | Edn |  | 2 big room, 2 unit store |  | Labelled / Not engraved. |  | 10-25 |  |  |  |  |  | good condition | functional and good use. |
| Library + ICT lab. |  |  | Library, ICT lab. |  | Not engraved |  |  |  |  |  |  |  | good condition | functional but ICT Lab is so dirt and computers are not covered and very disorganized |
| Multi Purpose Hall |  |  | 3 compartment. |  | Not engraved |  | 10-25 |  |  |  |  |  | good condition | functional and in good shape. |
| pit latrines. |  |  | Girls: 1 changing room, 4 stance, 1 stance for PWD. Boys: 4 stance, 1 stance for PWD, 1 bathroom. |  | Not engraved |  | 10-25 |  |  |  |  |  | good condition | functional in good shape. |
| Staff pit latrine. |  |  | 2 stance female / male. 2 sta |  |  |  |  |  |  |  |  |  |  |  |
| Water tanks |  |  | 1 for 10000 LTR. 1 for 3000 LTR. with 1 water pump |  | Not engraved |  | 5th/10-23 |  |  |  |  |  | good condition | functional and good use. |
| Residential staff quarter. |  |  | 3 block, 2 unit each each, 2 bedrooms + sitting room store. |  | Not engraved |  |  |  |  |  |  |  | good condition | functional and good use. |
| Pit latrine |  |  | 3 block, 2 stances, 2 bathroom Each |  | Not engraved |  |  |  |  |  |  |  | good condition | functional and in good shape. |
| Kitchen |  |  | 3 block, 2 unit each. |  | Not engraved |  |  |  |  |  |  |  | good condition | functional and in good shape - |
| water tanks Not seen |  |  | 5000 LTR |  | Not engraved |  |  |  |  |  |  |  | good condition | There was one functional but in btn laboratory classroom block 5000LTR. |

OUTSTANDING ON THE HAND-FILLED COPY

- The cover block of this copy was not photographed.

- The cover block of the register was not among the photographed pages. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- Cover / verifier block was not among the eleven photographed pages - VERIFIER_ON_PAGE / supervisor-on-page unfilled; date of submission left blank (RULES 3.15). Guide top margin reads 23rd-oct-2025 - recorded as date_on_page only.

- No sub-region is written on the photographed pages; SUBREGION set to Bugisu per assignment. p.37 buildings left page writes NAMWINDWA DISTRICT while other pages write NAMISINDWA DISTRICT.

- Guide Q2 opens with a scribbled Yes above the defect-liability answer - kept as the maintenance string only.

- Guide Q3: Yes circled in the box with No below; YES crossed out in the answer area - transcribed as NO with defect-liability note.

- Guide recommendations spell dministrators / contactor / maint - kept as written.

- Office tables date placed in service 23rd-10-23; remarks in different blocks - confirm pairing with the 13 office tables line.

- Tables (37): no date placed in service on the facing page.

- Public Address / generator / fire extinguishers appear on p.33 after the ICT pages - listed under FURNITURE as equipment lines; confirm schedule.

- Desktop computers: no quantity in the left margin; remarks cite 11 functional, 8 monitors stolen, cpu stolen were 14, 6 functional in computer room - reconcile totals.

- UPS margin 20; remarks 19 functional + 1 in secretary office.

- Projector asset reads near MRJA11002511 00EB98410 / MRJNA 11002511 - confirm digits.

- Air conditioners & its processor margin 2; description Big boxes only.

- CCTV tag cell blank on the left page.

- Server processor not seen on site; long stolen-item note on p.32.

- Server asset 03556-070 / 160-084; Intel core description split over lines on page.

- Network switch / multipurpose printer: dates mostly blank on p.34; secretary's vs secretary office wording varies.

- Non Residential Buildings / Administration split across item rows on p.35 - transcribed as separate lines.

- Staff pit latrine description ends 2 sta (cut off at page foot).

- Residential water tanks p.37 Not seen note written across columns for 5000 LTR line; p.38 remark mentions btn laboratory classroom block.

- No cost, recoverable cost, date of purchase, life, or depreciation figure appears on any schedule line.