ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | MARACHA |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …AJIKORO HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

ONLY THE FRIDGE IS MAINTAINED BY THE DISTRICT

ALL OTHER ASSETS ARE NOT MAINTAINED BY GOVERNMENT FUNDS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

YES, RECORDS ABOUT FUNCTIONALITY ARE KEPT

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

GAINS; EQUIPMENT SUPPLIED EASE WORK AND TREATMENT ACCESS

CHALLENGES

WRONG PERSONNEL ARE TRAINED TO USE THE MACHINES

SOMETIMES NO TRAINING IS PROVIDED

RECOMMENDATIONS

DELIVER ASSETS AT THE RIGHT TIME

CONTINUOUS SUPPORT

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……MARACHA …………………………………… NAME OF HEALTH FACILITY…AJIKORO HEALTH CENTER III………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number ( Engrave No.) | Date Of Purchase | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid Wall Mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | Health |  | 1 Autoclave In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 25/05/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting Chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  | 2 Steel Cupboard In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved |  | 20/6/23 |  |  |  |  |  | Good | 2 In Use |
| Drip Stand | Health |  | 5 Drip Stands In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved |  | 20/6/23 |  |  |  |  |  | Good | 5 In Use |
| Esr Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Health |  | 1 Examination Couch In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved |  | 20/6/23 |  |  |  |  |  | Good | 1 In Use |
| Examination Light, Led |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | Health |  | 2 Instrument Trolleys In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved |  | 20/6/23 |  |  |  |  |  | Good | 2 In Use |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  | 4 Patient Screens In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/06/2023 |  |  |  |  |  |  | Fair | 2 Broken 2 In Use |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | Health |  | 1 Stove Gas In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Weighing Scale With Height Meter, Adult | Health |  | 1 Adult Weighing Scale With Height Meter In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/05/2023 |  |  |  |  |  |  | Good | I In Use |
| Weighing Scale, Infant | Health |  | 1 Infant Weighing Scale In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Health |  | 1 Wheel Chair In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set For Mch | Health |  | 1 Diagonistic Equipment Set For Mch In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved |  |  |  |  |  |  |  | Good | 1 In Use |
| Diagnostic Equipment Set For Opd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 Dressing Instrument Sets In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/07/2023 |  |  |  |  |  |  | Good | 2 In Use |
| Instrument Set, Basic Ent |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand Held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Health |  | 6 Bedside Lockers In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/06/2023 |  |  |  |  |  |  | Good | 2 Broken 4 In Use |
| Cupboard, Instrument | Health |  | 1 Instrument Cupboard Set In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/062023 |  |  |  |  |  |  | Good | I In Use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45l Cylinder | Health |  | 2 Oxygen Therapy Apparatus In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 2 In Use |
| Resuscitator Manual, Infant, With All Mask Sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, With All Mask Sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health |  | 1 Sunction Apparatus In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Nebulizer, Ultrasonic | Health |  | 1 Nebulizer Ultrasonic In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 15/06/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set For Ward | Health |  | 1 Ward Diagonistic Equipment Set In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/07/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Hollow Ware Set, Ward | Health |  | 1 Hollow Ware Set Ward In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/07/2023 |  |  |  |  |  |  | Good | 1 In Use |
| Instrument Set, Delivery | Health |  | 2 Delivery Instrument Sets In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/07/2023 |  |  |  |  |  |  | Good | 2 In Use |
| Instrument Set, Stitch Removing | Health |  | 2 Stitch Removing Instrument Sets In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/07/2023 |  |  |  |  |  |  | Good | 2 In Stores |
| Mva Kit | Health |  | 2 Mva Kits In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 20/7/2023 |  |  |  |  |  |  | Good | 2 In Use |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble Cpap |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Health |  | 1 Delivery Bed In Ajikoro Hciii Paranga Subcounty, Maracha |  | Not Engraved | 24/08/2023 |  |  |  |  |  |  | Broken | 01 Broken |
| Examination Light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Ent Basic For Hciii |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve Mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | Block of Ward with Toilet In Ajikoro Hciii Paranga Subcounty, Maracha |  | N/A | 2020 |  |  |  |  |  |  | Good | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |