ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Northern |
| --- | --- |
| SUB-REGION: | West nile |
| Name of Local Government | Yumbe Local Government |
| VERIFIER PARTICULARS |  |
| Full name | Sikia Fikira |
| Contact/ email and Telephone | 0783517165 |
| Supervisor/ Sub team leader |  |
| Name | Kiribakka Vincent |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health  EKALIGO HCIII

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

For the mi or breakdown the school the health center repairs them

For major ones it the district that takes charge of them.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Creates enough room for accommodation Increase number of patient admissions due to enough beds It covers the long distance that patience’s would use to go to kuru hospital |
| --- | --- | --- |

Challenges	Reccomendations

- Blocks are not yet handed over 	-More office chairs

-Delayment by the contractors	need for electricity

2 doctor’s stools are broken

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

YUMBE DISTRICT						AMANYIRI HCII

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | O2 Digital BP Machines Yumbe District, Kuru Sub County Amangiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Good | 2 are in use. 1 is kept in store |
| B.P. Machine (Aneroid wall mounted) | Health |  | 02 B.P. Machine (Aneroid Wall Mounted), Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Good | Not in use. To used after new building is operation |
| Autoclave 20 Liters. ,Duo Operated | Health |  | 01, Twenty Liters Duo Operated Autoclave Bu Operated, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Good | 1 is in use. |
| Bowl, Kick | Health |  | 01 Bowl Stand Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Good | All in use |
| Bowl Stand | Health |  | 03 Bowl Stand Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  | Good | At the district |
| Counting chamber Neubauer- Improved |  |  | 02 Neubauer Counting Chamber Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved - | 27/02/24 |  |  | - |  |  |  | Good | Not in use. At district |
| Cupboard Steel, Lockable |  |  | 02 Steel Cupboard Lockable Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Good | At the district |
| Drip Stand |  |  | 13 Drip Stands Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Good | At the district |
| ESR Stand | Health |  | 02 ESR Stand Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Still in tacked | At the district Yumbe district, kuru sub-county, Amanyiri HCI |
| Examination Couch | Health |  | 04 Examination Couches Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Still packed at the district | At the district |
| Examination light,LED | Health |  | 02 White Led Examination Light Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Glucometer | Health |  | 01 Glucometer Yumbe District, Kuru Sub-County, Amanyiri HC III |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Haemoglobin Meter, Digital | Health |  | 02 Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Height Meter | Health |  | 02 Height Meter - Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 24/05/24 |  |  | Not indicated at the records |  |  |  |  | T the district |
| Instrument Trolley | Health |  | 03 Instrument Trolley, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 24/05/24 |  |  |  |  |  |  |  |  |
| Microscope Binocular | Health |  | 02 Binocular Microscope Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 24/05/24 |  |  | - |  |  |  | packed | At the district |
| Otoscope | Health |  | 01 Otoscope, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Patient Screen | Health |  | 8 Patient Screen Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  | - |  |  |  | Packed | At the district |
| Patient Trolley | Health |  | 01 Patient Trolley Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Refrigerator, Basic | Health |  | 02 Refrigerators Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Packed | Still at the district |
| Stethoscope | Health |  | 08 Stethoscope Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Good | 02 are at the facility a |
| Stop Watch | Health |  | 02 Stop Watches Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Good | in use |
| Stretcher |  |  | 02 Stretchers Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Cked still at the district | pa |
| Stove, Gas |  |  | 02 Gas Stove, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Good | All in use |
| Weighing Scale with Height Meter, Adult |  |  | 01 Adult Weighing Scale Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  | Good | At the facility |
| Weighing Scale, Infant |  |  | 02 Infant Weighing Scale Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  |  | At the district |
| Weighing Scale, Toddler |  |  | 01 Toddler Weighing Scale Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  | 932,568 |  |  |  |  | was given out and 1 is in |
| Wheel Chair |  |  | 4 Wheel Chairs 1Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  | 728,568 |  |  |  |  |  |
| Audio Visual Equipment |  |  | 01 Audio Visual Equipment Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved | 27/02/24 |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  | 10 Medical Waste Bins Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  | At the facility |
| Wall Clock |  |  | 04 Wall Clocks 0Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  | At the facility |
| Diagnostic Equipment Set for MCH |  |  | 2 MCH Diagnostic Equipment Set Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  | OPD Diagnostic Equipment set Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  | 02 Basic Glass Ware Laboratory Sets Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  | 02 Hollow Ware Treatment Set Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  | 02 Dressing Instrument Sets Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  | 2 Basic ENT Instrument SetsYumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  | 02 Suture Instrument Set Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  | Hand held Pulse Oximeter, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  | 10 Adult Patient Bed With Mattress Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  | 04 Pediatric Patient Beds With Mattresses Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  | 10 Bedside Lockers Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  | 02 Instrument Cupboard in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  | 01 Hydraulic Manual Delivery Bed Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 02 Oxygen Apparatuses, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | 01 Infant Manual Resuscitator Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  | 02 Adult Manual Resuscitator With all Masks, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  | Not | At the district |
| Suction Apparatus, (Electric) | Health |  | 2 Electric Suction Apparatuses, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Health |  | 01 Ultrasonic Nebulizer, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Health |  | 01 Duo Flow Oxygen Concentrator Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Bench |  |  | 04 Benches Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  | 06 Disinfection Buckets, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | 01 Baby Cot, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not t engraved |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  | 2 Ward Diagnostic Equipment Set, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  | 2 Delivery Instrument Sets, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  | 02 Stitch Removing Instrument Sets Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved |  |  |  |  |  |  |  | Good | At the district 0 |
| MVA Kit |  |  | MVA Kit, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  | 3 Lab Stools, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  | Good | At the facility |
| Penguin Sucker |  |  | 03 Penguin Sucker in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  | 02 Doppler Fetoscopes Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  | 01 Electric Centrifuge in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health |  | 01 Kangaroo Mother Care Chair in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  |  | At the district t |
| Radiant Infant Warmer | Health |  | 01 Radiant Infant Warmer in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  | - |  |  |  | Good | Still at the district h |
| Haemoglobin Meter, Sahli | Health |  | 02 Sahil Haemoglobin Meter in Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Good | Not in use h |
| Delivery Bed |  |  | 01 Delivery Bed, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  | - |  |  |  | At the facility h | Atill packed |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  | 02 Basic ENT Instrument Sets Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  |  |  |  |  | Packed | At the district |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 15 Bag Valve Mask ( Ambu Bag)Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  | - |  |  |  | Consumed | Already been used |
| Incubator | Health |  | 01incubator Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 27/02/24 |  |  | - |  |  |  | packed | At the district |
| Office Chair |  |  | 06 Office Chairs, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  | 695,000 |  |  |  | Good | All in use |
| Desk | Health |  | 05 Desks Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved | 19/05/24 |  |  | 745,000 |  |  |  | Good | All in use |
| Filing Cabinet | Health |  | 04 Filling Cabinets Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved |  |  |  | 2,595,000 |  |  |  | Good | At current facility they are using |
| Non Residential Buildings | Health |  | 02 Blocks, OPD And General Ward, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Delivery bed is kept there | Not in use yet. Building still under construction |
| Toilets and bathrooms with 4 units | Health |  | Toilet And The Bathroom With 4 Units Each Yumbe District, Kuru Sub-County, Amanyiri HCIII |  | Not engraved |  |  |  |  |  |  |  | good | Not yet in use |
| Fence with 2 gates small one and the bigg gate | Health |  | Fence with a Small gates 7 big gate, Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  |  |  |  |  |  |  |  | Good |  |
| Residential Buildings | Health |  | 03 Staff Blocks With 02 Units Each, with Toilet & Kitchen Yumbe District, Kuru Sub-County, Amanyiri HCIII |  |  | 27/02/24 |  |  |  |  |  |  | Good | Nuse them temporary |