ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | KOBOKO MUNICIPALITY |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …LASANGA HEALTH CENTER III……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

MUNICIPALITY MAINTAINS THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

REGULAR FUNCTIONALITY RECORDS ARE TAKEN

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

STRUCTURE AND EQUIPMENT SIMPLIFY THE WORK

CHALLENGES

MORE FACILITIES REQUIRED

NO STAFF RESIDENTIAL HOUSES

RECOMMENDATIONS

CONTINUOUS SUPPORT IN FUNDING

BUILD MORE FACILITIES AND RESIDENTIAL HOUSES

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…KOBOKO MUNICIPALITY……………………………………… NAME OF HEALTH FACILITY…LASANGA HEALTH CENTER III………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number ( Engrave No.) | Date Of Purchase | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | 2 Digital BP Machine In Koboko Mc, North Division, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| B.P. Machine (Aneroid Wall Mounted) | Health |  | 2 BP Machines, Mounted In Koboko Mc North Division , Koboko, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| Autoclave 20 Liters, Duo Operated | Health |  | 4, 20l Duo Operated Autoclaves In Koboko Mc North Division , Koboko, Lasanga HC III |  | KMC/LAS/Ac/01 - 04 |  |  |  |  |  |  |  | Good | In Use |
| Bowl, Kick | Health |  | I Kick Bowl In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KMC/LAS/Db/01 |  |  |  |  |  |  |  | Good | Health |
| Bowl Stand | Health |  | 2 Bowl Stands In Koboko Mc, North Division , Koboko, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| Counting Chamber Neubauer- Improved | Health |  | 2 Improved Neubauer Counting Chamber, In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KMC/LAS/CC/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Cupboard Steel, Lockable | Health |  | 2 Steel Locker Cupboard In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KMC/LAS/FC/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Drip Stand | Health |  | 8 Drip Stands In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/DS/01 - 08 |  |  |  |  |  |  |  | Good | In Use |
| ESR Stand | Health |  | 1 ESR Stand In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/ES/01 |  |  |  |  |  |  |  | Good | In Use |
| Examination Couch | Health |  | 2 Examination Couch In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/EC/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Examination Light, Led | Health |  | 2 Led Examination Light In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/El/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Glucometer | Health |  | 1 Glucometer In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/GM/01 |  |  |  |  |  |  |  | Good | In Use |
| Haemoglobin Meter, Digital | Health |  | 2 Digital Haemoglobin In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/HMD/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Height Meter | Health |  | 1 Height Meter In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/HM/01 |  |  |  |  |  |  |  | Good | In Use |
| Instrument Trolley | Healtrh |  | 2 Instrument Trolleys In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/It/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Microscope Binocular | Health |  | 5 Microscope Binoculars In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/Mb/01 - 05 |  |  |  |  |  |  |  | Good | In Use |
| Otoscope | Health |  | 1 Otoscope In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KMC/LAS/OT/O1 |  |  |  |  |  |  |  | Good | In Use |
| Patient Screen | Health |  | 4 Patient Screens In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KMC/Las/Ps/01 - 04 |  |  |  |  |  |  |  | Good | In Use |
| Patient Trolley | Health |  | 1 Patient Trolley In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/Pt/01 |  |  |  |  |  |  |  | Good | In Use |
| Refrigerator, Basic | Health |  | 1 Basic Refrigerator In Koboko MC, North Division , Koboko, Lasanga HC III |  | KMC/LAS/RF/01 |  |  |  |  |  |  |  | Good | In Use |
| Stethoscope | Health |  | 4 Stethoscopes In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/St/01 - 04 |  |  |  |  |  |  |  | Good | In Use |
| Stop Watch | Health |  | 1 Stop Watch In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/SW/01 |  |  |  |  |  |  |  | Good | In Use |
| Stretcher | Health |  | 1 Stretcher In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/St/01 |  |  |  |  |  |  |  | Good | In Use |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale With Height Meter, Adult | Health |  | 6 Adult Weighing Meters With Height Meter In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/WSM/01 - 06 |  |  |  |  |  |  |  | Good | In Use |
| Weighing Scale, Infant | Health |  | 1 Infant Weighing Scale In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/WSI/01 |  |  |  |  |  |  |  | Good | In Use |
| Weighing Scale, Toddler | Health |  | 2 Toddler Weighing Scale In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/WST/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | Health |  | 4 Wall Clocks In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/WC/01 - 04 |  |  |  |  |  |  |  | Good | In Use |
| Diagnostic Equipment Set For MCH | Health |  | 2 Sets Of Diagnostic Equipment For MCH In Koboko MC, North Division , Koboko, Lasanga HC III |  | KNL/LAS/DES/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Diagnostic Equipment Set For OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic Ent |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand Held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient With Mattress | Health |  | 2 Adult Patient Beds With Mattresses In Koboko Mc, North Division , Koboko, Lasanga HC III |  | KML/LAS/BA/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 Pediatric Patient Beds With Mattresses In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/BP/01 - 05 |  |  |  |  |  |  |  | Good | In Use |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  | 1 Instrument Cupboard In Koboko MC, North Division , Koboko, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| Delivery Bed, Hydraulic Manual | Health |  | 2 Manual Hydraulic Delivery Beds In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/DB/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Oxygen Therapy Apparatus, Minimum 45l Cylinder | Health |  | 2 45l Cylinder Oxygen Therapy Apparatus In Koboko MC, North Division , Koboko, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| Resuscitator Manual, Infant, With All Mask Sizes | Health |  | 2 Manual Infant Resuscitator In North Division , Koboko MC, Lasanga HC III |  | KML/LAS/RMI/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Resuscitator Manual, Adult, With All Mask Sizes | Health |  | 2 Manual Adult Resuscitator With All Masks In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/RMA/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Suction Apparatus, (Electric) | Health |  | 2 Electric Suction Apparatus In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/SA/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Nebulizer, Ultrasonic | Health |  | 1 Ultrasonic Nebulizer In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/Las/Nu/01 |  |  |  |  |  |  |  | Good | In Use |
| Oxygen Concentrator, Duo Flow | Health |  | 2 Duo Flow Oxygen Concentrator In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/OC/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Health |  | 6disinfection Buckets In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/DF/01 - 06 |  |  |  |  |  |  |  | Good | In Use |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set For Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mva Kit | Health |  | 4 MVA Kits In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/MK/01 - 04 |  |  |  |  |  |  |  | Good | In Use |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Health |  | 3 Penguin Suckers In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/PS/01 -03 |  |  |  |  |  |  |  | Good | In Use |
| Fetoscope, Dopplar | Health |  | 2 Fetoscope Doppler In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/FD/01 - 02 |  |  |  |  |  |  |  | Good | In Use |
| Bubble Cpap |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Ent Basic For HC III |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve Mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 Office Chairs In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/OC/01 - 07 |  |  |  |  |  |  |  | Good | In Use |
| Desk | Health |  | 3 Desks In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/DK/01 - 03 |  |  |  |  |  |  |  | Good | Ini Use |
| Filing Cabinet | Health |  | 2 Filing Cabinets In Koboko MC, North Division , Koboko, Lasanga HC III |  | KML/LAS/FC/01 02 |  |  |  |  |  |  |  | Good | In Use |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tanks | Health |  | 2, 5000L Water Tanks In Koboko MC, North Division , Koboko, Lasanga HC III |  | Not Engraved |  |  |  |  |  |  |  | Good | In Use |
| Residential Buildings | Health |  | 3 Blocks Each With Two Residential Houses In Koboko MC, North Division , Koboko, Lasanga HC III |  | N/A |  |  |  |  |  |  |  | Good | More Residential Houses Needed |