ASSETVERIFICATIONANDRECORDINGTOOLKIT

Plot31,BukotoStreet

P.OBox7657,Kampala,Uganda
+256(0)392000216/0772525235
email:cpa@cpa.ug

# www.cpa.com

AugusttoSeptember2026

VERIFICATIONDETAILS

| NAMEOFTHEREGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| NameofLocalGovernment | AGAGODISTRICT |
| VERIFIERPARTICULARS |  |
| Fullname | MPAATAROGERS. ANKANKWASAEDRINE. |
| Contact/emailandTelephone | 0772302637. 0702527069. |
| Supervisor/Subteamleader |  |
| Name |  |
| Contact |  |
| Dateofsubmission |  |

HEALTHCENTRES

INFORMANTINTERVIEW/DISCUSSIONGUIDE(INCHARGEORRESPONSIBLEPERSON)

NameofHealthCentre:…LapulocwidaCIII…………………………………………………………………………..

| 1a | DoestheFacilityhavearecordofallassetsprovidedunderUgIFT. (Obtainarecordandverifyifithasthecostsandnumberssupplied | The facility has the record of some of the asset obtained from ugift |
| --- | --- | --- |
| 1b | IfNotaskhowmanyweresuppliedandwhen. |  |

| 2 | HowdoesthisfacilityMaintain(repair/service/replace)theassetsprovidedunderUgift |
| --- | --- |

Repairingthebrokenonethosebeyondrepairaredisposed

| 3 | Doesthefacilitytakeregularrecordaboutfunctionality/orbreakdownoftheassetsprovided? | sometimestheydo |
| --- | --- | --- |

| 4 | HowhastheUgIFTsupporthelpedinservicedeliveryinthearea,anyissues,challengesandanyrecommendationsforbetterprogramimplementation. | peopleinthecommunityaccessmedicalserviceseasily. Hserviceshavedevelopedinthesubcounty.. ISSUES -Havenoreliablewatersource. |
| --- | --- | --- |

CHALLENGES

.Undermedicalstuffteam.

unreliablewatersupply,

RECOMMENDATIONS.

.providereliablewatersupply.

Employmoremedicalworkers

PROCEEDTOVERIFICATIONAFTERTHISDISCUSSION

Healthcentrechecklist

NAMEOFLG………PADERDISTRICT…………………………………NAMEOFHEALTHFACILITY………………LAPULOCWIDAHCIII…………………………………………

| Equipment/Item | Department | AssetNumber | Item Description | LifeinMonths | TagNumber(engraveno.) | DateOfPurchase | DatePlacedInService | Recoverablecost | Cost | AccDepCost | NetBookValue | YtdDeprn | Equipmentstatus | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P.Machine,Digital | healthservices |  | 2 Digital BP Machine - Lapulocwida HC III- Pader SC- Pader district |  |  | 10.6.2025 |  |  |  |  |  |  | good/ functional | In use |
| B.P.Machine(Aneroidwallmounted) | healthservices |  | 2 BP Machine( Aneroid Wall mounted)- Lapulocwida HC III- Pader SC- Pader district |  |  | 10.6.025 |  |  |  |  |  |  | Good and functional | In use |
| Autoclave20Liters.,DuoOperated | healthservices |  |  |  |  |  |  |  |  |  |  |  |  | Not supplied |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Good and functional | In store |
| Bowl,Kick | healthservices |  | 1 Kick Bowl - Lapulocwida HC III- Pader SC- Pader district |  |  | 10.6.o25 |  |  |  |  |  |  | Good and functional | In store |
| BowlStand | healthservices |  | 2 Bowl Stands - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | Good and functional | In use |
| CountingchamberNeubauer-Improved |  |  | 2 Improved Neubauer Counting chamber - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | Good functional | In use |
| CupboardSteel,Lockable | healthservices |  | 2 Steel Cupboards - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6 025 |  |  |  |  |  |  | goodandfunctional | In use |
| DripStand | healthservices |  | 8 Drip Stands - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6025 |  |  |  |  |  |  | goodandfunctional | in use |
| ESRStand | healthservices |  | 1 ERS Stand - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.025 |  |  |  |  |  |  | function | In use |
| ExaminationCouch | healthservices |  | 2 Examination Couches - Lapulocwida HC III- Pader SC- Pader district | 12thmonth | lotno.SS25010105 | 25.7.025 |  |  |  |  |  |  | goodandfunctional | In use |
| Examinationlight,LED | healthservices |  | 2 LED light Examination Lights - Lapulocwida HC III- Pader SC- Pader district |  |  | 25.7.025 |  |  |  |  |  |  | goodandfunctional | In use |
| Glucometer | healthservices |  | 2 Glucometer - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6205 |  |  |  |  |  |  | goodandfunctional | In store |
| HaemoglobinMeter,Digital | healthservices |  | 2 Digital Haemoglobin meters - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6025 |  |  |  |  |  |  | good | I nuse |
| HeightMeter | healthservices |  | 2 height meter - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.62o25 |  |  |  |  |  |  | good | In use |
| InstrumentTrolley | healthservices |  | 2 instrument Trollery - Lapulocwida HC III- Pader SC- Pader district |  | BT122 | 25.7.025 |  |  | u |  |  |  | goodandfunctional | In use |
| MicroscopeBinocular | healthservices |  | 1 Microscope Binocular - Lapulocwida HC III- Pader SC- Pader district |  |  | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | In store |
| Otoscope | healthservices |  | 1 Otoscope - Lapulocwida HC III- Pader SC- Pader district t |  | Not engraved | 106025 |  |  |  |  |  |  | goodandfunctional | Still newnotin use |
| PatientScreen | healthservices |  | 4 Patient Screen - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | l106.25 |  |  |  |  |  |  | goodandfunctional | In use |
| PatientTrolley | healthservices |  | 1Patient Trolley - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 106.025 |  |  |  | ⁹ |  |  | goodandfunctional | In use |
| Refrigerator,Basic | healthservices |  | 1 Basic Refrigerator - Lapulocwida HC III- Pader SC- Pader district |  | CTM1500SK3Silver | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | working |
| Stethoscope | healthservices |  | 4 stethoscopes - Lapulocwida HC III- Pader SC- Pader district |  | lot.FA010809 | 106025 |  |  |  |  |  |  | goodandfunctional | usable |
| StopWatch | healthservices |  | 2 stop watches - Lapulocwida HC III- Pader SC- Pader district |  |  | 10.62025 |  |  |  |  |  |  | goodandfunctional | in use |
| Stretcher | healthservices |  | 1stretcher - Lapulocwida HC III- Pader SC- Pader district |  |  | 106025 |  |  |  |  |  |  | goodandfunctional | in use |
| Stove,Gas | healthservices |  | 1 stove gas - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.025 |  |  |  |  |  |  | goodandfunctional | usable |
| WeighingScalewithHeightMeter,Adult | healthservices |  | 2 Adult Weighing Scale with height meter - Lapulocwida HC III- Pader SC- Pader district t |  | Not engraved | 10.6.025 |  |  |  |  |  |  | goodandfunctional | usable |
| WeighingScale,Infant | healthservices |  | 2 Infant Weighing Scale - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6025 |  |  |  |  |  |  | goodandfunctional | usable |
| WeighingScale,Toddler | healthservices |  | 2 Toddler Weighing scales - Lapulocwida HC III- Pader SC- Pader district |  | EBST-2OL | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | in use |
| WheelChair | healthservices |  |  |  |  |  |  |  |  |  |  |  |  | notprovided |
| AudioVisualEquipment |  |  |  |  |  |  |  |  |  |  |  |  |  | notreceived |
| MedicalWasteBin | healthservices |  | 6 medical waste bins - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.025 |  |  |  |  |  |  | goodandfunctional | stillne |
| WallClock | healthservices |  | 4 wall clocks - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.625 |  |  |  |  |  |  | goodandfunctional | stillinthestore |
| DiagnosticEquipmentSetforMCH | healthservices |  | 2 Sets of Diagnostic equipment - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | stillnewinstore |
| DiagnosticEquipmentSetforOPD | healthservices |  | 2 Sets of OPD Diagnostic equipment - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10625 |  |  |  |  |  |  | goodandfunctional | in use |
| GlasswareSet,Laboratory,Basic | healthservices |  | 2 Sets Basic Laboratory glassware - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.25 |  |  |  |  |  |  | funcfunctional | usable |
| HollowWareSet,Treatment | healthservices |  | 3 Hallow Ware Treatment Sets - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | functional | usable |
| InstrumentSet,Dressing | healthservices |  | 2 Sets of dressing Instruments - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | goodandfunctional | usable |
| InstrumentSet,BasicENT | healthservices |  | 3 Sets of Basic ENT Instruments- Lapulocwida HC III- Pader SC- Pader district |  | no.0325 | 10.6.025 |  |  |  |  |  |  | goodandfunctional | usable |
| InstrumentSet,Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PulseOximeter,Handheld | healthservices |  | 2 Hand Held Pulse Oximeter - Lapulocwida HC III- Pader SC- Pader district |  | 241021152 | 10.6.025 |  |  |  |  |  |  | goodandfunctional | usable |
| Bed,AdultPatientwithMattress | healthservices |  | 10 Adult Patient Beds - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.625 |  |  |  |  |  |  | goodandfunctional | usable |
| Bed,PediatricPatient,WithMattress | healthservices |  | 5 Pediatric Patient Beds with Mattresses - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.25 |  |  |  |  |  |  | goodandfunctional | allin use |
| BedsideLocker |  |  |  |  |  |  |  |  |  |  |  |  |  | notreceived |
| Cupboard,Instrument | healthservices |  | 1 Instrument Cupboard - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | Good and functional | In strore |
| DeliveryBed,HydraulicManual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OxygenTherapyApparatus,Mininum45Lcylinder | healthservices |  | 2, Forty-Five Litres Cylinder Oxygen Apparatus - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | goodandfunctional | not in use |
| ResuscitatorManual,Infant,withallMasksizes | healthservices |  | 1 Manual Infant Resuscitator with all Masks |  |  | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | In store |
| ResuscitatorManual,Adult,withallmasksizes | healthservices |  | 2 Adult Resuscitator all Masks - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 1062025 |  |  |  |  |  |  | goodandfunctional | in use |
| SuctionApparatus,(Electric) | healthservices |  | 2 Electric Suction Apparatus - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.62025 |  |  |  |  |  |  | goodandfunctional | in use |
| Nebulizer,Ultrasonic | healthservices |  | 1 Ultrasonic Nebulizer - Lapulocwida HC III- Pader SC- Pader district |  | 402AL | 25.7.2 |  |  |  |  |  |  | goodandfunctional | In store |
| OxygenConcentrator,DuoFlow | healthservices |  | 4 Duo Flow Oxygen Concentrator - Lapulocwida HC III- Pader SC- Pader district |  | FA010228 | 10.6.025 |  |  |  |  |  |  | goodandfunctional | In store |
| Bench | healthservices |  | 4 benches - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.025 |  |  |  |  |  |  | goodandfunctional | usable |
| DisinfectionBuckets | healthservices |  | 6 Disinfection Buckets - Lapulocwida HC III- Pader SC- Pader district | not | Not engraved | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | usable |
| BabyCot | healthservices |  | 5 Baby Cots - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | goodandfunctional | in use |
| DiagnosticEquipmentSetforWard | healthservices |  | 3 Sets of Ward Diagnostic Equipment - Lapulocwida HC III- Pader SC- Pader district |  | 872310538108 | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | usable |
| HollowWareSet,Ward | healthservices |  | 3 Sets hollow ware - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | usable |
| InstrumentSet,Delivery | healthservices |  | 3 Sets of Delivery Instruments - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.20.25 |  |  |  |  |  |  | goodandfunctional | notin usestillnewinstore |
| InstrumentSet,StitchRemoving | healthservices |  | 3 Sets of Stich removal Instruments - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | functional | usable |
| MVAKit | healthservices |  | 4 MVA KITs - Lapulocwida HC III- Pader SC- Pader district |  | 0325 | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | notin use |
| Stool,Laboratory | healthservices |  | 1Laboratory Stool - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | in use |
| Penguinsucker | healthservices |  | 3 penguin suckers - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | functional | notin use |
| Fetoscope,Dopplar | healthservices |  | 2 Doppler Fetoscope - Lapulocwida HC III- Pader SC- Pader district |  | JZK-TO1 | 1062025 |  |  |  |  |  |  | goodandfunctional | stillnewkeptinsrtore |
| BubbleCPAP | healthservices |  | 2 CPAP Bubble - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | goodandfunctional | in use |
| Centrifuge(Electric) | healthservices |  | 2 Electric Centrifuge - Lapulocwida HC III- Pader SC- Pader district |  | TG16G | 10.62025 |  |  |  |  |  |  | goodandfunctional | in use |
| KangarooMotherCareChair | healthservics |  | 1 kangaroo mother care chair - Lapulocwida HC III- Pader SC- Pader district |  | d |  |  |  |  |  |  |  | goodandfunctioal | in use |
| kangaroomothercarechair | healthservices |  | 1 kangaroo mother care chair - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 106.2025 |  |  |  |  |  |  | goodfunctional | usable |
| RadiantInfantWarmer |  |  |  |  |  |  |  |  |  |  |  |  |  | notprovided |
| HaemoglobinMeter,Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | notprovided |
| DeliveryBed |  |  |  |  |  |  |  |  |  |  |  |  |  | notprovided |
| Examinationlightled | healthservices |  | 2 LED Examination light - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2025 |  |  |  |  |  |  | functional | in use |
| Instrumentset,ENTBasicforHCIII |  |  |  |  |  |  |  |  |  |  |  |  |  | notreceived |
| BagValvemask(AmbuBag),Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | notreceived |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | notreceived |
| OfficeChair | healthservices |  | 7 black office chairs - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.62025 |  |  |  |  |  |  | goodandfunctional | in use |
| Desk | healthservices |  | 3 desks - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | notgoodandfunctional | needreplacement |
| FilingCabinet | healthservices |  | 3 filing cabinet - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved | 10.6.2026 |  |  |  |  |  |  | goodandfunctional | in use |
| NonResidentialBuildings | healthservices |  | Non-Residential Maternity ward with Toilets - Lapulocwida HC III- Pader SC- Pader district |  | Not engraved |  |  |  |  |  |  |  | goodandfunctional | in use |
| ResidentialBuildings | healthservices |  | 2 Residential Houses for Medical staff with Toilet - Lapulocwida HC III- Pader SC- Pader district |  |  |  |  |  |  |  |  |  | goodandfunctional | in use |