ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH |
| --- | --- |
| SUB-REGION: | WESTNILE |
| Name of Local Government | KOBOKO |
| VERIFIER PARTICULARS |  |
| Full name | NANTAJJA ARNOLD |
| Contact/ email and Telephone | 0705962743 |
| Supervisor/ Sub team leader |  |
| Name | KIRIBAKKA VICENT |
| Contact | 0772628302 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …NYAKALISO SEED SECONDARY SCHOOL……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | HAVE INVENTORY RECORDS |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

SCHOOL MAINTAINS THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES LONG TIME NON FUNCTIONALITY AND EXCESS HEAT BEFORE OPENING |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- EASY ACCESS TO EDUCATION SERVICES

- FIRST SECONDARY SCHOOL IN THE AREA

CHALLENGES

CONTRACTORS ARE NON COMPLIANT AND BREACH TERMS

RECOMMENDATIONS

- CLOSE SUPERVISION OF CONTRACTORS

- MORE STAFF ACCOMODATION NEEDED

- TIMELY FUNDING FROM FINANCE

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…KOBOKO……………………………………………………………… Name of SCHOOL…NYAKALISO SEED SECONDARY SCHOOL……………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TABLES | EDUCATION |  | 140 TABLES IN KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  | NOT ENGRAVED |  | JAN 2026 |  |  |  |  |  | GOOD | IN USE |
| CHAIRS | EDUCATION |  | 263 CHAIRS IN KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  | NOT ENGRAVED |  | JAN 2026 |  |  |  |  |  | GOOD | IN USE |
| DESKES | EDUCATION |  | 114 three seater DESKS IN KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  | NOT ENGRAVED |  | JAN 2026 |  |  |  |  |  | GOOD | IN USE |
| LABORATORY STOOLS | EDUCATION |  | 85 LABORATORY STOOLS IN KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  | NOT ENGRAVED |  | JAN 2026 |  |  |  |  |  | GOOD | IN USE |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……KOBOKO……………………………………………………………………… Name of SCHOOL…NYAKALISO SEED SECONDARY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPUTERS | EDUCATION |  | 21 HP COMPUTERS IN KULUBA SUBCOUNTY, KOBOKO DI STRICT, NYAKALISO SEED SS |  |  |  | NOT IN USE |  |  |  |  |  | GOOD | IN USE |
| PRINTER | EDUCATION |  | 1 PRINTER IN KULUBA S UBCOUNTY, KOBOKO DIST RICT, NYAKALISO SEED SS |  |  |  | JAN 2026 |  |  |  |  |  | GOOD | IN USE |
| PROJECTOR | EDUCATION |  | 1 PROJECTOR IN KULUBA SUBCOUNTY, KOBOK O DISTRICT, NYAKALISO SEED SS |  |  |  | NOT IN USE |  |  |  |  |  | GOOD | IN USE |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……KOBOKO……………………………………………………………………… Name of SCHOOL…NYAKALISO SEED SECONDARY SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NON RESIDENTIAL BUILDINGS | EDUCATION |  | BLOCKS IN KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  | N/A |  | JAN 2026 |  |  |  |  |  | GOOD | In Use |
| CLASSROOMS | EDUCATION |  | 3 CLASSROOM BLOCKS KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  |  |  | JAN 2026 |  |  |  |  |  |  | In Use |
| ADMINITRATION | EDUCATION |  | 1 ADMINISTRATION BLOCK - KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  |  |  | JAN 2026 |  |  |  |  |  |  | In Use |
| LABORATORY |  |  | 1 LABORATORY BLOCK KULUBA SUBCOUNTY, KOBOKO DISTRICT, NYAKALISO SEED SS |  |  |  | JAN 2026 |  |  |  |  |  |  | In Use |