ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | ACHOLI |
| --- | --- |
| SUB-REGION: | PADER DISTRICT |
| Name of Local Government | PADER |
| VERIFIER PARTICULARS |  |
| Full name | AKANKWATSA EDWIN MPAATA RODGERS |
| Contact/ email and Telephone | 0702527069 0772302637 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: olok health center 3…………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility does not exist |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

OLOK HEALTH CENTER 3 ACCORDING TO DHO ,THE FACILITY DOES NOT EXISIT IN THE DISTRICT.

IT WAS NOT CONSTRUCTED WHICH MAKES IT A GHOST FACILITY

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: Latanya seed secondary school……………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility does not have a clear record of the assets provided underUgift since the head teacher found them in place |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility doesn’t  repair nor service the assets provided under UGIFT

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | No, th facility does not regular record about the functionality or breakdown of assets. |
| --- | --- | --- |

Some assets especially furniture were supplied in poor condition thus non functionality

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Yes, the ugift has extended the education service near to the people . |
| --- | --- | --- |

Challenges;

No power supply[ HEP]

No water supply

No fence provided

Under staffing

Recommendations;

Provide power[HEP]

Provide a reliable water source

Build fence around the school

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG… pader district………………………………………………… Name of SCHOOL; latanya seed secondary school……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | Education |  | 120 desks - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | good | In use |
| Tables | Education |  | 95 tales - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Some good Others broke | Not all in use |
| Office chairs | Education |  | 79 office chairs - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | good | In use |
| Laboratory stools | Education |  | 45 lab stools - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Some good Others broke | Not all in use |
| Book shelves | Education |  | 8 book shelves - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good but not In use | Not in use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……pader district……………………………………………………… Name of SCHOOL; latanya seed secondary school……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer | Education |  | 20 Dell desktop Computers - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | In use |
| Server processor | Education |  | 1 server Processor - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good functional | Not in use |
| Network switch 24 | Education |  | 1 network Switch - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good functional | Not in use |
| Multipurpose printer | Education |  | 1 HP multpurpose Printer - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good And functional | Not in use |
| UPS | Education |  | 20 Dell UPS - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | In use |
| Projector | Education |  | 1 Epson projector - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | Not in use |
| Air conditioner | Education |  | 1 air Conditioner- Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | Not use |
| server | Education |  | 1 server - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | Not in use |
| CCTV | Education |  | 1 CCTV Camers - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Good and functional | Not in use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………pader district…………………………………………………… Name of SCHOOL; latanya seed secondary school…………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class rooms | Education |  | 3 blocks each with 2 classes - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | All in use |
| Administrative building | Education |  | 1 block with staff room and offices - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good functional | In use |
| Laboratory | Education |  | 1 block with 2 laboratories ie physics and chemistry - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | In use |
| Library and computer lab | Education |  | 1 block with 2 rooms ie library and comp lab - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | In use |
| Multpurpose building | Education |  | I block with partitioned rooms - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | In use |
| Staff houses | Education |  | 3 blocks with each having 2 Houses - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | In use |
| School toilets | Education |  | 5 toilets ie 3 for staff and 2 for students boys and girls - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good and functional | In use |
| School fence |  |  | Not costructed |  |  |  |  |  |  |  |  |  | Not constructed |  |
| Tanks |  |  | 2 tanks with manual pump - Latanya SSS – Latanya SC - Pader District |  | Not tagged |  | Not given |  |  |  |  |  | Good but only depend on rain | In use |
| School pitch |  |  | Incomplete School Pitch - Latanya SSS – Latanya SC - Pader District |  |  |  |  |  |  |  |  |  | Not completes |  |