ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | MOYO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | OCAN INNOCENT |
| Contact/ email and Telephone | 0780843654 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AYA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift: we use money from PHC or take them back to the district for repair. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, we do monthly record taking by store keeper and the in charge |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The project has improved on the health of community. The delivery of child has improved a lot. It has brought services nearer. The challenges faced is that the facility is very far from town. We are under staffed. Lack of motorized water system. There is no electricity here. Steep land scape. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MOYO DLG               NAME OF HEALTH FACILITY: AYA HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | 2 pieces of digital BP machines; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 B.P. Machine (Aneroid wall mounted); Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Autoclave 20 Liters.,Duo Operated | Health |  | 2 pieces of duo operated autoclaves; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bowl, Kick | Health |  | 1 piece plastic bowl kick; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bowl Stand | health |  | 3 pieces steel metal bowl stand; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED |  | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Counting chamber Neubauer- Improved | Health |  | 2 Counting chamber Neubauer- Improved; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Cupboard Steel, Lockable | Health |  | 6 Cupboard Steel, Lockable; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Drip Stand | Health |  | 8 Drip Stand, steel made; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| ESR Stand | Health |  | 1 ESR Stand; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Examination Couch |  |  | 4 Examination Couch; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Examination light,LED |  |  | 3 Examination light,LED; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Glucometer |  |  | 2 Glucometer; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Haemoglobin Meter, Digital |  |  | 2 Haemoglobin Meter, Digital; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Height Meter |  |  | 2 Height Meter; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Trolley |  |  | 4 Instrument Trolley; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Microscope Binocular |  |  | 1 Microscope Binocular; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Otoscope |  |  | 1 Otoscope; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Patient Screen |  |  | 5 Patient Screen; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Patient Trolley |  |  | 1 Patient Trolley; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Refrigerator, Basic |  |  | 2 Refrigerator, Basic; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Stethoscope |  |  | 8 Stethoscope; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Stop Watch |  |  | 1 Stop Watch; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Stretcher |  |  | 1 Stretcher; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Stove, Gas |  |  | 1 Stove, Gas; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Weighing Scale with Height Meter, Adult |  |  | 2 Weighing Scale with Height Meter, Adult; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Weighing Scale, Infant |  |  | 2 Weighing Scale, Infant; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Weighing Scale, Toddler |  |  | 2 Weighing Scale, Toddler; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Wheel Chair |  |  | 4 Wheel Chair; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 20 Medical Waste Bin; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Wall Clock | Health |  | 4 Wall Clock; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Diagnostic Equipment Set for MCH | Health |  | 2 Diagnostic Equipment Set for MCH; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Diagnostic Equipment Set for OPD | Health |  | 2 pieces; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Glassware Set, Laboratory, Basic | Health |  | 2 Diagnostic Equipment Set for OPD; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Hollow Ware Set, Treatment | Health |  | 2 Hollow Ware Set, Treatment; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Set, Dressing | Health |  | 4 Instrument Set, Dressing; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Set, Basic ENT | Health |  | 1 piece; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Set, Suture | Health |  | 3 Instrument Set, Basic ENT; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Pulse Oximeter, Hand held | Health |  | 2 Pulse Oximeter, Hand held; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bed, Adult Patient with Mattress | Health |  | 4 Adult Patient Beds with Mattress; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Health |  | 10 Bedside Locker; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Cupboard, Instrument | Health |  | 1 Instrument Cupboard Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Delivery Bed, Hydraulic Manual | Health |  | 1 Delivery Bed, Hydraulic Manual; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 Oxygen Therapy Apparatus, Mininum 45L cylinder; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 Resuscitator Manual, Infant, with all Mask sizes; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 Resuscitator Manual, Adult, with all mask sizes; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Suction Apparatus, (Electric) | Health |  | 1 Suction Apparatus, (Electric); Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Nebulizer, Ultrasonic | Health |  | 5 Nebulizer, Ultrasonic; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Oxygen Concentrator, Duo Flow | Health |  | I piece; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bench | Health |  | 4 Oxygen Concentrator, Duo Flow; Moyo district Aya subcounty-Aya HC iii |  | Not engraved | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Disinfection Buckets | Health |  | 2 Disinfection Buckets; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Baby Cot | Health |  | 2 Baby Cot; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Diagnostic Equipment Set for Ward | Health |  | 2 Diagnostic Equipment Set for Ward; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Hollow Ware Set, Ward | Health |  | 2 pieces; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Set, Delivery | Health |  | 2 Instrument Set, Delivery; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument Set, Stitch Removing | Health |  | 3 Instrument Set, Stitch Removing; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| MVA Kit | Health |  | 5 MVA Kit; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Stool, Laboratory | Health |  | 1 Stool, Laboratory; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Penguin Sucker | Health |  | 3 Penguin Sucker; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Fetoscope, Dopplar | Health |  | 2 Fetoscope, Dopplar; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 Centrifuge (Electric; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Kangaroo Mother Care Chair | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | 2 Haemoglobin Meter, Sahli Sahili model; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Delivery Bed | Health |  | 1 Delivery Bed; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Examination light | Health |  | 3 Examination light; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Instrument set, ENT Basic for HCIII | Health |  | 1 Instrument set, ENT Basic for HCIII; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 Office Chair, plastic frames with cushion seats; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Desk | Health |  | 5 Desk; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Filing Cabinet | Health |  | 6 Filing Cabinet; Moyo district Aya subcounty-Aya HC iii |  | NOT ENGRAVED | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water tank | Health |  | 4 pieces of plastic tanks with 5000 liters each; Moyo district Aya subcounty-Aya HC iii |  | Not engraved | 25/10/2023 | 25/10/2023 |  |  |  |  |  | Functional | Good working condition |
| 2 blocks of patients VIP latrine | Health |  | 2 stances each block; Moyo district Aya subcounty-Aya HC iii |  |  | 25/10/2023 | 25/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Residential Buildings | Health |  | 3 units of staff quarter; Moyo district Aya subcounty-Aya HC iii |  |  | 25/10/2023 | 25/10/2023 |  |  |  |  |  | functional | Good working condition |
| 2 blocks of Staffs VIP pit latrine | Health |  | 3 stances each; Moyo district Aya subcounty-Aya HC iii |  |  | 25/10/2023 | 25/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Kitchen | Health |  | 3 units; Moyo district Aya subcounty-Aya HC iii |  |  | 25/10/2023 | 25/10/2023 |  |  |  |  |  | Functional | Good working condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |