ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | MOYO DLG |
| VERIFIER PARTICULARS |  |
| Full name | OCAN INNOCENT |
| Contact/ email and Telephone | 0780843654 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: GBARI HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. We take record of non-functional assets and put them in the store to be taken back to the district in case it can’t be repaired. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES, MONTHLY |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | This project has improved reproductive health at the subcounty a lot because of the maternal ward, Patients can also be admitted. We are having challenges of water systems for the wards, no elecctric power. We also need more man power at the facility, we serve many people even from south Sudan, we have poor road system since the place is mountainous. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MOYO DLG                                         NAME OF HEALTH FACILITYGBARI HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | 2 B.P. Machine, Digital; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 B.P. Machine (Aneroid wall mounted); moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Autoclave 20 Liters.,Duo Operated | Health |  | Autoclave 20 Liters.,Duo Operated; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bowl, Kick | Health |  | 1 piece; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bowl Stand | Health |  | 3 Bowl Stand, metallic steel; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Counting chamber Neubauer- Improved | Health |  | 2 Counting chamber Neubauer- Improved; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Cupboard Steel, Lockable | Health |  | 2 Cupboard Steel, Lockable; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Drip Stand | Health |  | 8 Drip Stand metallic steel; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| ESR Stand | Health |  | 1 ESR Stand; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Examination Couch | Health |  | 4 Examination Couch; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Examination light,LED | Health |  | 3 Examination light,LED; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Glucometer | Health |  | 2 Glucometer; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Haemoglobin Meter, Digital | Health |  | 2 Haemoglobin Meter, Digital Sahili brand; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Height Meter | Health |  | 2 Height Meter; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Trolley | Health |  | 4 Instrument Trolley; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Microscope Binocular | Health |  | 1 piece; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Otoscope | Health |  | 1 Microscope Binocular; moyo district, Gbari health center, Gbari HC iii |  | Not engraved |  | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Patient Screen | Health |  | 5 Patient Screen; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Patient Trolley | Health |  | 1 Patient Trolley; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Refrigerator, Basic | Health |  | 1 Refrigerator, Basic; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Stethoscope | Health |  | 8 Stethoscope; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Stop Watch | Health |  | 1 Stop Watch; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Stretcher | Health |  | 2 Stretcher; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas | Health |  | 2 Stove, Gas; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale with Height Meter, Adult | Health |  | 2 Weighing Scale with Height Meter, Adult; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Infant | Health |  | 2 Weighing Scale, Infant; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Toddler | Health |  | 1 Weighing Scale, Toddler; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Wheel Chair | Health |  | 4 Wheel Chair; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Audio Visual Equipment | Health |  | 1 Audio Visual Equipment; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Medical Waste Bin | Health |  | 20 Medical Waste Bin; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Wall Clock | Health |  | 4 Wall Clock; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for MCH | Health |  | 2 Diagnostic Equipment Set for MCH; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for OPD | Health |  | 2 Diagnostic Equipment Set for OPD; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Glassware Set, Laboratory, Basic | Health |  | 2 Glassware Set,; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Treatment | Health |  | 2 Hollow Ware Set, Treatment; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Dressing | Health |  | 4 Instrument Set, Dressing; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Basic ENT | Health |  | 1 Instrument Set, Basic ENT; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Suture | Health |  | 3 Instrument Set, Suture; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Pulse Oximeter, Hand held | Health |  | 2 Pulse Oximeter, Hand held; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bed, Adult Patient with Mattress | Health |  | 4 Bed, Adult Patient with Mattress; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bed, Pediatric Patient, With Mattress | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Health |  | 10 Bedside Locker metallic steel; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Cupboard, Instrument | Health |  | 1 Cupboard, Instrument; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Delivery Bed, Hydraulic Manual | Health |  | 1 Delivery Bed, Hydraulic Manual; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 Oxygen Therapy Apparatus, Mininum 45L cylinder; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/202325/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 Resuscitator Manual, Infant, with all Mask sizes; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 Resuscitator Manual, Adult, with all mask sizes; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Suction Apparatus, (Electric) | Health |  | 1 Suction Apparatus, (Electric); moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Nebulizer, Ultrasonic | Health |  | 1 Nebulizer, Ultrasonic; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Oxygen Concentrator, Duo Flow | Health |  | 1 Oxygen Concentrator, Duo Flow; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bench | Health |  | 4 Bench; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Disinfection Buckets | Health |  | 2 Disinfection Buckets; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Baby Cot | Health |  | 2 Baby Cot; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for Ward | Health |  | 2 Diagnostic Equipment Set for Ward; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Ward | Health |  | 2 Hollow Ware Set, Ward; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Delivery | Health |  | 2 Instrument Set, Delivery; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Stitch Removing | Health |  | 3 Instrument Set, Delivery; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| MVA Kit | Health |  | 5 MVA Kit; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Stool, Laboratory | Health |  | 3 Stool, Laboratory; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Penguin Sucker | Health |  | 3 Penguin Sucker; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Fetoscope, Dopplar | Health |  | 2 Fetoscope, Dopplar; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bubble CPAP | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 Centrifuge (Electric; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Kangaroo Mother Care Chair | Health |  | 1 Kangaroo Mother Care Chair; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Radiant Infant Warmer | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | 2 pieces; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Delivery Bed | Health |  | 1 Haemoglobin Meter, Sahli; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Examination light | Health |  | 3 Examination light moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Instrument set, ENT Basic for HCIII | Health |  | 1 Instrument set, ENT Basic for HCIII; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 14 Bag Valve mask (Ambu Bag), Neonatal; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Incubator | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 Office Chair; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Desk | Health |  | 5 Desk; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Filing Cabinet | Health |  | 6 Filing Cabinet; moyo district, Gbari health center, Gbari HC iii |  | Not engraved | 25/10/2023 | 27/10/2023 |  |  |  |  |  | Functional | Good working condition |
| Non Residential Buildings | Health |  | 1 unit Labor ward; Good working condition |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  | functional | Good working condition |
| laboratory | Health |  | 1 unit of laboratory room; moyo district, Gbari health center, Gbari HC iii |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  |  | Good working condition |
| incinerator | Health |  | 1 unit of incinerator; moyo district, Gbari health center, Gbari HC iii |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  | functional | Good working condition |
| Residential Buildings | Health |  | 1 block with 3 staff’s quarter; moyo district, Gbari health center, Gbari HC iii |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  | functional | Good working condition |
| 1 block of VIP pit latrine | Health |  | 3 stances; ; moyo district, Gbari health center, Gbari HC iii |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  | functional | Good working condition |
| 1 block of kichen | Health |  | 3 unit staffs kitchen; moyo district, Gbari health center, Gbari HC iii |  |  | 25/10/2023 | 27/10/2023 |  |  |  |  |  | functional | Good working condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |