ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHER REGION |
| --- | --- |
| SUB-REGION: | WEST NILE |
| Name of Local Government | NWOYA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MALE STELLA / ISAH LUKWAGO |
| Contact/ email and Telephone | 0776024184 / 0752868032 |
| Supervisor/ Sub team leader | VINCENT KIRIBAKKA |
| Name | VINCENT KIRIBAKKA |
| Contact | 0772628302 |
| Date of submission | 24/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		KOCH LII HC

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, the records have numbers supplied however, there are no costs |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is a maintenance technical team from Gulu referral hospital that supports in repair and maintenance especially the bigger machines however, this is done on their schedule. The smaller machines if found are repaired by the same team but in most cases it’s the facility that repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the records office/personnel. These assets are taken note of and reported to the technical team and also the DHO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There is increase in number of patients and the facility has gained trust amongst the community due to reliable service delivery since its well-equipped. There is a challenge of power thus some machines are not in use e.g., the oxygen machine. We recommend to work and power and ensure reliable supply for the facility to enable usage of electric devices in service delivery |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: 		NWOYA DLG		 NAME OF HEALTH FACILITY		KOCH LII H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  | 2 - B.P Machines (Aneroid wall mounted) Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use 1 in box |
| B.P. Machine (Aneroid wall mounted) | Health |  | 2 - B.P Machines (Aneroid wall mounted) Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use 1 in box |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  | 1 - Bowl kicks Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use and operational |
| Bowl Stand | Health |  | 2 - Bowl Stands Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | Both in use |
| Counting chamber Neubauer- Improved | Health |  | 2 - Counting chamber Neubauer Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and other in store |
| Cupboard Steel, Lockable | Health |  | 2 - Cupboard Steel, Lockable Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Drip Stand | Health |  | 8 – Drip stands Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use and operational |
| ESR Stand | Health |  | 1 – ESR Stand Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use |
| Examination Couch | Health |  | 2 - Examination Couch Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Health |  | 2 – Glucometer Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Haemoglobin Meter, Digital | Health |  | 2 – Haemoglobin Meter, Digital Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Height Meter | Health |  | 1 - Height Meter Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Instrument Trolley | Health |  | 2 - Instrument Trollies Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Microscope Binocular | Health |  | 1 - Microscope Binocular Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Otoscope | Health |  | 1 – Otoscope (yuwell) Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Patient Screen | Health |  | 4 - Patient Screens Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Patient Trolley | Health |  | 1 - Patient Trolley Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Refrigerator, Basic | Health |  | 1 - Refrigerator, Basic Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use |
| Stethoscope | Health |  | 4 – Stethoscopes Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in store |
| Stop Watch | Health |  | 2 - Stop Watch Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use 1 kept in store |
| Stretcher | Health |  | 1 – Stretcher Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Stove, Gas | Health |  | 1 - Stove, Gas Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use and fully operational |
| Weighing Scale with Height Meter, Adult | Health |  | 2 - Weighing Scales with Height Meter, Adult Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | Both in use across different sections |
| Weighing Scale, Infant | Health |  | 2 - Weighing Scale, Infant Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Weighing Scale, Toddler | Health |  | 2 - Weighing Scale, Toddler Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | 6 - Medical Waste Bins Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Wall Clock | Health |  | 4 - Wall Clocks Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 2 in use and 2 kept in store boxed |
| Diagnostic Equipment Set for MCH | Health |  | 2 - Diagnostic Equipment Set for MCH Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Diagnostic Equipment Set for OPD | Health |  | 2 - Diagnostic Equipment Sets for OPD Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | Both in use and fully operational |
| Glassware Set, Laboratory, Basic | Health |  | 2 - Glassware Sets, Laboratory, Basic Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | 2 - Instrument Sets, Dressing Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Instrument Set, Basic ENT | Health |  | 3 - Instrument Sets, Basic ENT Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 2 in use and 1 kept in store boxed |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | 2 - Pulse Oximeters, Hand held Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store boxed |
| Bed, Adult Patient with Mattress | Health |  | 10 - Bed, Adult Patient with Mattress Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Bed, Pediatric Patient, With Mattress | Health |  | 5 - Bed, Adult Patient with Mattress Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  | 1 - Cupboard, Instrument Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual | Health |  | 1 - Delivery Bed, Hydraulic Manual Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 2 – Oxygen Therapy Apparatus, Mininum 45L cylinder Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | 1 in use and 1 kept in store |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Health |  | 5 – Baby Cot (pink and grey, plastic and metallic) Nwoya District, Lii SC, Koch Lii HC III | 60 | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | All in use at In Patient and Maternity sections |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | Health |  | 1 – Stool, Laboratory (Metallic with cushion) Nwoya District, Lii SC, Koch Lii HC III | 60 | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | In use at the lab |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health |  | 1 – Kangaroo Mother Care Chair Nwoya District, Lii SC, Koch Lii HC III | 60 | Not yet engraved | 5/7/25 |  |  |  |  |  |  | Functional | In use at the lab |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | Health |  | 2 – Examination light Nwoya District, Lii SC, Koch Lii HC III | 60 | Not yet engraved | 5/725 |  |  |  |  |  |  | Functional | Both in use |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | 7 – Office Chairs, Heavy-duty cloth swivel chair with reinforced rollers Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Desk | Health |  | 3 – Desks, wooden rails and metallic base Nwoya District, Lii SC, Koch Lii HC III | 120 | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use in at OPD/IPD |
| Filing Cabinet | Health |  | 2 – Filing Cabinets Nwoya District, Lii SC, Koch Lii HC III | 60 | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Mid Upper Arm Tape | Health |  | 4 – Filing Cabinets Nwoya District, Lii SC, Koch Lii HC III |  | Not yet engraved | 10/6/25 |  |  |  |  |  |  | Functional | All in use in different sections |
| Non Residential Buildings | Health |  | 1 structure – comprising of OPD offices, Maternity, Inpatient, Lab with latrines, Nwoya District, Lii SC, Koch Lii HC III |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		ATEGO SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility is still under construction and has not been commissioned as well no assets have been supplied yet, building structures are still under construction.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes N/A |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The student turn up has increased and generally parents know the benefits of education based on performance. However, there is a challenge of power surges. There is need for a stable power supply. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		ATEGO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desks | Education |  | 120 desks – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office chairs | Education |  | 10 office chairs – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Laboratory stools | Education |  | 290 Laboratory stools – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Office tables | Education |  | 10 office tables with drawer lockers – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Student chairs | Education |  | 278 student chairs – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Shelves cabinet | Education |  | 7 Shelves cabinets – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Tables | Education |  | 75 tables – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Book shelves |  |  | 6 book shelves - Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Chemical and Reagents for Sci Lab |  |  | Chemical and Reagents for Sci Lab - Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Science Lab equipments |  |  | Science Lab equipments - Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		ATEGO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer | Education |  | 28 Dell Desktop 19.5 Inch Display Monitor Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Power Surge protector | Education |  | 10 Power Surge Protectors Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Network Switch 24 Port | Education |  | 2 Network Switch 24 Ports Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Multipurpose Printer | Education |  | 1 Multipurpose Printer, Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Server UPS | Education |  | 1 Server UPS Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| UPS | Education |  | 28 UPS Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Projector |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Conditioners | Education |  | 1 Air Conditioner Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| CCTV Camera | Education |  | 3 CCTV Camera Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Fire wall |  |  | 1 Fire wall Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Network rack cabinet |  |  | 1 Network Rack cabinet Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Router |  |  | 1 router Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Wireless Router |  |  | 1 Wireless router Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| LAN |  |  | 1 LAN (Local Area Network) Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	NEBBI DLG				 Name of SCHOOL 		ATEGO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non- residential (Classrooms blocks) | Education |  | Classrooms blocks - 3 blocks each with 2 classroom – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential – (Administration Block) | Education |  | Administration block with offices and staffroom – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Multipurpose building) | Education |  | Multipurpose building (main hall) approx. 3 classrooms – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (Science Laboratory) | Education |  | 1 Science lab block with two rooms – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Non- residential (ICT Laboratory and Library) | Education |  | 1 block for ICT Laboratory and Library with solar – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Nebbi District, Atego SC, Atego Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Girl students’ latrine – Nebbi District, Atego SC, Atego Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Boys students’ latrine 5 stances – Nebbi District, Atego SC, Atego Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Pit latrines | Education |  | 1 Administration latrine – Nebbi District, Atego SC, Atego Seed School |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential (Staff Quarters) | Education |  | 3, Staff Quarters double rooms with latrines and kitchen – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Water tanks | Education |  | 4 Steel and 2 plastic water tanks – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Perimeter fence | Education |  | Wire mesh perimeter fence – Nebbi District, Atego SC, Atego Seed School |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |