ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | WEST NILE SUB REGION |
| Name of Local Government | YUMBE DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | SIKIA FIKIRA |
| Contact/ email and Telephone | 0783517165 |
| Supervisor/ Sub team leader |  |
| Name | MR KIRIBAKKA VINCENT |
| Contact | 0772628302 |
| Date of submission | 06/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of LG;  YUMBE DISTRICT.      NAME OF THE HEALTH CENTER;  NYORI HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift For the house, there is cleanliness. For the Equipments there is monthly and Eventry counts. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes For the cases of minor breakdowns it’s the facility that takes charge of the the. For major ones it’s the District that takes charge of them |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Ugift brought services closer to the community. Brings unity through community dialogues. CHALLENGES Ther is no space for store due to congestion. The facility is half way fenced which has caused insects unity. Lck of power. RECOMMENDATIONS Need for power to be I stalled. Agent need for store. Need for staff accommodation since it’s o lying one block. |
| --- | --- | --- |

PROCEED TO VERIFICATION A

NAME OF; YUMBE DISTRICT       NYORI HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost |  | Acc Dep Cost | Net Book Value |  | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digit | Health |  | 02 Bp machines Digital Yumbe, DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/4/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| B.P. Machine (Aneroid wall mounted) | Health |  | 03 Wall mounted BP Machines Yumbe DISTRICT, Lodonga Sub_County ,Nyori Health center III |  | Not engraved | 19/4/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Autoclave 20 Liters.,Duo Operated | Health |  | 02 20 liter Dual 0perated Autoclave Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/4/25 | 09/4/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Bowl, Kick | Health |  | 01 Bowl kick Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/4/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Bowl Stand | Health |  | 03 Bowl stand Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/25 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Counting chamber Neubauer- Improved | Health |  | 02 counting chamber nebulizer improved Yumbe DISTRICT, Lodonga subcounty ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Cupboard Steel, Lockable | Health |  | 02 cupboard steel lockable Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Drip Stand | Health |  | 13 Drip stands Yumbe DISTRICT, Lodonga sub-county ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| ESR Stand | Health |  | 01 ESR S stand Yumbe DISTRICT, Lodonga sub-county ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Examination Couch | Health |  | 04 examination couch Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 19/04/25 | 09/04/26 |  | - Not indicated |  |  |  |  |  | Good | In use |
| Examination light,LED | Health |  | Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Glucometer | Health |  | 04 glucometer Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good condition | All functional |
| Haemoglobin Meter, Digital | Health |  | 02 Haemoglobin meter, digital Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Height Meter | Health |  | 02 height meter Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Instrument Trolley | Health |  | 03 Instrument trolley Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Microscope Binocular | Health |  | 02 microscope binocular Yumbe DISTRICT London sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | 01 is used and 01 is reserved |
| Otoscope | Health |  | 01 Otoscope Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Patient Screen | Health |  | 08 patient screen Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | Not indicated |  |  |  |  |  | Good | All functional |
| Patient Trolley | Health |  | 3 patient Trolley Yumbe DISTRICT Lodonga sub county Nyori HCI |  | Not engraved | 19/04/24 | 25/03/26 |  | _ |  |  |  |  |  | Good | In use |
| Refrigerator, Basic | Health |  | 02 refrigerators Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  |  |  |  |  |  |  | Good | 01 in use 01 still reserved due to limited power |
| Stethoscope | Health |  | 08 stethoscopes Yumbe DISTRICT London sub county Nyori HCIII |  | Not engraved | 19/04/25 | 25/03/26 |  | Not indicated |  |  |  |  |  | Good | All functional |
| Stop Watch | Health |  | 01 stope watch Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 25/03/26 |  | Not indicated |  |  |  |  |  | Good | In use |
| Stretcher | Health |  | 02 stretchers Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  |  |  |  |  |  |  | Good | All are functional |
| Stove, Gas | Health |  | 01 stove gas Yumbe DISTRICT London sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  | 360,000 |  |  |  |  |  | Good | Functional |
| Weighing Scale with Height Meter, Adult | Health |  | 04 weighing scale adult Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 |  |  | Not indicated |  |  |  |  |  | Good | All in use |
| Weighing Scale, Infant | Health |  | 04 weighing scale Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 09/4/26 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Weighing Scale, Toddler | Health |  | 02 weighing scale toddler Yumbe DISTRICT Lodonga sub county Nyori HCIII |  |  | 19/04/25 | 09/4/26 |  | Not indicated |  |  |  |  |  | Good | All packed |
| Wheel Chair with drip stand | Health |  | 03 wheel chair with drip stand Yumbe DISTRICT London sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  | 610 000 |  |  |  |  |  | Good | 01 chair is with drip stand while 02 are without drip stand |
| Audio Visual Equipment | Health |  | 01 Audio visual equipment Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  | 475,000 |  |  |  |  |  | Good | Still functional |
| Medical Waste Bin | Health |  | 20 medical waste bin Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  | 222,000 |  |  |  |  |  | Good | All Functional |
| Wall Clock | Health |  | 05 wall clocks Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 15/05/24 |  |  | 155,000 |  |  |  |  |  | Good | All placed in use |
| Diagnostic Equipment Set for MCH | Health |  | 02 diagnostic equipment set for MCH Yumbe DISTRICT Lodonga sub couny Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 198,744 |  |  |  |  |  | Good | All in use |
| Diagnostic Equipment Set for OPD | Health |  | 02 diagnostic Equipment set for OPD Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 1 406,496 |  |  |  |  |  | Good | All functional |
| Glassware Set, Laboratory, Basic | Health |  | 02 glass ware set laboratory Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 443,352 |  |  |  |  |  | Good | In use |
| Hollow Ware Set, Treatment | Health |  | 02 Hollow set ware for treatment Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 2,984,218 |  |  |  |  |  | Good | All in use |
| Instrument Set, Dressing | Health |  | 02 instrument set for dressing Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 478,509 |  |  |  |  |  | Good | In use |
| Instrument Set, Basic ENT | Health |  | 02 instrument set for basic ENT Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 1,681,680 |  |  |  |  |  | Good | All in use |
| Instrument Set, Suture | Health |  | 03 instrument set for suture Yumbe DISTRICT Lodonga sub con ty Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 585,530 |  |  |  |  |  | Good | All in use |
| Pulse Oximeter, Hand held | Health |  | 02 pulse oximeter hand held Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/05/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | All in use |
| Bed, Adult Patient with Mattress | Health |  | 10 adult beds patient with mattresses Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/2026 |  | Not inlcluded |  |  |  |  |  | Good | All in use |
| Bed, Pediatric Patient, With Mattress | Health |  | 10 Adult patient Beds with mattress Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/04/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | All in use |
| Bedside Locker | Health |  | 10 Bed side lockers, Yumbe DISTRICT, Lodonga sub county, Nyori HCIII |  | Not engraved | 19/4/25 | 09/4/26 |  | _ |  |  |  |  |  | Good | All in use |
| Cupboard, Instrument | Health |  | 01 cupboard instrument Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | All in use |
| Delivery Bed, Hydraulic Manual | Health |  | 01 Yumbe DISTRICT Londonga sub cou ty Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 2 500,000 |  |  |  |  |  | Good | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 02 Oxyge therapy aparatus Yumbe DISTRICT Londonga sub cou ty Nyori HCIII |  | Not engraved | 19/4/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | All in use |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 05 resuscitator I fant Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 06 resuscitator manual with all masks sizes Adult Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 19/4/25 | 09/04/26 |  | _ |  |  |  |  |  | Good | All in use |
| Suction Apparatus, (Electric) | Health |  | 02 sunction aparatus Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 0904/26 |  | _ |  |  |  |  |  | Good | All in use |
| Nebulizer, Ultrasonic | Health |  | 01 neubalizer Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 0904/26 |  | _ |  |  |  |  |  | Good | Functional |
| Oxygen Concentrator, Duo Flow | Health |  | 02 oxygen concentrator Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Bench | Health |  | 04 benches Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved |  | 22/04/25 |  | 760 000 |  |  |  |  |  | Good | All in use |
| Disinfection Buckets | Health |  | 02 difinfection buckets Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 2805/24 | 22/04/25 |  | 170,000 |  |  |  |  |  | Good | Functional |
| Baby Cot | Health |  | 03 baby cot Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 0904/26 |  | _ |  |  |  |  |  | Good | All in use |
| Diagnostic Equipment Set for Ward | Health |  | 02 diagnostic equipment set for ward Yumbe DISTRICT London sub cou ty Nyori HCI |  | Not engraved | 28/05/24 | 22/04/25 |  | 963,144 |  |  |  |  |  | Good | In use |
| Hollow Ware Set, Ward | Health |  | 02 Hollow set ware Yumbe DISTRICT London sub cou ty Nyori HCI |  | Not engraved | 28/05/24 | 22/04/25 |  | 3,469,643 |  |  |  |  |  | Good | All in use |
| Instrument Set, Delivery | Health |  | 02 instrument set for delivery, Yumbe DISTRICT, Lodonga sub_county ,Nyori Health center III |  | Not engraved | 28/05/24 | 22/04/25 |  | 768,509 |  |  |  |  |  | Good | In use |
| Instrument Set, Stitch Removing | Health |  | 02 instrument set for stitch removing, Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/05/24 | 22/4/25 |  | 627,381 |  |  |  |  |  | Good | All in use |
| MVA Kit | Health |  | 02 Yumbe DISTRICT Lodonga sub cou ty Nyori HCI |  | Not engraved | 28/5/24 | 22/4/25 |  | Not indicated |  |  |  |  |  | Good | All in use |
| Stool, Laboratory | Health |  | 03 Yumbe DISTRICT Lodonga sub cou ty Nyori HCI |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Penguin Sucker | Health |  | 03 Yumbe DISTRICT Lodonga sub cou ty Nyori HCI |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Fetoscope, Dopplar |  |  | 03 fetoscopes Dopplar Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | Functional |
| Bubble CPAP | Health |  | 01 Bibble CPAP, Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Centrifuge (Electric) | Health |  | 01Centrifuge, Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Kangaroo Mother Care Chair | Health |  | 01 Kangaro Mother care chair, Yumbe DISTRICT Lodonga gasub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  | 2,500,000 |  |  |  |  |  | Good | All in use |
| Radiant Infant Warmer | Health |  | 01 Radiant infant warmer. Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Haemoglobin Meter, Sahli | Health |  | 01 Haemoglobin, meter, sahli Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  |  |  |  |  |  |  | Good | All in use |
| Delivery Bed | Health |  | 02 Delivery bed,Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved | 28/5/24 | 22/4/25 |  | 2,500,000 |  |  |  |  |  | Good | All in use |
| Examination light | Health |  | Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  |  | 28/5/24 | 11/6/24 |  | 1,681,680 |  |  |  |  |  | Good | All in use |
| Instrument set, ENT Basic for HCIII | Health |  | 02 Instrument set, ENT Basic for HCIII, Yumbe DISTRICT London sub cou ty Nyori HCIII |  | Not engraved | 19/4/25 | 25/4/26 |  | ,Not indicated |  |  |  |  |  | Good | All in use |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 15 ambu bag valve ,mask Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 09/4/26 |  | Not indicated |  |  |  |  |  | Good | All consumed |
| Incubator |  |  | 01 incubator Yumbe DISTRICT Lodonga sub county Nyori HCIII |  | Not engraved | 19/4/25 | 09/4/26 |  | Not indicated |  |  |  |  |  | Good | Functional |
| Office Chair | Health |  | 07 office hairs Yumbe DISTRICT Londonga sub county Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 695,000 |  |  |  |  |  | Good | All functional |
| Desk |  |  | 05 Desks , Yumbe DISTRICT, Lodonga sub county, nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 745,000 |  |  |  |  |  | Good | All functional |
| Filing Cabinet | Health |  | 04 filing cabinets Yumbe DISTRICT Londonga sub cou ty Nyori HCIII |  | Not engraved | 28/05/24 | 22/04/25 |  | 2,595,000 |  |  |  |  |  | Good | All functional |
| Non Residential Buildings | Health |  | 01 non residential building containing general ward, and maternity Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved |  |  |  |  |  |  |  |  |  | Good | In use |
| Out side toilet and bath room with 04 units | Health |  | O1 out side toilet and bathrooms containing 4 units Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved |  |  |  |  |  |  |  |  |  | Good | In use |
| Residential Buildings | Health |  | 01 staff 02 units containing Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved |  |  |  |  |  |  |  |  |  | Good | In use |
| Water tanks | Health |  | 05 water tanks 02 for the toilets and 02 for the health center and I for the staff Yumbe DISTRICT Lodonga sub cou ty Nyori HCIII |  | Not engraved |  |  |  |  |  |  |  |  |  | Good | All the 3 are working while 2 which are connected for the toilet are not yet connected |
| Incinerator and placenta pit | Health |  | O 1 incinerator and 1 placenta pit for nyori HCIII |  | Not engraved |  |  |  |  |  |  |  |  |  | Good | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server YUMBE DISTRICT    NAME OF SCOOL LODONGA SEED SECONDARY SCHOOL

Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG  	Name of  SCHOOL: LODONGA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Class room desks | Education |  | 120 class room desks In all the classes, Yumbe District, Lodonga sub-county, Lodonga seed ss |  |  |  |  |  |  |  |  |  |  |  |
| Chairs | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Education |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |