ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | OKWERODOT SUB COUNTY, KOLE DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/ nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader | DENIS TAWOODA BUDALI |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………AYARA HEATH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. They have a delivery note |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility reported that, to date, none of the UGIFT-supported assets has experienced a breakdown requiring repair or replacement. As a result, the facility has not yet had to implement a specific repair or replacement process for these assets.

The facility further reported that a group of individuals recently visited and provided their contact details, indicating that they could be contacted to undertake repairs in the event that any of the assets develop faults or break down. This provides the facility with a potential source of technical support should maintenance needs arise in the future.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility reported that it maintains an inventory book to track the functionality and condition of its assets, including records of functional and non-functional items and, where applicable, breakdowns.

However, the inventory book was not available for review during the verification visit. It was reportedly kept under the custody of the facility in charge, who was not present at the time of the visit. As a result, the team was unable to independently review the records or assess the extent to which the functionality and breakdown of UGIFT-supported assets are regularly documented.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- According to the facility staff, UgIFT support has contributed to improved service delivery through the provision of essential medical equipment. The availability of the equipment has enhanced the facility’s capacity to conduct diagnoses and provide appropriate treatment to patients.

- The facility reported that it now has the necessary equipment to support the management and treatment of patients, contributing to improved access to diagnostic and treatment services.

Issues/Challenges:
The facility did not report any significant issues or challenges associated with the UgIFT support at the time of the visit.

Only the benches were engraved: “GOU/MOH UGIFT PROJECT FY 2023-2024”

Recommendations:
No specific recommendations were provided by the facility regarding the implementation of the UgIFT support.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…OKWERODOT, KOLE DISTRICT    NAME OF HEALTH FACILITY…AYER HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 01 | Clinical room |  | B.P. Machine, Digital |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| B.P. Machine (Aneroid wall mounted) 02 | Store |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Autoclave 20 Liters.,Duo Operated 01 | Sterilization room |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Bowl, Kick 02 | - |  | Bowl, Kick |  | Not engraved | 23/5/25 |  |  |  |  |  |  | - | Seen on delivery note but not verified |
| Bowl Stand 03 | Maternity ward |  | Bowl Stand |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | Not in use. Bowls seen in nurses office cabinet and stands in the store 03 |
| Counting chamber Neubauer- Improved 02 | - |  |  |  |  |  |  |  |  |  |  |  | - | Not verified despite being on the delivery note 02 |
| Cupboard Steel, Lockable | OPD |  | Cupboard Steel, Lockable |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 02 |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand 01 | Laboratory |  | ESR Stand |  |  | 16/4/25 |  |  |  |  |  |  |  | Seen on delivery note but not verified |
| Examination Couch 02 | Maternity ward |  | Examination Couch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Clinical room |  | Examination Couch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Examination light,LED | Store |  | Examination light,LED |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 01 | Maternity |  | Height Meter |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Fair | In use but it was bent in the middle 01 |
| Instrument Trolley 02 | EPI room |  | Instrument Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity ward |  | Instrument Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope 01 | Store |  | Otoscope |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Patient Screen 04 | Clinical room |  | Patient Screen |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 02 |
|  | Maternity |  | Patient Screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 02 |
| Patient Trolley 01 | Maternity |  | Patient Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Refrigerator, Basic 01 | Laboratory |  | Refrigerator, Basic |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Stethoscope 04 | Clinical room |  | Stethoscope |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | Store |  | Stethoscope |  | Not engraved | 23/4/25 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Stop Watch 02 | Store |  | Stop Watch |  | Not engraved | 14/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Stretcher 01 | Maternity |  | Stretcher |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Stove, Gas 01 | Sterilzation room |  | Stove, Gas |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Functional | In use 01 |
| Weighing Scale with Height Meter, Adult 02 | Store |  | Weighing Scale with Height Meter, Adult |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Weighing Scale, Infant 02 | Labor suite |  | Weighing Scale, Infant |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | store |  | Weighing Scale, Infant |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Weighing Scale, Toddler 02 | store |  | Weighing Scale, Toddler |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Wheel Chair 02 | Maternity |  | Wheel Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 03 | Maternity |  | Medical Waste Bin |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | Store |  | Medical Waste Bin |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use(02) |
| Wall Clock 04 | Labour suite |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Functional | In use(01) |
|  | Store |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use(03) |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD 02 | Store |  | Diagnostic Equipment Set for OPD |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Glassware Set, Laboratory, Basic 02 | Store |  | Glassware Set, Laboratory, Basic |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 02 | Store |  | Instrument Set, Dressing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Instrument Set, Basic ENT 02 | Store |  | Instrument Set, Basic ENT |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 02 | Clinocal room |  | Pulse Oximeter, Hand held |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  |  |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition. Not functional | Not in use. Missing a charger (Type C) 01 |
| Bed, Adult Patient with Mattress 10 | Maternity |  | Bed, Adult Patient with Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | All in use (10) |
| Bed, Pediatric Patient, With Mattress 05 | Maternity |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | All in use (05) |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument 01 | - |  | Cupboard, Instrument |  | Not engraved | 23/5/25 |  |  |  |  |  |  | - | Was not delivered by the supplier |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes 03 | Store |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Resuscitator Manual, Adult, with all mask sizes 03 | Store |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in sue (03) |
| Suction Apparatus, (Electric) 01 | Store |  | Suction Apparatus, (Electric) |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Nebulizer, Ultrasonic 01 | Store |  | Nebulizer, Ultrasonic |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Oxygen Concentrator, Duo Flow 02 | Store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Bench 04 | Laboratory |  | Bench |  | GOU/MOH-UGIFT PROJECT/FY 2023-2024 | - |  |  |  |  |  |  | Good condition | In use (01) |
|  | Clinical room |  | Bench |  | GOU/MOH-UGIFT PROJECT/FY 2023-2024 | - |  |  |  |  |  |  | Good condition | In use (01) |
|  | Maternity |  | Bench |  | GOU/MOH-UGIFT PROJECT/FY 2023-2024 | - |  |  |  |  |  |  | Good condition | In use (02) |
| Disinfection Buckets 06 | Labor suite |  | Disinfection Buckets |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | In use (04) |
|  | Maternity |  |  |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Baby Cot 02 | Labor suite |  | Baby Cot |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Diagnostic Equipment Set for Ward 01 | store |  | Diagnostic Equipment Set for Ward |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Hollow Ware Set, Ward 01 | store |  | Hollow Ware Set, Ward |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Instrument Set, Delivery 03 | store |  | Instrument Set, Delivery |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | All in use (03) |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 03 | Labour suite |  | MVA Kit |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
|  | Store |  | MVA Kit |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Stool, Laboratory 01 | Laboratory |  | Laboratory |  | Not engraved | 23/5/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Penguin Sucker 03 | Labour suite |  | Labour suite |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 03 |
| Fetoscope, Dopplar 02 | Maternity |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Dispensing store |  | Centrifuge (Electric) |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use because of the small lab space 01 |
| Kangaroo Mother Care Chair 01 | Maternity |  | Kangaroo Mother Care Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Radiant Infant Warmer 01 | Labour suite |  | Radiant Infant Warmer |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Laboratory |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
|  | Maternity |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
|  | Clinical room |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
| Desk | Laboratory |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
|  | Maternity |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
|  | Records |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
| Filing Cabinet | Clinical room |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
|  | Records |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
| Non Residential Buildings | Latrines |  | Latrines |  |  | - |  |  |  |  |  |  | Good condition | In use |
|  | Placenta pit |  | Placenta pit |  |  | - |  |  |  |  |  |  | Good condition | In use |
|  | Water tanks |  | 10000l (02)-maternity ward 3000l (01)-maternity ward 2000l (01) - staff |  |  | - |  |  |  |  |  |  | Good condition | In use |
| Residential Buildings | Maternity ward |  | Maternity ward |  |  | - |  |  |  |  |  |  | Good condition | In use |
|  | Staff quarters |  | Residences for staff |  |  | - |  |  |  |  |  |  | Good condition | In use |
| Mid upper arm tape 03 | OPD |  | Mid upper arm tape |  |  | - |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | Mid upper arm tape |  |  | - |  |  |  |  |  |  | Good condition | In use (02) |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |