ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | AYER, LWARA KOLE DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/ nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …AYER HEALTH CENTER III.

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No. we used a delivery note from the district |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

We either try fixing them ourselves or call someone within the community with expertise or knowledge and they do what they need to do in the easiest way possible

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No. mostly because we haven’t seen the need to do do. However, we don’t have many things breaking down . In regard to an inventory , we are just planning to start. Nine of the items is engraved so we cannot fully point out some items as coming from UGIFT.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Raised the inpatient numbers in the area.

- Coverage has widened to include people from outside the district since it neighbors Apac, Oyam etc districts

- Fully functional maternity services i.e. fully stocked maternity ward

Negative/Recommendation

Need a modern and well stocked OPD . Only the maternity stands out and the rest of the services exist in a very small building (former HC II building)

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…AYER, KOLE DISTRICT… NAME OF HEALTH FACILITY………AYER HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | Clinical room |  | BP Machine manual |  |  |  |  |  |  |  |  |  | Functional | In use but not on delivery note |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 02 | Maternity |  | Bowl Stand |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition. Not fully in use | In use, however, 1 bowl is missing and the other is full of dust 02 |
| Counting chamber Neubauer- Improved 02 | Laboratory |  | Counting chamber Neubauer- Improved |  | - | 16/4/25 |  |  |  |  |  |  | - | Not seen despite reporting that it is in the lab 02 |
| Cupboard Steel, Lockable 02 | Dispensing room |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Laboratoty |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Drip Stand 08 | Maternity |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (08) |
| ESR Stand 01 | - |  | ESR Stand |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | On delivery note but not seen 01 |
| Examination Couch 02 | Clinical room |  | Examination Couch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition/functional | In use 01 |
|  | maternity |  | Examination Couch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition/functional | In use 01 |
| Examination light,LED 02 | maternity |  | Examination light,LED |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use. Only 1 seems in use and the other is gathering dust 02 |
| Glucometer | laboratory |  | Glucometer |  | - | 16/4/25 |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT asset but not on delivery note |
| Haemoglobin Meter, Digital | laboratory |  | Haemoglobin |  | - | 16/4/25 |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT asset but not on delivery note |
| Height Meter 01 | maternity |  | Height Meter |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Instrument Trolley 02 | maternity |  | Instrument Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Microscope Binocular | - |  |  |  | - |  |  |  |  |  |  |  |  |  |
| Otoscope 01 | maternity |  | Otoscope |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Patient Screen 04 | - |  | Patient Screen |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | On delivery note but not seen |
| Patient Trolley 01 | In patient |  | Patient Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Refrigerator, Basic 02 | EPI room/OPD |  | Refrigerator, Basic |  | - | - |  |  |  |  |  |  | functional/active | In use. Reported as UGIFT but not on delivery note |
|  | Maternity |  |  |  | - |  |  |  |  |  |  |  | functional/active | In use. Reported as UGIFT but not on delivery note |
| Stethoscope 01 | Clinical room |  | Stethoscope |  | - | - |  |  |  |  |  |  | functional/active | In use. Reported as UGIFT but not on delivery note |
| Stop Watch 02 | store |  | Stop Watch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Functional | Not in use 02 |
| Stretcher 01 | maternity |  | Stretcher |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use. Boxes kept on top 01 |
| Stove, Gas 01 | Maternity |  | Stove, Gas |  | Not engraved | - |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
| Weighing Scale with Height Meter, Adult 02 | Maternity |  | Weighing Scale with Height Meter, Adult |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 02 |
| Weighing Scale, Infant 02 | Maternity |  | Weighing Scale, Infant |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Weighing Scale, Infant |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use 01 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Maternity |  | Wheel Chair |  | Not engraved | - |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT asset but not on delivery note |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 06 | Store |  | Medical Waste Bin |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
|  |  |  | Medical Waste Bin |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 03 |
| Wall Clock 04 | OPD |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Not functional | In use but not working probably due to no batteries 01 |
|  | Maternity |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Not functional | In use but not working probably due to no batteries 01 |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD 02 | - |  | Diagnostic Equipment Set for OPD |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | 02 on delivery note but none seen |
| Glassware Set, Laboratory, Basic 02 | - |  | Glassware Set, Laboratory, Basic |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | 02 on delivery note but none seen |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 02 | store |  | Instrument Set, Dressing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
|  | maternity |  | Instrument Set, Dressing |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | In use 01 |
| Instrument Set, Basic ENT 03 | store |  | Instrument Set, Basic ENT |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | 03 on delivery note but none seen. The one seen seemed dismantled |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress 10 | maternity |  | Bed, Adult Patient with Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (10) |
| Bed, Pediatric Patient, With Mattress 05 | Maternity |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (05) |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument 01 | - |  | Cupboard, Instrument |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | 01 on the delivery note but not seen |
| Delivery Bed, Hydraulic Manual 01 | maternity |  | Delivery Bed, Hydraulic Manual |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | maternity |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Only 1 out of 2 seen |
| Resuscitator Manual, Infant, with all Mask sizes 02 | maternity |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | 02 on delivery note but not seen |
| Resuscitator Manual, Adult, with all mask sizes 02 | maternity |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | 02 on delivery note but not seen |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow 02 | maternity |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 13/6/25 |  |  |  |  |  |  | Good condition | In use 02 |
| Bench 04 | maternity |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
| Disinfection Buckets | maternity |  | Disinfection Buckets |  | Not engraved | - |  |  |  |  |  |  | Good condition | Reported as UGIFT assets but not listed in the inventory |
| Baby Cot 05 | maternity |  | Baby Cot |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (05) |
| Diagnostic Equipment Set for Ward 03 | maternity |  | Diagnostic Equipment Set for Ward |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
| Hollow Ware Set, Ward 03 | store |  | Hollow Ware Set, Ward |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | The one in the store is dismantled |
| Instrument Set, Delivery 03 | maternity |  | Instrument Set, Delivery |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Only 1 out of 3 seen |
| Instrument Set, Stitch Removing 03 | store |  | Instrument Set, Stitch Removing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Only 1 out of 3 in store |
|  | maternity |  | Instrument Set, Stitch Removing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | 02 in use |
| MVA Kit 04 | maternity |  | MVA Kit |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use but only 1 out of 4 was seen |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker 03 | maternity |  | Penguin Sucker |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | store |  | Penguin Sucker |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Fetoscope, Dopplar 02 | maternity |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | store |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bubble CPAP | maternity |  | Bubble CPAP |  | - | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) but not on the delivery note |
| Centrifuge (Electric) | laboratory |  | Centrifuge (Electric) |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use. 1 out of 2 seen |
| Kangaroo Mother Care Chair | maternity |  | Kangaroo Mother Care Chair |  | - | 16/4/25 |  |  |  |  |  |  | Good condition | In use |
| Radiant Infant Warmer | maternity |  | Radiant Infant Warmer |  | - | 16/4/25 |  |  |  |  |  |  | Good condition | Reported as UGIFT asset but not on delivery note |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Maternity |  | Bag Valve mask (Ambu Bag), Neonatal |  | - |  |  |  |  |  |  |  | - | Reported as UGIFT asset but not on delivery note |
| Incubator | maternity |  | Incubator |  | - |  |  |  |  |  |  |  | - | Reported as UGIFT asset but not on delivery note |
| Office Chair 03 | Clinical room |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Records |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Fair condition | In use but broken 01 |
|  | Dispensing room |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | maternity |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Desk 03 | Records |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Fair condition. Can still be used | In use but broken drawers 01 |
|  | Maternity |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Filing Cabinet 03 | records |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Clinical room |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Dispensing room |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Non Residential Buildings | latrines |  | Non Residential Buildings |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  | Placenta pit |  | Non Residential Buildings |  | - | - |  |  |  |  |  |  | Well maintained | In use |
| Residential Buildings | Maternity block |  | Non Residential Buildings |  | -- | - |  |  |  |  |  |  | Good condition | In use |
|  | Water tanks |  |  |  | - | - |  |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |