ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | LIRA CITY, PUNULURU |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/ nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …… PUNULURU HEALTH CENTER III.

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. However, it is not clear. It does not clearly show which are the UGIFT assets. We used the inventory book they had to verify, including the knowledge of the health representative assigned to us. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility reported that, to date, none of the UGIFT-supported assets had experienced major breakdowns or required repairs. However, where an asset becomes damaged or requires servicing, the facility’s procedure is to compile a list of the affected items and submit it to the city in charge for follow-up.

The city then assigns the appropriate technical personnel to visit the facility, assess the reported items, and undertake the necessary repairs or servicing. This process is intended to ensure that damaged or non-functional assets are addressed and restored to working condition where possible.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility reported that it does not maintain a separate record specifically dedicated to tracking the functionality or breakdown of UGIFT-supported assets. Instead, the inventory book is used to record the status of the assets, including an indication of whether each item is functional or non-functional. This serves as the facility’s primary reference for monitoring the condition and functionality of its assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The facility reported that UGIFT support has contributed to improved access to health services within the area. The health center currently serves not only residents of Puniluru but also patients from neighboring areas within Kole District, given its location near the border with Lira District.

The availability of health services closer to the communities has contributed to increased uptake of services, as patients from the surrounding areas no longer have to travel long distances to access health services in Lira town. The facility indicated that this has improved accessibility and reduced the distance patients have to travel to seek care.

### Issues/Challenges

- All items in the facility are not engraved

- Several doors within the facility reportedly do not have functional locks, while others have become unhinged, raising concerns about the security of both infrastructure and equipment. The facility reported that it recently experienced a break-in, during which the maternity block was accessed and some items, including a gas cylinder, were stolen.

- The facility currently has only two nurses serving the entire health center. The facility reported that this has placed considerable strain on the available staff, particularly when managing the increasing number of patients seeking services.

### Recommendations

- The facility should prioritize repairing or replacing faulty door locks and securing doors that are no longer properly fitted. Additional measures to safeguard equipment and infrastructure should also be considered, particularly in areas housing valuable medical assets.

- Consideration should be given to increasing the number of nursing staff available at the facility in line with the growing patient workload and expanding catchment area. This would help reduce pressure on the existing staff and improve the facility’s capacity to provide timely and quality services.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…LIRA CITY … NAME OF HEALTH FACILITY……PUNULURU HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Clinical room |  | B.P. Machine, Digital |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity reception |  | B.P. Machine, Digital |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
| B.P. Machine (Aneroid wall mounted) 01 |  |  | B.P. Machine (Aneroid wall mounted |  | Not engraved |  |  |  |  |  |  |  | - | Not seen |
| Autoclave 20 Liters.,Duo Operated 01 | Staining room |  | Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Control room/maternity ward |  | Autoclave 20 Liters.,Duo Operated |  | - |  |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 02 | Store |  | Bowl stand |  | Not engraved |  |  |  |  |  |  |  | In good condition | Not in use 02 |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 03 | Laboratory |  | Cupboard Steel, Lockable |  | Not engraved |  |  |  |  |  |  |  | Fair condition | In use with a broken mirror 01 |
|  | Records |  | Cupboard Steel, Lockable |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | OPD |  | Cupboard Steel, Lockable |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
| Drip Stand 10 | Maternity ward |  | Drip Stand with movable custion |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (06) with missing custion base |
|  | Paed ward |  | Drip Stand with movable custion |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (01) |
|  | Postnatal ward |  | Drip Stand with movable custion |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (02) |
|  | Labour suite |  | Drip Stand with movable custion |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (01) |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch 13 | Clinical room |  | Examination Couch |  |  |  |  |  |  |  |  |  | Good condition | In use (02) |
|  | Injection room |  | Examination Couch |  |  |  |  |  |  |  |  |  | Good condition | In use 01 |
| Examination light,LED | Clinical room |  | Examination light,LED |  | - |  |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
|  | store |  | Examination light,LED |  | - |  |  |  |  |  |  |  | Good condition | Not in use. Reported as UGIFT but not on delivery note |
| Glucometer 01 | - |  | Glucomete |  | - |  |  |  |  |  |  |  | - | Not seen but on delivery note |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Injection room |  | Height Meter |  | - |  |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
|  | Clinical room |  | Height Meter |  | - |  |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
| Instrument Trolley 02 | Labour suite |  | Instrument trolley |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (02) |
| Microscope Binocular 01 | Laboratory |  | Microscope Binocular |  | - |  |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
| Otoscope | Store (OPD) |  | Otoscope |  | - | - |  |  |  |  |  |  | Good condition | Not in use Reported as UGIFT but not on delivery note |
| Patient Screen 03 | Injection room |  | Patient Screen |  |  | 15/8/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity ward |  | Patient Screen |  |  |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Postnatal ward |  | Patient Screen |  |  |  |  |  |  |  |  |  | Good condition | In use 01 |
| Patient Trolley 03 | Paed ward |  | Patient Trolley |  |  |  |  |  |  |  |  |  | Good condition | In use (01) Reported as UGIFT but not on delivery note |
|  | ANC maternity |  | Patient Trolley |  |  |  |  |  |  |  |  |  | Good condition | In use (02) Reported as UGIFT but not on delivery note |
| Refrigerator, Basic 01 | Laboratory |  | Refrigerator, Basic |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Labour suite |  | Refrigerator, Basic |  | - | - |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
| Stethoscope 04 | Maternity reception |  | Stethoscope |  | Not engraved | 15/8/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Labour suite |  | Stethoscope |  |  |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store (OPD) |  | Stethoscope |  |  |  |  |  |  |  |  |  | Good condition | Not in use (02) |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas 01 | store/control room |  | Stove, Gas |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use because the gas can is missing (stolen) |
| Weighing Scale with Height Meter, Adult | Clinical room |  | Weighing Scale with Height Meter, Adult |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Maternity reception |  | Weighing Scale with Height Meter, Adult |  |  | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on the delivery note |
| Weighing Scale, Infant 03 | Store (maternity/control room) |  | Weighing Scale, Infant |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | Not in use 02 |
|  | Labour suite |  | Weighing Scale, Infant |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 03 | Cliical room |  | Wheel chair |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store (maternity/control room) |  | Wheel chair |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Laboratory |  | Medical Waste Bin |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Staining room |  | Medical Waste Bin |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | ANC maternity |  | Medical Waste Bin |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
| Wall Clock | Clinical room |  | Wall Clock |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  | Records |  | Wall Clock |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  | Maternity reception |  | Wall Clock |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  | Labour suite |  | Wall Clock |  | - | - |  |  |  |  |  |  | Good condition | In use |
| Diagnostic Equipment Set for MCH | store/ control room |  | Diagnostic equip set micu |  |  |  |  |  |  |  |  |  | Good condition | Not in use |
| Diagnostic Equipment Set for OPD 01 | Store (control room) |  | Diagnostic Equipment Set for OPD |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Glassware Set, Laboratory, Basic 01 | Store (control room) |  | Glassware Set, Laboratory, Basic |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Hollow Ware Set, Treatment 01 | Store (control room) |  | Hollow Ware Set, Treatment |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Instrument Set, Dressing 01 | Store (control room) |  | Instrument Set, Dressing |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Instrument Set, Basic ENT 01 | Store (control room) |  | Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Instrument Set, Suture 01 | Store (control room) |  | Instrument Set, Suture |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Pulse Oximeter, Hand held | Store (control room) |  | Pulse Oximeter, Hand held |  | - | - |  |  |  |  |  |  | Good condition | Not in use |
| Bed, Adult Patient with Mattress 20 | Maternity |  | Bed, Adult Patient with Mattress |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (06) |
|  | Post natal |  | Bed, Adult Patient with Mattress |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (08) |
|  | neonatal |  | Bed, Adult Patient with Mattress |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (02) |
|  | Changing room |  | Bed, Adult Patient with Mattress |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (01) |
| Bed, Pediatric Patient, With Mattress 10 | Paed ward |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (10) |
| Bedside Locker 10 | maternity |  | Bedside Locker |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 05 |
|  | Post natal |  | Bedside Locker |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 05 |
| Cupboard, Instrument 01 |  |  | Cupboard, Instrument |  | Not engraved | 15/8/23 |  |  |  |  |  |  | - | On delivery note but not seen |
| Delivery Bed, Hydraulic Manual 01 | Labour suite |  | Delivery Bed, Hydraulic Manual |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes 15 | Store (maternity/control room) |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Resuscitator Manual, Adult, with all mask sizes 15 | Store (maternity/control room) |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Suction Apparatus, (Electric) 03 | - |  | Suction Apparatus, (Electric) |  | - | - |  |  |  |  |  |  | - | Not supplied |
| Nebulizer, Ultrasonic 01 | Store (maternity/control room) |  | Nebulizer, Ultrasonic |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Oxygen Concentrator, Duo Flow | Labour suite |  | Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Store (maternity/control room) |  | Oxygen Concentrator, Duo Flow |  | - | - |  |  |  |  |  |  | Good condition | Not in use. In use 01. Reported as UGIFT but not on delivery note |
| Bench | Maternity reception |  | Bench |  | - | - |  |  |  |  |  |  | Good condition | In use (04) Reported as UGIFT but not on delivery note |
| Disinfection Buckets 06 | Labour suite |  | Disinfection buckets |  | - | - |  |  |  |  |  |  | Good condition | In use 06. Reported as UGIFT but not on delivery note |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 01 | Store (maternity/control room) |  | Hollow Ware Set, Ward |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Instrument Set, Delivery 01 | Store (maternity/control room) |  | Instrument Set, Delivery |  | - | - |  |  |  |  |  |  | Good condition | Not in use 01. Reported as UGIFT but not on delivery note |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Store (maternity/control room) |  | MVA Kit |  | - | - |  |  |  |  |  |  | Good condition | Not in use 02 Reported as UGIFT but not on the delivery note |
| Stool, Laboratory | Laboratory |  | Stool, Laboratory |  | Not engraved | 15/8/23 |  |  |  |  |  |  |  | In use 01. |
| Penguin Sucker 03 | Labour suite |  | Penguin Sucker |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 03 |
| Fetoscope, Dopplar 02 | Labour suite |  | Fetoscope, Dopplar |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use 02 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Laboratory |  | Centrifuge (Electric) |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use |
| Kangaroo Mother Care Chair 01 | - |  | Kangaroo Mother Care Chair |  | - | - |  |  |  |  |  |  | - | On delivery note but not seen 01 |
| Radiant Infant Warmer 02 | - |  | Radiant Infant Warmer |  | - | - |  |  |  |  |  |  |  | On delivery note but not seen 02 |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Labour suite |  | Delivery Bed |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use (01) |
| Examination light | Injection room |  | Examination light |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not seen on delivery note |
| Instrument set, ENT Basic for HCIII | - |  | Instrument set, ENT Basic for HCIII |  | - | - |  |  |  |  |  |  | Good condition | Not in use |
| Bag Valve mask (Ambu Bag), Neonatal 15 | Labour suite |  | Bag Valve mask (Ambu Bag), Neonata |  | Not engraved | 15/8/23 |  |  |  |  |  |  | Good condition | In use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Injection room |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use (02) Reported as UGIFT but not on delivery note |
|  | Dispensary |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use. Reported as UGIFT but not on delivery note |
|  | Records |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use (02 Reported as UGIFT but not on delivery note ) |
|  | Laboratory |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use Reported as UGIFT but not on delivery note |
|  | Maternity reception |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use 01 Reported as UGIFT but not on delivery note |
|  | Counselling room |  | Office Chair |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
| Desk 03 | Clinical room |  | Desk |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Records |  | Desk |  | - | - |  |  |  |  |  |  | Good condition | In use 01 Reported as UGIFT but not on delivery note |
|  | Counselling room |  | Desk |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
| Filing Cabinet | Laboratory |  | Filing Cabinet |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Dispensary |  | Filing Cabinet |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Clinical room |  | Filing Cabinet |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Maternity ward |  | Filing Cabinet |  | - | - |  |  |  |  |  |  | Has a broken side | In use 01. Reported as UGIFT but not on delivery note |
| Non Residential Buildings | Placenta pit |  | Placenta pit |  | - | - |  |  |  |  |  |  | Functional | In use |
| Residential Buildings | Maternity block |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use |
|  | OPD |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use |
|  | Staff house |  | 3 blocks with 2 houses each |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  | Latrine |  |  |  | - | - |  |  |  |  |  |  | Good condition | In use |
| Fencing & walkway preparation | Beautification |  | Fencing and walkway |  | - | - |  |  |  |  |  |  | Good condition | In use |
| Solar panel | Store (maternity/control room) |  | Solar panel |  | - | - |  |  |  |  |  |  | Good condition | In use |
| Extinguishers 04 | Laboratory |  | Extinguishers |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Pead ward |  | Extinguishers |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Maternity reception |  | Extinguishers |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |
|  | Post natal |  | Extinguishers |  | - | - |  |  |  |  |  |  | Good condition | In use 01. Reported as UGIFT but not on delivery note |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |