ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | LIRA DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | APIO RUTH |
| Contact/ email and Telephone | 0760328927 |
| Supervisor/ Sub team leader |  |
| Name | MR BUDALI DENNIS |
| Contact | 0779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: BARLONYO HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes inventory book |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No repairs, services or replacements have been made yet.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes the records are kept in an inventory book

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Success

The equipment is being used to treat patients

Challenges

Insufficient structures

Recommendation

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

HEALTH CENTRE CHECKLIST

NAME OF LG LIRA DISTRICT   NAME OF HEALTH FACILITY: BARLONYO HEALTH CENTRE THREE

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 05 | OPD room |  | B.P. Machine, Digital |  | Not engraved |  |  |  |  |  |  |  | In good state | In use (3) |
|  | Maternity ward |  | B.P. Machine, Digital |  | Not engraved |  |  |  |  |  |  |  | In good state | In use (2) |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick 02 | maternityward, |  | Bowl, Kick | - | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
|  | OPD |  | Bowl, Kick | - | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand 08 | Maternity ward |  | Drip Stand |  | Not engraved | - | - |  |  |  |  |  | In good state | In use 08 |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch 02 | Maternity ward |  | Examination Couch |  | Not engraved | - | - |  |  |  |  |  | In good state | In use 02 |
| Examination light,LED | Maternity ward |  | Examination light,LED |  | Not engraved | - | - |  |  |  |  |  | In good state | Not engraved |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 01 | OPD room |  | Height Meter |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 01 | Laboratory |  | Microscope Binoculars |  | Not engraved | - | - |  |  |  |  |  | In good state | In use 01 |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen 04 | Maternity ward |  | Patient screen |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 04 |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Laboratory |  | CHIGO brand Refrigerator, Basic |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
|  | Maternity ward |  | Refrigerator, Basic |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Stethoscope 01 | OPD room |  | Stethoscope |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas 01 | Maternity ward |  | Stove, Gas |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Weighing Scale with Height Meter, Adult 01 | Maternity ward |  | Weighing Scale with Height Meter, Adult |  | Not engraved | - |  |  |  |  |  |  | In good state | In use (1) |
| Weighing Scale, Infant 01 | Maternity ward |  | Weighing Scale, Infant |  | Not engraved | - |  |  |  |  |  |  | In good state | In use (1) |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | Maternity ward |  | Wheel Chair |  | - |  |  |  |  |  |  |  | - | Written on the delivery note but was not verified because it was not there |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 03 | Maternity ward |  | Medical Waste Bin |  | Not engraved | - |  |  |  |  |  |  | In good state | In use (02) |
|  | laboratory |  | Medical Waste Bin |  | Not engraved |  |  |  |  |  |  |  |  | In use 01 |
| Wall Clock 02 | Maternity ward |  | Wall Clock |  | Not engraved | - |  |  |  |  |  |  | In good state | In use (01) |
|  | OPD room |  | Wall Clock |  | Not engraved | - |  |  |  |  |  |  | In good state | In use (01) |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress 10 | Maternity ward |  | Bed, Adult Patient with Mattress |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 10 |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker 01 | Maternity ward |  | Bedside locker |  | - |  |  |  |  |  |  |  | In good state | In use (1) Not engraved |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual 01 | Maternity ward |  | Delivery Bed, Hydraulic Manual |  | - |  |  |  |  |  |  |  | In good state | In use 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | - |  | Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  | - | On the delivery note but not delivered |
| Nebulizer, Ultrasonic | - |  | Nebulizer, Ultrasonic |  | - |  |  |  |  |  |  |  | - | On the delivery note but not delivered |
| Oxygen Concentrator, Duo Flow | - |  | Oxygen Concentrator, Duo Flow |  | - |  |  |  |  |  |  |  | - | On the delivery note but not delivered |
| Bench 03 | Maternity ward |  | Bench |  | Not engraved |  |  |  |  |  |  |  |  | In use (2) |
|  | OPD |  | Bench |  | Not engraved |  |  |  |  |  |  |  |  | In use 01 |
| Disinfection Buckets 04 | Maternity ward |  | Disinfection Buckets |  | Not engraved |  |  |  |  |  |  |  | In good state | In use 04 |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Maternity ward |  | Kangaroo Mother Care Chair |  | - |  |  |  |  |  |  |  | In good state | In use Not engraved |
| Radiant Infant Warmer 01 | - |  | Radiant Infant Warmer |  | Not engraved |  |  |  |  |  |  |  | - | On the delivery note but not delivered since it was not there it was not verified |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 02 | Maternity ward OPD room |  | Office Chair |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
|  | OPD room |  | Office Chair |  | Not engraved | - |  |  |  |  |  |  | In good state | In use 01 |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Pit latrines |  | Non Residential Buildings |  | - |  |  |  |  |  |  |  | In good state | In use |
| Residential Buildings | Staff houses |  | Residential Buildings |  | - |  |  |  |  |  |  |  | In good state | In use |
|  | Kitchen |  | Residential Buildings |  | - |  |  |  |  |  |  |  | In good condition | In use |
|  | Maternity ward |  | Residential Buildings |  | - |  |  |  |  |  |  |  | In good condition | In use |
|  | OPD |  | Residential Buildings |  | - |  |  |  |  |  |  |  | In good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: OGUR SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No repairs, replacement and service has been done

| 3 | Does the facility take regular records about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Success

The enrollment of students with in the school has increased

The facilities have been utilized to provide a comfortable learning environment leading to a high performance of the students

Challenges

The facilities are few compared to the learners for example desks, the buildings, text books, teachers

Recommendations

More facilities are needed

More schools are needed

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: LIRA DISTRICT   Name of SCHOOL: OGUR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks 117 | Classroom block |  | Varnished desks |  | UGIFT/OSS/DSK/CR/ |  |  |  |  |  |  |  | In use | The desks in the multipurpose building were not verified because the deputy headteacher did not have the keys to the room Some of the desks were not engraved (35) The engraved ones are 82 |
| Chairs 53 | Store Classroom Staffroom |  | Armless chairs |  | UGIFT/OSS/CH/LIB/NO |  |  |  |  |  |  |  |  | Some are engraved while others are not Engraved (31) Not engraved (22) The classroom only had 1 chair because the students are many and so the school resorted to taking out chairs and tables to create space for learners The chairs in the ICT/library block were not verified because the keys were not there |
| Stools | Science laboratory |  | Varnished |  | - |  |  |  |  |  |  |  |  | The stools were not verified because the deputy headteacher did not have the keys to the science laboratory |
| Tables 11 | Staffroom |  | Varnished |  | - |  |  |  |  |  |  |  |  | In use The tables in the ICT/lib block were not verified because the deputy headteacher did not have the keys Some of the tables were engraved while others were not Engraved (2) Not engraved (9) |
| Book shelves | Library |  |  |  |  |  |  |  |  |  |  |  |  | Not verified because the keys were with the headteacher who was not around by then |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: LIRA DISTRICT  Name of SCHOOL: OGUR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICT Items | ICT Lab |  |  |  |  |  |  |  |  |  |  |  |  | The ICT items were not verified because the keys were with the head teacher who was not around at the time of verification |
| Public address system | Store |  | 6 sound speakers and 3 base beams with controller |  |  |  |  |  |  |  |  |  | In good state | In use |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: LIRA DISTRICT   Name of SCHOOL: OGUR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration block | Non residential |  | 1 block with administration offices and staffroom |  |  |  |  |  |  |  |  |  | In good state | In use |
| Classroom block | Non residential |  | 3 blocks each with 2 classrooms |  |  |  |  |  |  |  |  |  | In good state | In use |
| Science laboratory | Non residential |  | 1 block with 2 labs |  |  |  |  |  |  |  |  |  | In good state | In use |
| Multipurpose hall | Non residential |  | 1 block |  |  |  |  |  |  |  |  |  | In good state | In use |
| ICT/library block | Non residential |  | 1 block with library and ICT block |  |  |  |  |  |  |  |  |  | In good state | In use |
| Latrines for students | Non residential |  | 2 blocks each having 5 latrines for both girls and boys |  |  |  |  |  |  |  |  |  | In god state | In use |
| Latrines for staff | Non residential |  |  |  |  |  |  |  |  |  |  |  | In good state | In use |
| Staff quarters | residential |  | 3 blocks each with 2 rooms |  |  |  |  |  |  |  |  |  | In good state | In use |
| Staff kitchen | residential |  | 3 blocks |  |  |  |  |  |  |  |  |  | In good state | In use |
| Latrines for staff quarters |  |  | 3 blocks each with 2 bathrooms and toilets |  |  |  |  |  |  |  |  |  | In good state | In use |