ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | ITEK, LIRA DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NAMATA MARIA |
| Contact/ email and Telephone | 0758401803 |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……ONYWAKO HEALTH CENTER III ………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

So far no breakdowns except for the door locks that were broken on the night the health facility was broken into.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

None.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

General observation

- UgIFT support has contributed to improved service delivery to residents, including enhanced capacity to conduct diagnoses specific to patients’ illnesses.

Challenges

- The facility in-charge initially reported that he had not received or seen any items delivered under UgIFT. He later identified some items as belonging to the UgIFT project, although he was not fully certain of the items provided, as there were no facility records available for reference.

- Verification was based primarily on information provided by the facility in-charge. Physical verification at the facility was not conducted because the in-charge reported that he operates from the district offices and indicated that there was no need to visit the facility.

- The absence of UgIFT delivery and asset records limited the ability to independently confirm the quantities, specifications and ownership of the identified assets.

- The district inventory/store personnel reported that some items belonging to the facility were being kept in the district store. However, he could not confirm which specific items belonged to the facility because there was no supporting documentation, and he was also new in the role

Special notes

Physical verification of assets was not possible. The in-charge initially reported not having received UgIFT assets but later identified items he was aware had been delivered. As he indicated that he is mostly based at the district offices, the reported assets could not be physically verified at the facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG… ITEK, LIRA DISTRICT ……… NAME OF HEALTH FACILITY: ONYWAKO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Outpatient |  | B.P. Machine, Digital |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 02 |
| B.P. Machine (Aneroid wall mounted) 02 | store |  | B.P. Machine (Aneroid wall mounted) |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 02 |
| Autoclave 20 Liters.,Duo Operated 01 | Maternity |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 03 | Maternity |  | Bowl Stand |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
|  | Store |  | Bowl Stand |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 02 |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 02 | Outpatient |  | Cupboard Steel, Lockable |  | Not engraved | 2025 |  |  |  |  |  |  | In good condition | Reported by in-charge; not physically verified. In use 02 |
| Drip Stand 08 | Maternity |  | Drip Stand |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. All in use 04 |
|  | General in patient |  | Drip Stand |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 04 |
| ESR Stand 01 | Store |  | ESR Stand |  | Not engraved | 2025 |  |  |  |  |  |  | In good state | Reported by in-charge; not physically verified. Not in use 01 |
| Examination Couch 02 | Outpatient |  | Examination Couch |  | Not engraved | 2025 |  |  |  |  |  |  | In good state | Reported by in-charge; not physically verified. In use 01 |
|  | Maternity ward |  | Examination Couch |  | Not engraved | 2025 |  |  |  |  |  |  | In good state | Reported by in-charge; not physically verified. In use 01 |
| Examination light,LED | Maternity |  | Examination light,LED |  | Not engraved | 2025 |  |  |  |  |  |  | In good condition | Reported by in-charge; not physically verified. In use 02 |
| Glucometer 01 | Outpatient |  | Glucometer |  | Not engraved | 2025 |  |  |  |  |  |  | In good state | Reported by in-charge; not physically verified. In use 01 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 01 | store |  | Height meter |  | Not engraved | 2025 |  |  |  |  |  |  | In good state | Reported by in-charge; not physically verified. Reported by in-charge; not physically verified. In use 01 |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 01 | - |  | Microscope Binocular |  | Not engraved | 2025 |  |  |  |  |  |  | Missing. | Reported by in-charge. It was reported stolen |
| Otoscope 01 | Outpatient |  | Otoscope |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. Not in use 01 |
| Patient Screen 05 | Maternity ward |  | Patient Screen |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
|  | General inpatient ward |  | Patient Screen |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 02 |
| Patient Trolley 01 | Maternity ward |  | Patient Trolley |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Refrigerator, Basic 01 | Maternity ward |  | Refrigerator, Basic |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Stethoscope 04 | OPD |  | Stethoscope |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 02 |
|  | Maternity |  | Stethoscope |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
|  | Store |  | Stethoscope |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 01 |
| Stop Watch 01 | Laboratory |  | Stop Watch |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Stretcher 01 | Outpatient |  | Stretcher |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Stove, Gas | Sterilization room |  | Stove, Gas |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Reported by in-charge; not physically verified. In use 01 |
| Weighing Scale with Height Meter, Adult | Outpatient |  | Weighing Scale with Height Meter, Adult |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 02 |
| Weighing Scale, Infant 02 | Store |  | Weighing Scale, Infant |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
|  | maternity |  | Weighing Scale, Infant |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale, Toddler 02 | store |  | Weighing Scale, Toddler |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Wheel Chair 02 | Outpatient |  | Wheel Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | In use and functional 01 |
|  | Maternity |  | Wheel Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use and functional 01 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | Outpatient |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 07 |
|  | store |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use |
| Wall Clock 03 | Outpatient |  |  |  |  |  |  |  |  |  |  |  | Functional | Reported by in-charge; not physically verified. In use |
|  | Maternity |  |  |  |  |  |  |  |  |  |  |  | Functional | Reported by in-charge; not physically verified. |
|  | General inpatient ward |  |  |  |  |  |  |  |  |  |  |  | Functional | Reported by in-charge; not physically verified. |
| Diagnostic Equipment Set for MCH 03 | store |  | Diagnostic Equipment Set for MCH |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Diagnostic Equipment Set for OPD 03 | store |  | Diagnostic Equipment Set for OPD |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Glassware Set, Laboratory, Basic 03 | store |  | Glassware Set, Laboratory, Basic |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Hollow Ware Set, Treatment 03 | store |  | Hollow Ware Set, Treatment |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Instrument Set, Dressing 03 | Treatment room |  | Instrument Set, Dressing |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
|  | Store |  | Instrument Set, Dressing |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. Not in use 02 |
| Instrument Set, Basic ENT 03 | store |  | Instrument Set, Basic ENT |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 03 |
| Instrument Set, Suture 03 | Maternity |  | Instrument Set, Suture |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
|  | Store |  | Instrument Set, Suture |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 02 |
| Pulse Oximeter, Hand held 02 | Maternity ward |  | Pulse Oximeter, Hand held |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Bed, Adult Patient with Mattress 20 | Maternity |  | Bed, Adult Patient with Mattress |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 10 |
|  | General and inpatient ward |  | Bed, Adult Patient with Mattress |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 10 |
| Bed, Pediatric Patient, With Mattress 10 | General and inpatient ward |  |  |  | Not engraved | 2025 |  |  |  |  |  |  | In good condition | Reported by in-charge; not physically verified. In use 07 |
|  | Maternity |  |  |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
| Bedside Locker 10 | Maternity ward |  | Bedside Locker |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 06 |
|  | General and inpatient ward |  | Bedside Locker |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 04 |
| Cupboard, Instrument 01 | Maternity |  | Cupboard, Instrument |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Delivery Bed, Hydraulic Manual 01 | Maternity |  | Delivery Bed, Hydraulic Manual |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 01 | store |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 2025 |  |  |  |  |  |  | - | Reported by in-charge; not physically verified. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow 01 | Maternity |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets 06 | Labour suite |  |  |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
|  | Store |  |  |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Not in use 03 |
| Baby Cot 02 | Maternity ward |  | Baby Cot |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 02 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery 02 | Maternity ward |  | Instrument Set, Delivery |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 01 |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 05 | Maternity ward |  | MVA Kit |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 05 |
| Stool, Laboratory 03 | Laboratory |  | Stool, Laboratory |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
| Penguin Sucker 03 | Maternity ward |  |  |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
| Fetoscope, Dopplar 02 | Maternity ward |  | Fetoscope, Dopplar |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 02 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Laboratory |  | Centrifuge (Electric) |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 01 |
| Kangaroo Mother Care Chair 01 | Maternity ward |  | Kangaroo Mother Care Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 01 |
| Radiant Infant Warmer 01 | Maternity |  |  |  | Not engraved | 2025 |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 01 | Maternity |  | Delivery Bed |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 01 |
| Examination light 02 | Maternity |  | Examination light |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 02 |
| Instrument set, ENT Basic for HCIII 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 07 | Outpatient |  | Office Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 02 |
|  | Records room |  | Office Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 02 |
|  | Maternity |  | Office Chair |  | Not engraved | 2025 |  |  |  |  |  |  | Good state | Reported by in-charge; not physically verified. In use 03 |
| Desk 05 | Outpatient |  | Desk |  | Not engraved | 2025 |  |  |  |  |  |  | In good condition | Reported by in-charge; not physically verified. In use 05 |
| Filing Cabinet | Records |  | Filing Cabinet |  | Not engraved | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
|  | Clinical room |  | Filing Cabinet |  |  |  |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use 03 |
| Non Residential Buildings | Placenta pit |  | Placenta pit |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use |
|  | Medical waste pit |  | Medical pit |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use |
|  | Patient latrine |  | 4-stance VIP latrine block (4 for each gender) |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. Reported by in-charge; not physically verified. In use |
| Residential Buildings | Maternity and General inpatient ward |  | Residential Buildings |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use |
|  | Outpatient (OPD) ward |  | Residential Buildings |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use |
|  | Staff housing |  | 2 units each block |  | - | 2025 |  |  |  |  |  |  | Good condition | Reported by in-charge; not physically verified. In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |