ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | OMORO DISTRICT, APUGA |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/ nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader | DENIS TAWOODA BUDAALI |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ABWOCH HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. However, it is incomplete and doesn’t specify UGIFT assets. Assets were verified based on the knwledge of the incharge. No delivery notes or other documentation to use as back up |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The health center reported that it has a budget allocation for minor repairs of assets. Currently, approximately UGX 500,000 is allocated per quarter to cater for routine maintenance and minor repairs required to keep the assets functional.

For assets that have sustained major damage or require substantial repairs, the health center compiles a list of the affected assets and submits it to the District Headquarters through the District Health Officer. The District then deploys its procurement team to assess and verify the reported assets and determine the appropriate course of action, which may include repair, disposal, or replacement, depending on the condition and assessment findings.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

According to the facility in charge, the routine practice of maintaining a consistent location and functionality of assets and conducting regular asset tracking has not been fully implemented. This has been largely affected by the prolonged construction and renovation works at the maternity block, which have required the facility to repeatedly move assets from one location to another. The repeated movement and temporary storage of assets, including periods when some items were kept outside, have reportedly resulted in some assets becoming damaged, distorted, or difficult to account for. The facility indicated that it had hoped to complete the construction works and subsequently organize and account for the assets at once, rather than continuously relocating them during the construction period.

Note on asset engraving:
The engraving/serialization of assets was undertaken by the health facility itself and was applied to assets across the facility, rather than being specific to assets supplied under the UGIFT project. Consequently, the serial numbers or engravings could not be used as a unique identifier for distinguishing UGIFT-supported assets from assets acquired through other sources. This limited their usefulness as a basis for independently confirming the origin of individual assets during the verification exercise.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The facility reported a significant increase in the number of patients served, with the catchment area extending beyond Abwoch to surrounding areas such as Koro-Abili and other nearby communities. This has increased demand for the facility’s services and resources.

- Staffing levels have also improved following the facility’s upgrade, providing additional human resources to support service delivery and respond to the increased patient workload.

### Key issues/challenges

- Water supply and functionality of the maternity block: Three water tanks were installed to support the maternity block; however, the facility reported that only one of the three tanks currently retains water, and it does not have a functional tap. In addition, the rainwater harvesting system is reportedly damaged, while the water pump is not functional. These challenges affect the availability and reliability of water for the maternity block.

- The prolonged construction works have affected the availability of suitable storage space for facility assets. Due to the lack of a functional store, some assets were temporarily kept in a makeshift storage area under a tree, where some items reportedly became damaged. The assets were later moved into the maternity block after the contractor granted the facility access to part of the building.

- The construction of the maternity block has taken considerably longer than anticipated. As a result, the facility has not yet been able to fully utilize the UGIFT-supported assets intended for the block or realize the expected benefits for patients.

- The facility does not currently admit patients, which places additional pressure on the referral system. Patients requiring admission must be referred to other facilities, which may create challenges for both the facility and patients requiring continued or specialized care.

### Recommendations

- Training should be provided to facility staff on the proper operation, maintenance, and use of newly supplied equipment, particularly specialized equipment such as the suction machine. This would help ensure that the equipment is used safely and effectively once the maternity block becomes operational.

- Suppliers should provide adequate assembly, installation, and user orientation for equipment delivered to the facility. The facility reported that some equipment was delivered in parts and left for staff to assemble, despite staff not having the technical capacity to undertake the assembly. Supplier support should therefore extend beyond delivery to ensure that equipment is properly assembled, installed, tested, and handed over in a functional state.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: ABWOCH-APUGA, OMORO DISTRICT    NAME OF HEALTH FACILITY ABWOCH HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Old maternity |  | B.P. Machine, Digital |  | - | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | OPD |  | B.P. Machine, Digital |  | - |  |  |  |  |  |  |  | Good condition | In use 01 |
| B.P. Machine (Aneroid wall mounted) 02 | Store |  | B.P. Machine (Aneroid wall mounted) |  | - | 2022 |  |  |  |  |  |  | - | Not in use and in a locked store with no access to at the time 02 |
| Autoclave 20 Liters.,Duo Operated 02 | Old maternity |  | Autoclave 20 Liters.,Duo Operated |  | - | 2022 |  |  |  |  |  |  | Good condition | Reported to be in use but it was in a corner covered in dust 02 |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 03 | Old maternity |  | Bowl stand |  |  | 2022 |  |  |  |  |  |  | Good condition | Not in use. They are piled up together with other items in the new maternity building 03 |
| Counting chamber Neubauer- Improved 02 |  |  | Counting chamber Neubauer- Improved |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Cupboard Steel, Lockable 06 | OPD |  | Cupboard Steel, Lockable |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 06 |
| Drip Stand 09 | New maternity |  | Drip stand |  |  | 2022 |  |  |  |  |  |  | Poor condition | All piled up in the new maternity ward. Many of them are reported to be shaking |
| ESR Stand 01 | - |  | ESR Stand |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Examination Couch 04 | Injection room |  | Examination Couch |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Old maternity |  | Examination Couch |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer 02 | - |  | Glucometer |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 02 Delivery note reports a broken one on delivery but not seen during verification | OPD |  | Height Meter |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Old maternity |  | Height Meter |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Instrument Trolley 04 | New maternity |  | Instrument Trolley |  |  | 2022 |  |  |  |  |  |  | Good condition | Not in use. Seen piled up with the other items in the new maternity block 04 |
| Microscope Binocular 01 | Laboratory |  | Microscope Binocular |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Otoscope 01 | - |  | Otoscope |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Patient Screen 05 | New maternity ward |  | Patient Screen |  |  | 2022 |  |  |  |  |  |  | Fair condition | Piled up in the new maternity ward(05) |
| Patient Trolley 01 | - |  | Patient Trolley |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Refrigerator, Basic 02 | - |  | Refrigerator, Basic |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Stethoscope 08 | - |  | Stethoscope |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Stop Watch 01 | Laboratory |  | Stop Watch |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas 02 | Old maternity |  | Stove, Gas |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale with Height Meter, Adult 02 | OPD |  | Weighing Scale with Height Meter, Adult |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale, Infant 02 | Old maternity |  | Weighing Scale, Infant |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 02 |
| Weighing Scale, Toddler 01 | - |  | Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  | - | On delivery note but not seen |
| Wheel Chair 04 | New maternity |  | Wheel chair |  |  | 2022 |  |  |  |  |  |  | Fair condition | Piled up in the new maternity 02 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | - |  | Medical Waste Bin |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH 03 | - |  | Diagnostic Equipment Set for MCH |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Diagnostic Equipment Set for OPD 02 | - |  | Diagnostic Equipment Set for OPD |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Glassware Set, Laboratory, Basic 02 | - |  | Glassware Set, Laboratory, Basic |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Hollow Ware Set, Treatment 02 | - |  | Hollow Ware Set, Treatment |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Instrument Set, Dressing 07 | - |  | Instrument Set, Dressing |  |  | 2022 |  |  |  |  |  |  |  | On delivery note not not seen |
| Instrument Set, Basic ENT | - |  | Instrument Set, Basic ENT |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Instrument Set, Suture 03 | - |  | Instrument Set, Suture |  |  | 2022 |  |  |  |  |  |  | - | On delivery note not not seen |
| Pulse Oximeter, Hand held 02 | - |  | Pulse Oximeter, Hand held |  |  | 2022 |  |  |  |  |  |  | - | On delivery note ut not seen |
| Bed, Adult Patient with Mattress 10 | New maternity |  | Bed, Adult Patient with Mattress |  |  | 2022 |  |  |  |  |  |  | Fair condition | Not in use. All piled up in the new maternity ward(10) |
| Bed, Pediatric Patient, With Mattress 04 | New maternity ward |  | Bed, Pediatric Patient, With Mattress |  |  | 2022 |  |  |  |  |  |  | Fair condition | Not in use (piled up in the new maternity ward 04 |
| Bedside Locker 10 | New maternity |  | Bedside Locker |  |  | 2022 |  |  |  |  |  |  |  | Not in use (10) Piled up in the new maternity ward |
| Cupboard, Instrument 01 | - |  | Cupboard, Instrument |  |  | 2022 |  |  |  |  |  |  | - | On delivery note bujt not seen |
| Delivery Bed, Hydraulic Manual 01 | New maternity |  | Delivery Bed, Hydraulic Manual |  |  | 2022 |  |  |  |  |  |  | Not functional | The bed pedal is broken and piled up with other things in the new ward 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | - |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Resuscitator Manual, Infant, with all Mask sizes 01 | - |  | Resuscitator Manual, Infant, with all Mask sizes |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Resuscitator Manual, Adult, with all mask sizes 01 | - |  | Resuscitator Manual, Adult, with all mask sizes |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Suction Apparatus, (Electric) 01 | - |  | Suction Apparatus, (Electric) |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Nebulizer, Ultrasonic 01 | - |  | Nebulizer, Ultrasonic |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Oxygen Concentrator, Duo Flow 01 |  |  | Oxygen Concentrator, Duo Flow |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Bench 04 | Old maternity |  | Bench |  |  | 2022 |  |  |  |  |  |  | Good condition | In use (01) |
|  | New maternity |  | Bench |  |  | 2022 |  |  |  |  |  |  | Good condition | Not in use because they are just outside on the verandah via the new maternity block. 03 |
| Disinfection Buckets 02 |  |  | Disinfection Buckets |  |  | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Baby Cot 02 | New maternity |  | Baby cot |  |  | 2022 |  |  |  |  |  |  | Some functional and others not | Not in use. 01 is functional and 01 is broken |
| Diagnostic Equipment Set for Ward 02 |  |  | Diagnostic Equipment Set for Ward |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen |
| Hollow Ware Set, Ward 02 |  |  | Hollow Ware Set, Ward |  | - | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Instrument Set, Delivery 05 |  |  | Instrument Set, Delivery |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen |
| Instrument Set, Stitch Removing 05 |  |  | Instrument Set, Stitch Removing |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen |
| MVA Kit 05 | Old maternity |  | MVA Kit |  | - | 2022 |  |  |  |  |  |  | Fair condition | The 01 set seen and despite being there looked old and parts missing. |
| Stool, Laboratory 03 | Laboratory |  | Stool, Laboratory |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Injection room |  | Stool, Laboratory |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Penguin Sucker 03 | - |  | Penguin sucker |  | - | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Fetoscope, Dopplar 02 | Old maternity |  | Fetoscope, Dopplar |  |  | 2022 |  |  |  |  |  |  | fair | Looked chipped around the edges 01 |
|  | OPD |  | Fetoscope, Dopplar |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 |  |  | Centrifuge (Electric) |  | - | 2022 |  |  |  |  |  |  | - | On delivery note but not seen |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli 02 |  |  | Haemoglobin Meter, Sahli |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen 02 |
| Delivery Bed 01 | New maternity |  | Delivery bed |  | Not engraved | 2022 |  |  |  |  |  |  | Not good condition | It looks rusted due to non-use seen as they building is still under construction/renovation 01 |
| Examination light 03 |  |  | Examination light |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal 15 |  |  | Bag Valve mask (Ambu Bag), Neonatal |  | - | 2022 |  |  |  |  |  |  |  | On delivery note but not seen |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 07 | Laboratory |  | Office Chair |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Injection room |  | Office Chair |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Clinical room |  | Office Chair |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | Office Chair |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Desk 5 | Injection room |  | Desk |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | OPD |  | Desk |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Clinical room |  | Desk |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Old maternity |  | Desk |  |  | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Filing Cabinet 06 | - |  |  |  |  | 2022 |  |  |  |  |  |  | Good condition | In use(06) |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | New maternity |  | Maternity ward |  | - | - |  |  |  |  |  |  | Fair | Not in use due to ongoing construction works by the contractor |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |